## OD600 reference point
| LUDOX-HS40 | H2O
Replicate 1 | 0.049 | 0.043 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.047 | 0.037 | Gold cells are calculated
Replicate 3 | 0.048 | 0.039
Replicate 4 | 0.051 | 0.038
Arith. Mean | 0.04875 | 0.03925
Corrected Abs600 | 0.0095 |  | Corrected value is particle-only contribution
Reference OD600 | 0.0425 |  | Reference value is for 100uL of LUDOX-HS40 in a well of a standard 96-well flat-bottom plate
OD600/Abs600 | 4.4737 |  | Corrected value = scaling factor * measured value

## Fluorescein standard curve
uM Fluorescein | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828 | 0
Replicate 1 | 49862 | 33091 | 19480 | 11050 | 6025 | 3059 | 1547 | 821 | 419 | 213 | 108 | 2 | Enter fluorescence measurements into blue cells
Replicate 2 | 50126 | 33095 | 19669 | 10823 | 7002 | 2663 | 1378 | 673 | 353 | 179 | 89 | 1 | Gold cells are calculated
Replicate 3 | 49663 | 32888 | 20021 | 10292 | 5667 | 2882 | 1486 | 732 | 374 | 191 | 95 | 3
Replicate 4 | 49818 | 33235 | 19656 | 10699 | 5819 | 2877 | 1443 | 770 | 392 | 186 | 95 | 2 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | 49867.25 | 33077.25 | 19706.5 | 10716 | 6128.25 | 2870.25 | 1463.5 | 749 | 384.5 | 192.25 | 96.75 | 2
Arith. Std.Dev. | 192.4602 | 142.8341 | 226.6929 | 317.8417 | 600.6904 | 162.0316 | 71.2016 | 62.4233 | 27.9821 | 14.6828 | 8.0156 | 0.8165
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
uM Fluorescein/a.u. | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828
Mean um Fluorescein/a.u. | 0.0010027 | 0.00075581 | 0.00063431 | 0.00058324 | 0.00050993 | 0.00054438 | 0.00053382 | 0.00052153 | 0.00050796 | 0.00050796 | 0.00050468
Mean of med-high levels: |  | 0.00060553
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 4050 | 4359 | 12409 | 6232 | 4476 | 5495 | 4350 | 4407 | 4462 | Colony 1, Replicate 1 | 0.046 | 0.046 | 0.048 | 0.047 | 0.047 | 0.047 | 0.046 | 0.046 | 0.042
Colony 1, Replicate 2 | 4328 | 4797 | 12058 | 5910 | 4305 | 5153 | 4389 | 4466 | 4419 | Colony 1, Replicate 2 | 0.046 | 0.045 | 0.048 | 0.046 | 0.046 | 0.047 | 0.046 | 0.046 | 0.042
Colony 1, Replicate 3 | 4065 | 4765 | 11968 | 5873 | 4165 | 5302 | 4795 | 4477 | 4557 | Colony 1, Replicate 3 | 0.046 | 0.045 | 0.048 | 0.046 | 0.046 | 0.046 | 0.046 | 0.046 | 0.043
Colony 1, Replicate 4 | 4460 | 4659 | 11960 | 6008 | 4136 | 5110 | 3799 | 4269 | 4508 | Colony 1, Replicate 4 | 0.047 | 0.045 | 0.049 | 0.046 | 0.045 | 0.046 | 0.047 | 0.046 | 0.043
Colony 2, Replicate 1 | 4414 | 5040 | 9979 | 5647 | 4368 | 6064 | 4527 | 4380 | 12741 | Colony 2, Replicate 1 | 0.047 | 0.047 | 0.046 | 0.047 | 0.046 | 0.045 | 0.046 | 0.046 | 0.047
Colony 2, Replicate 2 | 4135 | 4651 | 9818 | 5417 | 4165 | 7455 | 4486 | 2876 | 4433 | Colony 2, Replicate 2 | 0.046 | 0.046 | 0.046 | 0.046 | 0.045 | 0.046 | 0.046 | 0.044 | 0.042
Colony 2, Replicate 3 | 4122 | 4527 | 9711 | 5745 | 4352 | 7390 | 4442 | 4453 | 4644 | Colony 2, Replicate 3 | 0.046 | 0.046 | 0.046 | 0.047 | 0.046 | 0.046 | 0.046 | 0.046 | 0.043
Colony 2, Replicate 4 | 3985 | 4416 | 10327 | 5502 | 4001 | 7285 | 4299 | 3838 | 4318 | Colony 2, Replicate 4 | 0.047 | 0.047 | 0.047 | 0.046 | 0.045 | 0.046 | 0.046 | 0.045 | 0.042
Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 4156 | 6020 | 13140 | 9080 | 4534 | 7271 | 5594 | 4477 | 4224 | Colony 1, Replicate 1 | 0.063 | 0.05 | 0.047 | 0.053 | 0.059 | 0.049 | 0.052 | 0.056 | 0.042
Colony 1, Replicate 2 | 4103 | 5914 | 13518 | 9131 | 4403 | 7577 | 5394 | 4074 | 4108 | Colony 1, Replicate 2 | 0.059 | 0.05 | 0.047 | 0.053 | 0.057 | 0.049 | 0.052 | 0.055 | 0.042
Colony 1, Replicate 3 | 4016 | 5700 | 13512 | 9291 | 4438 | 7464 | 5647 | 4210 | 4105 | Colony 1, Replicate 3 | 0.059 | 0.049 | 0.047 | 0.053 | 0.057 | 0.049 | 0.052 | 0.056 | 0.042
Colony 1, Replicate 4 | 4428 | 6405 | 14192 | 9267 | 4394 | 7443 | 5697 | 4296 | 4265 | Colony 1, Replicate 4 | 0.06 | 0.05 | 0.048 | 0.053 | 0.057 | 0.049 | 0.052 | 0.056 | 0.042
Colony 2, Replicate 1 | 4129 | 6300 | 11860 | 8627 | 4167 | 8599 | 5940 | 4316 | 4507 | Colony 2, Replicate 1 | 0.058 | 0.052 | 0.046 | 0.053 | 0.055 | 0.047 | 0.053 | 0.057 | 0.044
Colony 2, Replicate 2 | 3890 | 6425 | 11010 | 8720 | 4084 | 8573 | 5862 | 4269 | 4512 | Colony 2, Replicate 2 | 0.058 | 0.052 | 0.045 | 0.054 | 0.054 | 0.047 | 0.054 | 0.057 | 0.043
Colony 2, Replicate 3 | 4010 | 6613 | 10488 | 8521 | 4424 | 7942 | 5692 | 4036 | 4061 | Colony 2, Replicate 3 | 0.059 | 0.053 | 0.045 | 0.053 | 0.055 | 0.047 | 0.052 | 0.057 | 0.043
Colony 2, Replicate 4 | 3974 | 5433 | 10739 | 8335 | 4029 | 7880 | 5567 | 4187 | 4349 | Colony 2, Replicate 4 | 0.06 | 0.052 | 0.046 | 0.053 | 0.054 | 0.046 | 0.052 | 0.056 | 0.043
Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 4986 | 15719 | 18551 | 25275 | 4856 | 16294 | 10208 | 4742 | 3913 | Colony 1, Replicate 1 | 0.216 | 0.129 | 0.05 | 0.138 | 0.2 | 0.071 | 0.155 | 0.186 | 0.044
Colony 1, Replicate 2 | 4847 | 15254 | 17384 | 23840 | 5219 | 16588 | 9368 | 4798 | 4093 | Colony 1, Replicate 2 | 0.211 | 0.126 | 0.049 | 0.137 | 0.203 | 0.072 | 0.141 | 0.186 | 0.044
Colony 1, Replicate 3 | 4957 | 15805 | 18042 | 24494 | 5110 | 15940 | 9660 | 4795 | 3607 | Colony 1, Replicate 3 | 0.213 | 0.127 | 0.049 | 0.139 | 0.195 | 0.071 | 0.147 | 0.183 | 0.042
Colony 1, Replicate 4 | 4981 | 15326 | 16483 | 24933 | 5098 | 15855 | 9599 | 4644 | 4178 | Colony 1, Replicate 4 | 0.211 | 0.126 | 0.048 | 0.14 | 0.191 | 0.071 | 0.144 | 0.178 | 0.043
Colony 2, Replicate 1 | 5107 | 17615 | 14051 | 22302 | 5222 | 11997 | 10300 | 4726 | 3852 | Colony 2, Replicate 1 | 0.215 | 0.148 | 0.048 | 0.143 | 0.19 | 0.049 | 0.147 | 0.189 | 0.044
Colony 2, Replicate 2 | 4848 | 17582 | 13723 | 21666 | 5096 | 11204 | 9639 | 4608 | 3555 | Colony 2, Replicate 2 | 0.207 | 0.148 | 0.048 | 0.141 | 0.183 | 0.049 | 0.147 | 0.176 | 0.042
Colony 2, Replicate 3 | 4880 | 17978 | 13270 | 21428 | 4575 | 11021 | 9704 | 4656 | 4173 | Colony 2, Replicate 3 | 0.21 | 0.152 | 0.047 | 0.143 | 0.171 | 0.049 | 0.144 | 0.186 | 0.043
Colony 2, Replicate 4 | 4840 | 16556 | 13256 | 21180 | 4756 | 10184 | 9533 | 4721 | 4207 | Colony 2, Replicate 4 | 0.209 | 0.148 | 0.047 | 0.143 | 0.176 | 0.049 | 0.14 | 0.184 | 0.043
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 5610 | 33152 | 21075 | 57087 | 6309 | 37715 | 14576 | 5945 | 3319 | Colony 1, Replicate 1 | 0.343 | 0.292 | 0.054 | 0.292 | 0.337 | 0.186 | 0.285 | 0.308 | 0.042
Colony 1, Replicate 2 | 5544 | 34007 | 20972 | 58583 | 6399 | 37311 | 15070 | 5960 | 2726 | Colony 1, Replicate 2 | 0.339 | 0.295 | 0.052 | 0.298 | 0.332 | 0.188 | 0.296 | 0.312 | 0.042
Colony 1, Replicate 3 | 5420 | 34214 | 20722 | 57119 | 6417 | 37731 | 14713 | 6037 | 3529 | Colony 1, Replicate 3 | 0.342 | 0.288 | 0.05 | 0.287 | 0.322 | 0.185 | 0.287 | 0.316 | 0.042
Colony 1, Replicate 4 | 4672 | 33944 | 20022 | 57630 | 6353 | 38826 | 12194 | 6055 | 3365 | Colony 1, Replicate 4 | 0.309 | 0.282 | 0.05 | 0.281 | 0.318 | 0.192 | 0.256 | 0.321 | 0.043
Colony 2, Replicate 1 | 5602 | 33580 | 16531 | 49301 | 6407 | 15990 | 14857 | 5923 | 3283 | Colony 2, Replicate 1 | 0.348 | 0.294 | 0.052 | 0.276 | 0.312 | 0.054 | 0.291 | 0.327 | 0.043
Colony 2, Replicate 2 | 5640 | 33132 | 16431 | 52965 | 6260 | 15411 | 14439 | 6048 | 4074 | Colony 2, Replicate 2 | 0.349 | 0.289 | 0.052 | 0.3 | 0.338 | 0.054 | 0.284 | 0.336 | 0.043
Colony 2, Replicate 3 | 4235 | 33999 | 16501 | 52192 | 6535 | 15486 | 14015 | 5906 | 9177 | Colony 2, Replicate 3 | 0.292 | 0.297 | 0.051 | 0.3 | 0.324 | 0.054 | 0.288 | 0.343 | 0.046
Colony 2, Replicate 4 | 5550 | 32812 | 13973 | 48211 | 6321 | 15712 | 14708 | 5941 | 3656 | Colony 2, Replicate 4 | 0.352 | 0.309 | 0.051 | 0.285 | 0.328 | 0.054 | 0.292 | 0.344 | 0.042
Plate pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence Measurement
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 4.4737 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | 0.00060553 | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.042 | 0.042 | 0.043 | 0.043 |  |  | 4462 | 4419 | 4557 | 4508
Blank mean: | 0.0425 | [5 empty] | 4486.5 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0.046 | 0.046 | 0.046 | 0.047 |  |  | 4050 | 4328 | 4065 | 4460 |  |  | 0.0035 | 0.0035 | 0.0035 | 0.0045 | --- | --- | -436.5 | -158.5 | -421.5 | -26.5 | --- | --- | -16.8806 | -6.1296 | -16.3005 | -0.79709 | --- | --- | -10.027 | 7.889 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.047 | 0.046 | 0.046 | 0.047 |  |  | 4414 | 4135 | 4122 | 3985 |  |  | 0.0045 | 0.0035 | 0.0035 | 0.0045 | --- | --- | -72.5 | -351.5 | -364.5 | -501.5 | --- | --- | -2.1807 | -13.5935 | -14.0962 | -15.0845 | --- | --- | -11.2387 | 6.0704 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.046 | 0.045 | 0.045 | 0.045 |  |  | 4359 | 4797 | 4765 | 4659 |  |  | 0.0035 | 0.0025 | 0.0025 | 0.0025 | --- | --- | -127.5 | 310.5 | 278.5 | 172.5 | --- | --- | -4.9308 | 16.811 | 15.0785 | 9.3395 | --- | --- | 9.0746 | 9.8678 | #NUM! | #NUM! | #NUM! | 2.822 | 2.7133 | 2.2342 | --- | ---
Positive Control (Colony 2) | 0.047 | 0.046 | 0.046 | 0.047 |  |  | 5040 | 4651 | 4527 | 4416 |  |  | 0.0045 | 0.0035 | 0.0035 | 0.0045 | --- | --- | 553.5 | 164.5 | 40.5 | -70.5 | --- | --- | 16.6486 | 6.3617 | 1.5662 | -2.1206 | --- | --- | 5.614 | 8.1349 | #NUM! | #NUM! | 2.8123 | 1.8503 | 0.44868 | #NUM! | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.048 | 0.048 | 0.048 | 0.049 |  |  | 12409 | 12058 | 11968 | 11960 |  |  | 0.0055 | 0.0055 | 0.0055 | 0.0065 | --- | --- | 7922.5 | 7571.5 | 7481.5 | 7473.5 | --- | --- | 194.972 | 186.3339 | 184.119 | 155.6264 | --- | --- | 180.2628 | 17.0786 | 179.6228 | 1.1038 | 5.2729 | 5.2275 | 5.2156 | 5.0475 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.046 | 0.046 | 0.046 | 0.047 |  |  | 9979 | 9818 | 9711 | 10327 |  |  | 0.0035 | 0.0035 | 0.0035 | 0.0045 | --- | --- | 5492.5 | 5331.5 | 5224.5 | 5840.5 | --- | --- | 212.4099 | 206.1836 | 202.0456 | 175.6751 | --- | --- | 199.0785 | 16.1733 | 198.5624 | 1.0878 | 5.3585 | 5.3288 | 5.3085 | 5.1686 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.047 | 0.046 | 0.046 | 0.046 |  |  | 6232 | 5910 | 5873 | 6008 |  |  | 0.0045 | 0.0035 | 0.0035 | 0.0035 | --- | --- | 1745.5 | 1423.5 | 1386.5 | 1521.5 | --- | --- | 52.5025 | 55.0506 | 53.6197 | 58.8405 | --- | --- | 55.0033 | 2.7625 | 54.9523 | 1.0508 | 3.9609 | 4.0083 | 3.9819 | 4.0748 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.047 | 0.046 | 0.047 | 0.046 |  |  | 5647 | 5417 | 5745 | 5502 |  |  | 0.0045 | 0.0035 | 0.0045 | 0.0035 | --- | --- | 1160.5 | 930.5 | 1258.5 | 1015.5 | --- | --- | 34.9064 | 35.985 | 37.8541 | 39.2721 | --- | --- | 37.0044 | 1.9413 | 36.9663 | 1.0538 | 3.5527 | 3.5831 | 3.6337 | 3.6705 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.047 | 0.046 | 0.046 | 0.045 |  |  | 4476 | 4305 | 4165 | 4136 |  |  | 0.0045 | 0.0035 | 0.0035 | 0.0025 | --- | --- | -10.5 | -181.5 | -321.5 | -350.5 | --- | --- | -0.31583 | -7.0191 | -12.4333 | -18.9767 | --- | --- | -9.6862 | 7.9326 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.046 | 0.045 | 0.046 | 0.045 |  |  | 4368 | 4165 | 4352 | 4001 |  |  | 0.0035 | 0.0025 | 0.0035 | 0.0025 | --- | --- | -118.5 | -321.5 | -134.5 | -485.5 | --- | --- | -4.5827 | -17.4066 | -5.2015 | -26.2858 | --- | --- | -13.3692 | 10.4412 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.047 | 0.047 | 0.046 | 0.046 |  |  | 5495 | 5153 | 5302 | 5110 |  |  | 0.0045 | 0.0045 | 0.0035 | 0.0035 | --- | --- | 1008.5 | 666.5 | 815.5 | 623.5 | --- | --- | 30.3344 | 20.0475 | 31.5376 | 24.1124 | --- | --- | 26.508 | 5.398 | 26.0775 | 1.2356 | 3.4123 | 2.9981 | 3.4512 | 3.1827 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.045 | 0.046 | 0.046 | 0.046 |  |  | 6064 | 7455 | 7390 | 7285 |  |  | 0.0025 | 0.0035 | 0.0035 | 0.0035 | --- | --- | 1577.5 | 2968.5 | 2903.5 | 2798.5 | --- | --- | 85.4087 | 114.7999 | 112.2862 | 108.2256 | --- | --- | 105.1801 | 13.4564 | 104.478 | 1.1463 | 4.4474 | 4.7432 | 4.7211 | 4.6842 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.046 | 0.046 | 0.046 | 0.047 |  |  | 4350 | 4389 | 4795 | 3799 |  |  | 0.0035 | 0.0035 | 0.0035 | 0.0045 | --- | --- | -136.5 | -97.5 | 308.5 | -687.5 | --- | --- | -5.2788 | -3.7706 | 11.9305 | -20.6792 | --- | --- | -4.4495 | 13.3274 | #NUM! | #NUM! | #NUM! | #NUM! | 2.4791 | #NUM! | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.046 | 0.046 | 0.046 | 0.046 |  |  | 4527 | 4486 | 4442 | 4299 |  |  | 0.0035 | 0.0035 | 0.0035 | 0.0035 | --- | --- | 40.5 | -0.5 | -44.5 | -187.5 | --- | --- | 1.5662 | -0.019336 | -1.7209 | -7.2511 | --- | --- | -1.8563 | 3.8389 | #NUM! | #NUM! | 0.44868 | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.046 | 0.046 | 0.046 | 0.046 |  |  | 4407 | 4466 | 4477 | 4269 |  |  | 0.0035 | 0.0035 | 0.0035 | 0.0035 | --- | --- | -79.5 | -20.5 | -9.5 | -217.5 | --- | --- | -3.0745 | -0.79279 | -0.36739 | -8.4113 | --- | --- | -3.1615 | 3.6962 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.046 | 0.044 | 0.046 | 0.045 |  |  | 4380 | 2876 | 4453 | 3838 |  |  | 0.0035 | 0.0015 | 0.0035 | 0.0025 | --- | --- | -106.5 | -1610.5 | -33.5 | -648.5 | --- | --- | -4.1186 | -145.3256 | -1.2955 | -35.111 | --- | --- | -46.4627 | 67.6654 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.063 | 0.059 | 0.059 | 0.06 |  |  | 4156 | 4103 | 4016 | 4428 |  |  | 0.0205 | 0.0165 | 0.0165 | 0.0175 | --- | --- | -330.5 | -383.5 | -470.5 | -58.5 | --- | --- | -2.1822 | -3.146 | -3.8597 | -0.45247 | --- | --- | -2.4101 | 1.475 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.058 | 0.058 | 0.059 | 0.06 |  |  | 4129 | 3890 | 4010 | 3974 |  |  | 0.0155 | 0.0155 | 0.0165 | 0.0175 | --- | --- | -357.5 | -596.5 | -476.5 | -512.5 | --- | --- | -3.1219 | -5.209 | -3.9089 | -3.964 | --- | --- | -4.0509 | 0.86254 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.05 | 0.05 | 0.049 | 0.05 |  |  | 6020 | 5914 | 5700 | 6405 |  |  | 0.0075 | 0.0075 | 0.0065 | 0.0075 | --- | --- | 1533.5 | 1427.5 | 1213.5 | 1918.5 | --- | --- | 27.6755 | 25.7625 | 25.2696 | 34.6237 | --- | --- | 28.3328 | 4.3204 | 28.1037 | 1.1554 | 3.3205 | 3.2489 | 3.2296 | 3.5445 | --- | ---
Positive Control (Colony 2) | 0.052 | 0.052 | 0.053 | 0.052 |  |  | 6300 | 6425 | 6613 | 5433 |  |  | 0.0095 | 0.0095 | 0.0105 | 0.0095 | --- | --- | 1813.5 | 1938.5 | 2126.5 | 946.5 | --- | --- | 25.8385 | 27.6194 | 27.4125 | 13.4856 | --- | --- | 23.589 | 6.7824 | 22.6634 | 1.4153 | 3.2519 | 3.3185 | 3.311 | 2.6016 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.047 | 0.047 | 0.047 | 0.048 |  |  | 13140 | 13518 | 13512 | 14192 |  |  | 0.0045 | 0.0045 | 0.0045 | 0.0055 | --- | --- | 8653.5 | 9031.5 | 9025.5 | 9705.5 | --- | --- | 260.2867 | 271.6565 | 271.476 | 238.8514 | --- | --- | 260.5676 | 15.4232 | 260.2153 | 1.0624 | 5.5618 | 5.6045 | 5.6039 | 5.4758 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.046 | 0.045 | 0.045 | 0.046 |  |  | 11860 | 11010 | 10488 | 10739 |  |  | 0.0035 | 0.0025 | 0.0025 | 0.0035 | --- | --- | 7373.5 | 6523.5 | 6001.5 | 6252.5 | --- | --- | 285.1532 | 353.194 | 324.932 | 241.8011 | --- | --- | 301.2701 | 48.4847 | 298.2535 | 1.1797 | 5.653 | 5.867 | 5.7836 | 5.4881 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.053 | 0.053 | 0.053 | 0.053 |  |  | 9080 | 9131 | 9291 | 9267 |  |  | 0.0105 | 0.0105 | 0.0105 | 0.0105 | --- | --- | 4593.5 | 4644.5 | 4804.5 | 4780.5 | --- | --- | 59.2144 | 59.8718 | 61.9343 | 61.625 | --- | --- | 60.6614 | 1.3249 | 60.6505 | 1.0221 | 4.0812 | 4.0922 | 4.1261 | 4.1211 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.053 | 0.054 | 0.053 | 0.053 |  |  | 8627 | 8720 | 8521 | 8335 |  |  | 0.0105 | 0.0115 | 0.0105 | 0.0105 | --- | --- | 4140.5 | 4233.5 | 4034.5 | 3848.5 | --- | --- | 53.3748 | 49.8281 | 52.0084 | 49.6106 | --- | --- | 51.2055 | 1.8066 | 51.1817 | 1.0358 | 3.9773 | 3.9086 | 3.9514 | 3.9042 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.059 | 0.057 | 0.057 | 0.057 |  |  | 4534 | 4403 | 4438 | 4394 |  |  | 0.0165 | 0.0145 | 0.0145 | 0.0145 | --- | --- | 47.5 | -83.5 | -48.5 | -92.5 | --- | --- | 0.38966 | -0.77946 | -0.45274 | -0.86347 | --- | --- | -0.4265 | 0.57222 | #NUM! | #NUM! | -0.94249 | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.055 | 0.054 | 0.055 | 0.054 |  |  | 4167 | 4084 | 4424 | 4029 |  |  | 0.0125 | 0.0115 | 0.0125 | 0.0115 | --- | --- | -319.5 | -402.5 | -62.5 | -457.5 | --- | --- | -3.4597 | -4.7374 | -0.67677 | -5.3848 | --- | --- | -3.5646 | 2.0848 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.049 | 0.049 | 0.049 | 0.049 |  |  | 7271 | 7577 | 7464 | 7443 |  |  | 0.0065 | 0.0065 | 0.0065 | 0.0065 | --- | --- | 2784.5 | 3090.5 | 2977.5 | 2956.5 | --- | --- | 57.9838 | 64.3559 | 62.0028 | 61.5655 | --- | --- | 61.477 | 2.6315 | 61.4343 | 1.0441 | 4.0602 | 4.1644 | 4.1272 | 4.1201 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.047 | 0.047 | 0.047 | 0.046 |  |  | 8599 | 8573 | 7942 | 7880 |  |  | 0.0045 | 0.0045 | 0.0045 | 0.0035 | --- | --- | 4112.5 | 4086.5 | 3455.5 | 3393.5 | --- | --- | 123.699 | 122.9169 | 103.9372 | 131.2358 | --- | --- | 120.4472 | 11.6282 | 120.0053 | 1.1055 | 4.8179 | 4.8115 | 4.6438 | 4.877 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.052 | 0.052 | 0.052 | 0.052 |  |  | 5594 | 5394 | 5647 | 5697 |  |  | 0.0095 | 0.0095 | 0.0095 | 0.0095 | --- | --- | 1107.5 | 907.5 | 1160.5 | 1210.5 | --- | --- | 15.7795 | 12.9299 | 16.5346 | 17.247 | --- | --- | 15.6228 | 1.8926 | 15.531 | 1.136 | 2.7587 | 2.5595 | 2.8055 | 2.8476 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.053 | 0.054 | 0.052 | 0.052 |  |  | 5940 | 5862 | 5692 | 5567 |  |  | 0.0105 | 0.0115 | 0.0095 | 0.0095 | --- | --- | 1453.5 | 1375.5 | 1205.5 | 1080.5 | --- | --- | 18.7369 | 16.1896 | 17.1758 | 15.3948 | --- | --- | 16.8743 | 1.4397 | 16.8289 | 1.0881 | 2.9305 | 2.7844 | 2.8435 | 2.734 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.056 | 0.055 | 0.056 | 0.056 |  |  | 4477 | 4074 | 4210 | 4296 |  |  | 0.0135 | 0.0125 | 0.0135 | 0.0135 | --- | --- | -9.5 | -412.5 | -276.5 | -190.5 | --- | --- | -0.095249 | -4.4667 | -2.7723 | -1.91 | --- | --- | -2.3111 | 1.8194 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.057 | 0.057 | 0.057 | 0.056 |  |  | 4316 | 4269 | 4036 | 4187 |  |  | 0.0145 | 0.0145 | 0.0145 | 0.0135 | --- | --- | -170.5 | -217.5 | -450.5 | -299.5 | --- | --- | -1.5916 | -2.0303 | -4.2053 | -3.0029 | --- | --- | -2.7075 | 1.1597 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.216 | 0.211 | 0.213 | 0.211 |  |  | 4986 | 4847 | 4957 | 4981 |  |  | 0.1735 | 0.1685 | 0.1705 | 0.1685 | --- | --- | 499.5 | 360.5 | 470.5 | 494.5 | --- | --- | 0.38968 | 0.28959 | 0.37351 | 0.39723 | --- | --- | 0.3625 | 0.049607 | 0.35971 | 1.1582 | -0.94243 | -1.2393 | -0.9848 | -0.92325 | --- | ---
Negative Control (Colony 2) | 0.215 | 0.207 | 0.21 | 0.209 |  |  | 5107 | 4848 | 4880 | 4840 |  |  | 0.1725 | 0.1645 | 0.1675 | 0.1665 | --- | --- | 620.5 | 361.5 | 393.5 | 353.5 | --- | --- | 0.48688 | 0.29745 | 0.31798 | 0.28737 | --- | --- | 0.34742 | 0.093842 | 0.33917 | 1.2772 | -0.71973 | -1.2125 | -1.1458 | -1.247 | --- | ---
Positive Control (Colony 1) | 0.129 | 0.126 | 0.127 | 0.126 |  |  | 15719 | 15254 | 15805 | 15326 |  |  | 0.0865 | 0.0835 | 0.0845 | 0.0835 | --- | --- | 11232.5 | 10767.5 | 11318.5 | 10839.5 | --- | --- | 17.5765 | 17.4542 | 18.1303 | 17.571 | --- | --- | 17.683 | 0.30347 | 17.6811 | 1.0172 | 2.8666 | 2.8596 | 2.8976 | 2.8662 | --- | ---
Positive Control (Colony 2) | 0.148 | 0.148 | 0.152 | 0.148 |  |  | 17615 | 17582 | 17978 | 16556 |  |  | 0.1055 | 0.1055 | 0.1095 | 0.1055 | --- | --- | 13128.5 | 13095.5 | 13491.5 | 12069.5 | --- | --- | 16.8436 | 16.8013 | 16.677 | 15.4849 | --- | --- | 16.4517 | 0.64838 | 16.4419 | 1.041 | 2.824 | 2.8215 | 2.814 | 2.7399 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.05 | 0.049 | 0.049 | 0.048 |  |  | 18551 | 17384 | 18042 | 16483 |  |  | 0.0075 | 0.0065 | 0.0065 | 0.0055 | --- | --- | 14064.5 | 12897.5 | 13555.5 | 11996.5 | --- | --- | 253.8258 | 268.5745 | 282.2766 | 295.2327 | --- | --- | 274.9774 | 17.8133 | 274.5427 | 1.0672 | 5.5366 | 5.5931 | 5.6429 | 5.6878 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.048 | 0.048 | 0.047 | 0.047 |  |  | 14051 | 13723 | 13270 | 13256 |  |  | 0.0055 | 0.0055 | 0.0045 | 0.0045 | --- | --- | 9564.5 | 9236.5 | 8783.5 | 8769.5 | --- | --- | 235.3815 | 227.3094 | 264.1969 | 263.7758 | --- | --- | 247.6659 | 19.132 | 247.1087 | 1.0807 | 5.4612 | 5.4263 | 5.5767 | 5.5751 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.138 | 0.137 | 0.139 | 0.14 |  |  | 25275 | 23840 | 24494 | 24933 |  |  | 0.0955 | 0.0945 | 0.0965 | 0.0975 | --- | --- | 20788.5 | 19353.5 | 20007.5 | 20446.5 | --- | --- | 29.464 | 27.7205 | 28.0633 | 28.3849 | --- | --- | 28.4082 | 0.7544 | 28.4007 | 1.0267 | 3.3832 | 3.3222 | 3.3345 | 3.3459 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.143 | 0.141 | 0.143 | 0.143 |  |  | 22302 | 21666 | 21428 | 21180 |  |  | 0.1005 | 0.0985 | 0.1005 | 0.1005 | --- | --- | 17815.5 | 17179.5 | 16941.5 | 16693.5 | --- | --- | 23.9941 | 23.6073 | 22.817 | 22.483 | --- | --- | 23.2254 | 0.69636 | 23.2175 | 1.0304 | 3.1778 | 3.1616 | 3.1275 | 3.1128 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.2 | 0.203 | 0.195 | 0.191 |  |  | 4856 | 5219 | 5110 | 5098 |  |  | 0.1575 | 0.1605 | 0.1525 | 0.1485 | --- | --- | 369.5 | 732.5 | 623.5 | 611.5 | --- | --- | 0.31755 | 0.61774 | 0.5534 | 0.55737 | --- | --- | 0.51151 | 0.13262 | 0.49596 | 1.3518 | -1.1471 | -0.48169 | -0.59167 | -0.58453 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.19 | 0.183 | 0.171 | 0.176 |  |  | 5222 | 5096 | 4575 | 4756 |  |  | 0.1475 | 0.1405 | 0.1285 | 0.1335 | --- | --- | 735.5 | 609.5 | 88.5 | 269.5 | --- | --- | 0.67494 | 0.58718 | 0.093221 | 0.27324 | --- | --- | 0.40714 | 0.27117 | 0.31697 | 2.4783 | -0.39314 | -0.53243 | -2.3728 | -1.2974 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.071 | 0.072 | 0.071 | 0.071 |  |  | 16294 | 16588 | 15940 | 15855 |  |  | 0.0285 | 0.0295 | 0.0285 | 0.0285 | --- | --- | 11807.5 | 12101.5 | 11453.5 | 11368.5 | --- | --- | 56.0771 | 55.5252 | 54.3959 | 53.9922 | --- | --- | 54.9976 | 0.96895 | 54.9912 | 1.0178 | 4.0267 | 4.0168 | 3.9963 | 3.9888 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.049 | 0.049 | 0.049 | 0.049 |  |  | 11997 | 11204 | 11021 | 10184 |  |  | 0.0065 | 0.0065 | 0.0065 | 0.0065 | --- | --- | 7510.5 | 6717.5 | 6534.5 | 5697.5 | --- | --- | 156.3969 | 139.8837 | 136.0729 | 118.6434 | --- | --- | 137.7492 | 15.4934 | 137.089 | 1.1203 | 5.0524 | 4.9408 | 4.9132 | 4.7761 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.155 | 0.141 | 0.147 | 0.144 |  |  | 10208 | 9368 | 9660 | 9599 |  |  | 0.1125 | 0.0985 | 0.1045 | 0.1015 | --- | --- | 5721.5 | 4881.5 | 5173.5 | 5112.5 | --- | --- | 6.8838 | 6.7079 | 6.701 | 6.8177 | --- | --- | 6.7776 | 0.088715 | 6.7772 | 1.0132 | 1.9292 | 1.9033 | 1.9023 | 1.9195 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.147 | 0.147 | 0.144 | 0.14 |  |  | 10300 | 9639 | 9704 | 9533 |  |  | 0.1045 | 0.1045 | 0.1015 | 0.0975 | --- | --- | 5813.5 | 5152.5 | 5217.5 | 5046.5 | --- | --- | 7.53 | 6.6738 | 6.9578 | 7.0058 | --- | --- | 7.0418 | 0.35688 | 7.0352 | 1.0514 | 2.0189 | 1.8982 | 1.9399 | 1.9467 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.186 | 0.186 | 0.183 | 0.178 |  |  | 4742 | 4798 | 4795 | 4644 |  |  | 0.1435 | 0.1435 | 0.1405 | 0.1355 | --- | --- | 255.5 | 311.5 | 308.5 | 157.5 | --- | --- | 0.241 | 0.29382 | 0.2972 | 0.15733 | --- | --- | 0.24734 | 0.06529 | 0.23988 | 1.3461 | -1.423 | -1.2248 | -1.2133 | -1.8494 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.189 | 0.176 | 0.186 | 0.184 |  |  | 4726 | 4608 | 4656 | 4721 |  |  | 0.1465 | 0.1335 | 0.1435 | 0.1415 | --- | --- | 239.5 | 121.5 | 169.5 | 234.5 | --- | --- | 0.22128 | 0.12319 | 0.15988 | 0.22432 | --- | --- | 0.18217 | 0.049267 | 0.17682 | 1.3329 | -1.5083 | -2.094 | -1.8333 | -1.4947 | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.343 | 0.339 | 0.342 | 0.309 |  |  | 5610 | 5544 | 5420 | 4672 |  |  | 0.3005 | 0.2965 | 0.2995 | 0.2665 | --- | --- | 1123.5 | 1057.5 | 933.5 | 185.5 | --- | --- | 0.50606 | 0.48276 | 0.42188 | 0.094215 | --- | --- | 0.37623 | 0.19133 | 0.31391 | 2.2391 | -0.6811 | -0.72824 | -0.86303 | -2.3622 | --- | ---
Negative Control (Colony 2) | 0.348 | 0.349 | 0.292 | 0.352 |  |  | 5602 | 5640 | 4235 | 5550 |  |  | 0.3055 | 0.3065 | 0.2495 | 0.3095 | --- | --- | 1115.5 | 1153.5 | -251.5 | 1063.5 | --- | --- | 0.49423 | 0.5094 | -0.13644 | 0.4651 | --- | --- | 0.33307 | 0.31355 | #NUM! | #NUM! | -0.70475 | -0.67452 | #NUM! | -0.7655 | --- | ---
Positive Control (Colony 1) | 0.292 | 0.295 | 0.288 | 0.282 |  |  | 33152 | 34007 | 34214 | 33944 |  |  | 0.2495 | 0.2525 | 0.2455 | 0.2395 | --- | --- | 28665.5 | 29520.5 | 29727.5 | 29457.5 | --- | --- | 15.5511 | 15.8247 | 16.39 | 16.648 | --- | --- | 16.1035 | 0.50381 | 16.0976 | 1.0318 | 2.7441 | 2.7616 | 2.7967 | 2.8123 | --- | ---
Positive Control (Colony 2) | 0.294 | 0.289 | 0.297 | 0.309 |  |  | 33580 | 33132 | 33999 | 32812 |  |  | 0.2515 | 0.2465 | 0.2545 | 0.2665 | --- | --- | 29093.5 | 28645.5 | 29512.5 | 28325.5 | --- | --- | 15.6578 | 15.7294 | 15.6961 | 14.3864 | --- | --- | 15.3674 | 0.65465 | 15.3567 | 1.0445 | 2.751 | 2.7555 | 2.7534 | 2.6663 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.054 | 0.052 | 0.05 | 0.05 |  |  | 21075 | 20972 | 20722 | 20022 |  |  | 0.0115 | 0.0095 | 0.0075 | 0.0075 | --- | --- | 16588.5 | 16485.5 | 16235.5 | 15535.5 | --- | --- | 195.2459 | 234.8828 | 293.0064 | 280.3733 | --- | --- | 250.8771 | 44.7048 | 247.7489 | 1.2036 | 5.2743 | 5.4591 | 5.6802 | 5.6361 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.052 | 0.052 | 0.051 | 0.051 |  |  | 16531 | 16431 | 16501 | 13973 |  |  | 0.0095 | 0.0095 | 0.0085 | 0.0085 | --- | --- | 12044.5 | 11944.5 | 12014.5 | 9486.5 | --- | --- | 171.6081 | 170.1833 | 191.3196 | 151.0636 | --- | --- | 171.0437 | 16.4456 | 170.4486 | 1.1014 | 5.1452 | 5.1369 | 5.2539 | 5.0177 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.292 | 0.298 | 0.287 | 0.281 |  |  | 57087 | 58583 | 57119 | 57630 |  |  | 0.2495 | 0.2555 | 0.2445 | 0.2385 | --- | --- | 52600.5 | 54096.5 | 52632.5 | 53143.5 | --- | --- | 28.5359 | 28.6583 | 29.1372 | 30.1602 | --- | --- | 29.1229 | 0.7386 | 29.116 | 1.0255 | 3.3512 | 3.3554 | 3.372 | 3.4065 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.276 | 0.3 | 0.3 | 0.285 |  |  | 49301 | 52965 | 52192 | 48211 |  |  | 0.2335 | 0.2575 | 0.2575 | 0.2425 | --- | --- | 44814.5 | 48478.5 | 47705.5 | 43724.5 | --- | --- | 25.9779 | 25.4827 | 25.0763 | 24.4054 | --- | --- | 25.2356 | 0.665 | 25.229 | 1.0268 | 3.2572 | 3.238 | 3.2219 | 3.1948 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.337 | 0.332 | 0.322 | 0.318 |  |  | 6309 | 6399 | 6417 | 6353 |  |  | 0.2945 | 0.2895 | 0.2795 | 0.2755 | --- | --- | 1822.5 | 1912.5 | 1930.5 | 1866.5 | --- | --- | 0.83764 | 0.89418 | 0.93489 | 0.91702 | --- | --- | 0.89593 | 0.042285 | 0.89517 | 1.0491 | -0.17717 | -0.11185 | -0.067326 | -0.086625 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.312 | 0.338 | 0.324 | 0.328 |  |  | 6407 | 6260 | 6535 | 6321 |  |  | 0.2695 | 0.2955 | 0.2815 | 0.2855 | --- | --- | 1920.5 | 1773.5 | 2048.5 | 1834.5 | --- | --- | 0.96456 | 0.81236 | 0.98499 | 0.86973 | --- | --- | 0.90791 | 0.081113 | 0.90515 | 1.0945 | -0.036086 | -0.20782 | -0.015127 | -0.13957 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.186 | 0.188 | 0.185 | 0.192 |  |  | 37715 | 37311 | 37731 | 38826 |  |  | 0.1435 | 0.1455 | 0.1425 | 0.1495 | --- | --- | 33228.5 | 32824.5 | 33244.5 | 34339.5 | --- | --- | 31.3423 | 30.5357 | 31.5775 | 31.0903 | --- | --- | 31.1365 | 0.44719 | 31.134 | 1.0145 | 3.445 | 3.4189 | 3.4524 | 3.4369 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.054 | 0.054 | 0.054 | 0.054 |  |  | 15990 | 15411 | 15486 | 15712 |  |  | 0.0115 | 0.0115 | 0.0115 | 0.0115 | --- | --- | 11503.5 | 10924.5 | 10999.5 | 11225.5 | --- | --- | 135.3957 | 128.5809 | 129.4636 | 132.1236 | --- | --- | 131.391 | 3.0652 | 131.3643 | 1.0235 | 4.9082 | 4.8566 | 4.8634 | 4.8837 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.285 | 0.296 | 0.287 | 0.256 |  |  | 14576 | 15070 | 14713 | 12194 |  |  | 0.2425 | 0.2535 | 0.2445 | 0.2135 | --- | --- | 10089.5 | 10583.5 | 10226.5 | 7707.5 | --- | --- | 5.6316 | 5.651 | 5.6614 | 4.8864 | --- | --- | 5.4576 | 0.38099 | 5.4471 | 1.0751 | 1.7284 | 1.7318 | 1.7337 | 1.5865 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.291 | 0.284 | 0.288 | 0.292 |  |  | 14857 | 14439 | 14015 | 14708 |  |  | 0.2485 | 0.2415 | 0.2455 | 0.2495 | --- | --- | 10370.5 | 9952.5 | 9528.5 | 10221.5 | --- | --- | 5.6487 | 5.5781 | 5.2535 | 5.5452 | --- | --- | 5.5064 | 0.17404 | 5.5043 | 1.0325 | 1.7314 | 1.7189 | 1.6589 | 1.7129 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.308 | 0.312 | 0.316 | 0.321 |  |  | 5945 | 5960 | 6037 | 6055 |  |  | 0.2655 | 0.2695 | 0.2735 | 0.2785 | --- | --- | 1458.5 | 1473.5 | 1550.5 | 1568.5 | --- | --- | 0.74356 | 0.74006 | 0.76734 | 0.76231 | --- | --- | 0.75332 | 0.013523 | 0.75322 | 1.0181 | -0.29631 | -0.30103 | -0.26483 | -0.2714 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.327 | 0.336 | 0.343 | 0.344 |  |  | 5923 | 6048 | 5906 | 5941 |  |  | 0.2845 | 0.2935 | 0.3005 | 0.3015 | --- | --- | 1436.5 | 1561.5 | 1419.5 | 1454.5 | --- | --- | 0.68343 | 0.72012 | 0.63939 | 0.65298 | --- | --- | 0.67398 | 0.035853 | 0.67327 | 1.0542 | -0.38063 | -0.32833 | -0.44725 | -0.42621 | --- | ---