## OD600 reference point
| LUDOX-HS40 | H2O
Replicate 1 | 0.047 | 0.039 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.046 | 0.041 | Gold cells are calculated
Replicate 3 | 0.047 | 0.04
Replicate 4 | 0.049 | 0.039
Arith. Mean | 0.04725 | 0.03975
Corrected Abs600 | 0.0075 |  | Corrected value is particle-only contribution
Reference OD600 | 0.0425 |  | Reference value is for 100uL of LUDOX-HS40 in a well of a standard 96-well flat-bottom plate
OD600/Abs600 | 5.6667 |  | Corrected value = scaling factor * measured value

## Fluorescein standard curve
uM Fluorescein | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828 | 0
Replicate 1 | 46200000 | 32100000 | 17900000 | 8740000 | 5070000 | 2090000 | 1120000 | 592000 | 275000 | 143000 | 75000 | 2730 | Enter fluorescence measurements into blue cells
Replicate 2 | 47300000 | 33400000 | 17500000 | 9440000 | 4940000 | 2210000 | 1180000 | 559000 | 286000 | 142000 | 65200 | 2915 | Gold cells are calculated
Replicate 3 | 47300000 | 32200000 | 17800000 | 9690000 | 4770000 | 2640000 | 1230000 | 604000 | 321000 | 141000 | 71800 | 2748
Replicate 4 | 46800000 | 32100000 | 16400000 | 10200000 | 4820000 | 2400000 | 1220000 | 600000 | 290000 | 131000 | 72400 | 2647 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean |  | 32450000 | 17400000 | 9517500 | 4900000 | 2335000 | 1187500 | 588750 | 293000 | 139250 | 71100 | 2760
46900000
Arith. Std.Dev. | 522812.9047 | 635085.2961 | 687992.248 | 607199.8573 | 133915.3962 | 240069.4344 | 49916.5971 | 20451.1613 | 19714.6308 | 5560.2758 | 4171.3307 | 112.3061
For the four wells containing 50.00 μM Fluorescein, plate reader shows warning: "Too high signal, the measurement channel is saturated", so these data are not included in the drawing of the trend line. Photo of the warning is attached below.
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
uM Fluorescein/a.u. | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828
Mean um Fluorescein/a.u. | 1.0661e-06 | 7.7042e-07 | 7.1839e-07 | 6.5669e-07 | 6.3776e-07 | 6.6916e-07 | 6.5789e-07 | 6.6348e-07 | 6.666e-07 | 7.013e-07 | 6.8675e-07
Mean of med-high levels: |  | 6.9048e-07
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 60800 | 105000 | 148000 | 139000 | 62500 | 93800 | 68800 | 61700 | 65500 | Colony 1, Replicate 1 | 0.066 | 0.067 | 0.064 | 0.075 | 0.095 | 0.07 | 0.084 | 0.082 | 0.042
Colony 1, Replicate 2 | 62800 | 109000 | 157000 | 134000 | 61800 | 96000 | 70900 | 59900 | 66600 | Colony 1, Replicate 2 | 0.066 | 0.069 | 0.063 | 0.066 | 0.096 | 0.075 | 0.081 | 0.093 | 0.043
Colony 1, Replicate 3 | 55300 | 104000 | 151000 | 134000 | 64200 | 92400 | 67000 | 60700 | 67900 | Colony 1, Replicate 3 | 0.068 | 0.066 | 0.066 | 0.07 | 0.085 | 0.071 | 0.071 | 0.087 | 0.042
Colony 1, Replicate 4 | 61200 | 108000 | 146000 | 138000 | 62400 | 89200 | 79400 | 59500 | 69500 | Colony 1, Replicate 4 | 0.071 | 0.07 | 0.063 | 0.072 | 0.082 | 0.078 | 0.081 | 0.089 | 0.042
Colony 2, Replicate 1 | 107000 | 66500 | 152000 | 137000 | 65999 | 99500 | 77500 | 66400 | 67800 | Colony 2, Replicate 1 | 0.071 | 0.077 | 0.064 | 0.073 | 0.073 | 0.075 | 0.081 | 0.084 | 0.041
Colony 2, Replicate 2 | 107000 | 64300 | 155000 | 138000 | 66700 | 101000 | 78400 | 67900 | 67000 | Colony 2, Replicate 2 | 0.067 | 0.08 | 0.064 | 0.074 | 0.078 | 0.074 | 0.082 | 0.083 | 0.042
Colony 2, Replicate 3 | 108000 | 66700 | 156000 | 135000 | 66100 | 98200 | 76500 | 63500 | 68900 | Colony 2, Replicate 3 | 0.071 | 0.081 | 0.06 | 0.078 | 0.081 | 0.075 | 0.082 | 0.083 | 0.042
Colony 2, Replicate 4 | 106000 | 60500 | 148000 | 136000 | 69500 | 100000 | 74500 | 65000 | 66200 | Colony 2, Replicate 4 | 0.069 | 0.072 | 0.065 | 0.076 | 0.08 | 0.076 | 0.08 | 0.086 | 0.044
Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 66700 | 181000 | 161000 | 195000 | 72800 | 217000 | 121000 | 70500 | 66500 | Colony 1, Replicate 1 | 0.198 | 0.091 | 0.066 | 0.12 | 0.24 | 0.101 | 0.177 | 0.28 | 0.042
Colony 1, Replicate 2 | 64600 | 172000 | 164000 | 190000 | 73600 | 203000 | 124000 | 68500 | 66400 | Colony 1, Replicate 2 | 0.18 | 0.094 | 0.064 | 0.118 | 0.276 | 0.096 | 0.175 | 0.29 | 0.042
Colony 1, Replicate 3 | 65100 | 171000 | 161000 | 190000 | 72400 | 212000 | 132000 | 69100 | 67400 | Colony 1, Replicate 3 | 0.162 | 0.088 | 0.063 | 0.117 | 0.246 | 0.102 | 0.194 | 0.246 | 0.043
Colony 1, Replicate 4 | 67200 | 178000 | 153000 | 192000 | 94200 | 172000 | 124000 | 67400 | 65900 | Colony 1, Replicate 4 | 0.164 | 0.092 | 0.064 | 0.122 | 0.231 | 0.093 | 0.176 | 0.223 | 0.043
Colony 2, Replicate 1 | 72000 | 195000 | 149000 | 165000 | 73800 | 213000 | 141000 | 69600 | 63700 | Colony 2, Replicate 1 | 0.217 | 0.091 | 0.059 | 0.106 | 0.223 | 0.099 | 0.191 | 0.237 | 0.042
Colony 2, Replicate 2 | 70600 | 189000 | 153000 | 173000 | 71700 | 209000 | 133000 | 69300 | 65000 | Colony 2, Replicate 2 | 0.227 | 0.1 | 0.06 | 0.112 | 0.215 | 0.098 | 0.193 | 0.226 | 0.041
Colony 2, Replicate 3 | 70000 | 189000 | 146000 | 170000 | 71800 | 193000 | 136000 | 67900 | 63900 | Colony 2, Replicate 3 | 0.207 | 0.098 | 0.059 | 0.11 | 0.226 | 0.096 | 0.194 | 0.234 | 0.042
Colony 2, Replicate 4 | 70000 | 182000 | 141000 | 157000 | 66900 | 207000 | 130000 | 69300 | 64300 | Colony 2, Replicate 4 | 0.205 | 0.096 | 0.06 | 0.107 | 0.193 | 0.1 | 0.188 | 0.23 | 0.045
Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 76400 | 237000 | 172000 | 294000 | 85500 | 278000 | 151000 | 77700 | 70100 | Colony 1, Replicate 1 | 0.36 | 0.134 | 0.084 | 0.238 | 0.366 | 0.116 | 0.308 | 0.338 | 0.041
Colony 1, Replicate 2 | 75300 | 231000 | 173000 | 289000 | 83800 | 279000 | 151000 | 77100 | 67700 | Colony 1, Replicate 2 | 0.358 | 0.13 | 0.069 | 0.242 | 0.364 | 0.119 | 0.312 | 0.339 | 0.044
Colony 1, Replicate 3 | 75300 | 231000 | 174000 | 288000 | 83300 | 270000 | 148000 | 65500 | 70600 | Colony 1, Replicate 3 | 0.351 | 0.132 | 0.07 | 0.228 | 0.369 | 0.118 | 0.3 | 0.314 | 0.043
Colony 1, Replicate 4 | 74500 | 225000 | 171000 | 281000 | 81800 | 270000 | 147000 | 74900 | 67200 | Colony 1, Replicate 4 | 0.339 | 0.128 | 0.076 | 0.225 | 0.36 | 0.117 | 0.303 | 0.325 | 0.042
Colony 2, Replicate 1 | 81200 | 253000 | 167000 | 246000 | 88700 | 263000 | 160000 | 78100 | 68400 | Colony 2, Replicate 1 | 0.366 | 0.143 | 0.064 | 0.214 | 0.365 | 0.114 | 0.327 | 0.342 | 0.041
Colony 2, Replicate 2 | 81100 | 246000 | 168000 | 256000 | 84400 | 263000 | 152000 | 77800 | 66900 | Colony 2, Replicate 2 | 0.369 | 0.14 | 0.064 | 0.215 | 0.35 | 0.117 | 0.315 | 0.346 | 0.041
Colony 2, Replicate 3 | 78900 | 233000 | 163000 | 254000 | 82300 | 255000 | 152000 | 76000 | 64000 | Colony 2, Replicate 3 | 0.364 | 0.141 | 0.067 | 0.22 | 0.349 | 0.117 | 0.326 | 0.343 | 0.042
Colony 2, Replicate 4 | 80600 | 242000 | 160000 | 253000 | 81900 | 248000 | 160000 | 75700 | 64600 | Colony 2, Replicate 4 | 0.364 | 0.138 | 0.066 | 0.216 | 0.343 | 0.114 | 0.329 | 0.339 | 0.045
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 77900 | 297000 | 173000 | 373000 | 83100 | 309000 | 151000 | 73000 | 65200 | Colony 1, Replicate 1 | 0.4 | 0.218 | 0.114 | 0.374 | 0.421 | 0.179 | 0.379 | 0.381 | 0.042
Colony 1, Replicate 2 | 75400 | 298000 | 173000 | 371000 | 82700 | 300000 | 150000 | 74100 | 65300 | Colony 1, Replicate 2 | 0.418 | 0.241 | 0.124 | 0.366 | 0.426 | 0.167 | 0.373 | 0.392 | 0.044
Colony 1, Replicate 3 | 75900 | 303000 | 175000 | 372000 | 74600 | 290000 | 151000 | 73900 | 62800 | Colony 1, Replicate 3 | 0.408 | 0.233 | 0.124 | 0.366 | 0.415 | 0.163 | 0.374 | 0.385 | 0.043
Colony 1, Replicate 4 | 74700 | 304000 | 171000 | 376000 | 79300 | 293000 | 148000 | 73800 | 61800 | Colony 1, Replicate 4 | 0.39 | 0.227 | 0.123 | 0.371 | 0.432 | 0.181 | 0.375 | 0.379 | 0.042
Colony 2, Replicate 1 | 79600 | 322000 | 156000 | 321000 | 85800 | 302000 | 159000 | 79600 | 62000 | Colony 2, Replicate 1 | 0.422 | 0.277 | 0.106 | 0.391 | 0.438 | 0.179 | 0.396 | 0.411 | 0.041
Colony 2, Replicate 2 | 82200 | 320000 | 165000 | 327000 | 90800 | 307000 | 160000 | 82200 | 62400 | Colony 2, Replicate 2 | 0.436 | 0.297 | 0.107 | 0.391 | 0.443 | 0.179 | 0.403 | 0.426 | 0.041
Colony 2, Replicate 3 | 84000 | 339000 | 163000 | 333000 | 84000 | 306000 | 162000 | 81900 | 61800 | Colony 2, Replicate 3 | 0.437 | 0.299 | 0.106 | 0.388 | 0.434 | 0.178 | 0.407 | 0.426 | 0.042
Colony 2, Replicate 4 | 85200 | 328000 | 164000 | 322000 | 88900 | 307000 | 161000 | 81500 | 61300 | Colony 2, Replicate 4 | 0.443 | 0.307 | 0.115 | 0.37 | 0.457 | 0.187 | 0.402 | 0.424 | 0.043
Plate pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence Measurement
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 5.6667 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | 6.9048e-07 | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
A few experiment groups have lower Fluorescence intensity compared to the background. This situation result in negative values in later calculation and "#NUM" error. We use 0 to replace negative data in the next sheet to eliminate the error.
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.042 | 0.043 | 0.042 | 0.042 |  |  | 65500 | 66600 | 67900 | 69500
Blank mean: | 0.04225 | [5 empty] | 67375 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0.066 | 0.066 | 0.068 | 0.071 |  |  | 60800 | 62800 | 55300 | 61200 |  |  | 0.02375 | 0.02375 | 0.02575 | 0.02875 | --- | --- | -6575 | -4575 | -12075 | -6175 | --- | --- | -0.033733 | -0.023472 | -0.057139 | -0.026171 | --- | --- | -0.035129 | 0.015303 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.071 | 0.067 | 0.071 | 0.069 |  |  | 107000 | 107000 | 108000 | 106000 |  |  | 0.02875 | 0.02475 | 0.02875 | 0.02675 | --- | --- | 39625 | 39625 | 40625 | 38625 | --- | --- | 0.16794 | 0.19508 | 0.17218 | 0.17594 | --- | --- | 0.17779 | 0.011985 | 0.17749 | 1.068 | -1.7841 | -1.6343 | -1.7592 | -1.7376 | --- | ---
Positive Control (Colony 1) | 0.067 | 0.069 | 0.066 | 0.07 |  |  | 105000 | 109000 | 104000 | 108000 |  |  | 0.02475 | 0.02675 | 0.02375 | 0.02775 | --- | --- | 37625 | 41625 | 36625 | 40625 | --- | --- | 0.18524 | 0.18961 | 0.18791 | 0.17838 | --- | --- | 0.18528 | 0.0049389 | 0.18523 | 1.0273 | -1.6861 | -1.6628 | -1.6718 | -1.7238 | --- | ---
Positive Control (Colony 2) | 0.077 | 0.08 | 0.081 | 0.072 |  |  | 66500 | 64300 | 66700 | 60500 |  |  | 0.03475 | 0.03775 | 0.03875 | 0.02975 | --- | --- | -875 | -3075 | -675 | -6875 | --- | --- | -0.0030682 | -0.0099255 | -0.0021225 | -0.028159 | --- | --- | -0.010819 | 0.012071 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.064 | 0.063 | 0.066 | 0.063 |  |  | 148000 | 157000 | 151000 | 146000 |  |  | 0.02175 | 0.02075 | 0.02375 | 0.02075 | --- | --- | 80625 | 89625 | 83625 | 78625 | --- | --- | 0.45168 | 0.5263 | 0.42904 | 0.46171 | --- | --- | 0.46718 | 0.041714 | 0.46584 | 1.0909 | -0.79477 | -0.64188 | -0.84621 | -0.77282 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.064 | 0.064 | 0.06 | 0.065 |  |  | 152000 | 155000 | 156000 | 148000 |  |  | 0.02175 | 0.02175 | 0.01775 | 0.02275 | --- | --- | 84625 | 87625 | 88625 | 80625 | --- | --- | 0.47409 | 0.4909 | 0.60839 | 0.43183 | --- | --- | 0.5013 | 0.075593 | 0.49727 | 1.156 | -0.74635 | -0.71151 | -0.49694 | -0.83972 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.075 | 0.066 | 0.07 | 0.072 |  |  | 139000 | 134000 | 134000 | 138000 |  |  | 0.03275 | 0.02375 | 0.02775 | 0.02975 | --- | --- | 71625 | 66625 | 66625 | 70625 | --- | --- | 0.26649 | 0.34182 | 0.29255 | 0.28927 | --- | --- | 0.29753 | 0.031719 | 0.29631 | 1.1095 | -1.3224 | -1.0735 | -1.2291 | -1.2404 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.073 | 0.074 | 0.078 | 0.076 |  |  | 137000 | 138000 | 135000 | 136000 |  |  | 0.03075 | 0.03175 | 0.03575 | 0.03375 | --- | --- | 69625 | 70625 | 67625 | 68625 | --- | --- | 0.2759 | 0.27104 | 0.23049 | 0.24776 | --- | --- | 0.2563 | 0.021137 | 0.25563 | 1.0871 | -1.2877 | -1.3055 | -1.4675 | -1.3953 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.095 | 0.096 | 0.085 | 0.082 |  |  | 62500 | 61800 | 64200 | 62400 |  |  | 0.05275 | 0.05375 | 0.04275 | 0.03975 | --- | --- | -4875 | -5575 | -3175 | -4975 | --- | --- | -0.011261 | -0.012638 | -0.0090497 | -0.01525 | --- | --- | -0.01205 | 0.0025957 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.073 | 0.078 | 0.081 | 0.08 |  |  | 65999 | 66700 | 66100 | 69500 |  |  | 0.03075 | 0.03575 | 0.03875 | 0.03775 | --- | --- | -1376 | -675 | -1275 | 2125 | --- | --- | -0.0054525 | -0.0023007 | -0.0040093 | 0.0068591 | --- | --- | -0.0012258 | 0.0055418 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | -4.9822 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.07 | 0.075 | 0.071 | 0.078 |  |  | 93800 | 96000 | 92400 | 89200 |  |  | 0.02775 | 0.03275 | 0.02875 | 0.03575 | --- | --- | 26425 | 28625 | 25025 | 21825 | --- | --- | 0.11603 | 0.1065 | 0.10606 | 0.074388 | --- | --- | 0.10075 | 0.018164 | 0.099369 | 1.2183 | -2.1539 | -2.2396 | -2.2437 | -2.5985 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.075 | 0.074 | 0.075 | 0.076 |  |  | 99500 | 101000 | 98200 | 100000 |  |  | 0.03275 | 0.03175 | 0.03275 | 0.03375 | --- | --- | 32125 | 33625 | 30825 | 32625 | --- | --- | 0.11952 | 0.12905 | 0.11469 | 0.11779 | --- | --- | 0.12026 | 0.0061884 | 0.12014 | 1.0519 | -2.1242 | -2.0476 | -2.1655 | -2.1389 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.084 | 0.081 | 0.071 | 0.081 |  |  | 68800 | 70900 | 67000 | 79400 |  |  | 0.04175 | 0.03875 | 0.02875 | 0.03875 | --- | --- | 1425 | 3525 | -375 | 12025 | --- | --- | 0.0041589 | 0.011084 | -0.0015893 | 0.037813 | --- | --- | 0.012867 | 0.017419 | #NUM! | #NUM! | -5.4825 | -4.5022 | #NUM! | -3.2751 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.081 | 0.082 | 0.082 | 0.08 |  |  | 77500 | 78400 | 76500 | 74500 |  |  | 0.03875 | 0.03975 | 0.03975 | 0.03775 | --- | --- | 10125 | 11025 | 9125 | 7125 | --- | --- | 0.031838 | 0.033796 | 0.027972 | 0.022998 | --- | --- | 0.029151 | 0.0047626 | 0.028844 | 1.1858 | -3.4471 | -3.3874 | -3.5766 | -3.7723 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.082 | 0.093 | 0.087 | 0.089 |  |  | 61700 | 59900 | 60700 | 59500 |  |  | 0.03975 | 0.05075 | 0.04475 | 0.04675 | --- | --- | -5675 | -7475 | -6675 | -7875 | --- | --- | -0.017396 | -0.017947 | -0.018175 | -0.020526 | --- | --- | -0.018511 | 0.0013822 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.084 | 0.083 | 0.083 | 0.086 |  |  | 66400 | 67900 | 63500 | 65000 |  |  | 0.04175 | 0.04075 | 0.04075 | 0.04375 | --- | --- | -975 | 525 | -3875 | -2375 | --- | --- | -0.0028456 | 0.0015698 | -0.011587 | -0.0066147 | --- | --- | -0.0048694 | 0.0055896 | #NUM! | #NUM! | #NUM! | -6.4568 | #NUM! | #NUM! | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.198 | 0.18 | 0.162 | 0.164 |  |  | 66700 | 64600 | 65100 | 67200 |  |  | 0.15575 | 0.13775 | 0.11975 | 0.12175 | --- | --- | -675 | -2775 | -2275 | -175 | --- | --- | -0.00052808 | -0.0024547 | -0.0023149 | -0.00017514 | --- | --- | -0.0013682 | 0.001184 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.217 | 0.227 | 0.207 | 0.205 |  |  | 72000 | 70600 | 70000 | 70000 |  |  | 0.17475 | 0.18475 | 0.16475 | 0.16275 | --- | --- | 4625 | 3225 | 2625 | 2625 | --- | --- | 0.0032249 | 0.002127 | 0.0019415 | 0.0019653 | --- | --- | 0.0023147 | 0.0006124 | 0.0022618 | 1.2711 | -5.7368 | -6.153 | -6.2443 | -6.2321 | --- | ---
Positive Control (Colony 1) | 0.091 | 0.094 | 0.088 | 0.092 |  |  | 181000 | 172000 | 171000 | 178000 |  |  | 0.04875 | 0.05175 | 0.04575 | 0.04975 | --- | --- | 113625 | 104625 | 103625 | 110625 | --- | --- | 0.284 | 0.24635 | 0.27599 | 0.27095 | --- | --- | 0.26932 | 0.016232 | 0.26895 | 1.0636 | -1.2588 | -1.401 | -1.2874 | -1.3058 | --- | ---
Positive Control (Colony 2) | 0.091 | 0.1 | 0.098 | 0.096 |  |  | 195000 | 189000 | 189000 | 182000 |  |  | 0.04875 | 0.05775 | 0.05575 | 0.05375 | --- | --- | 127625 | 121625 | 121625 | 114625 | --- | --- | 0.319 | 0.25662 | 0.26583 | 0.25985 | --- | --- | 0.27533 | 0.029363 | 0.27422 | 1.1072 | -1.1426 | -1.3601 | -1.3249 | -1.3476 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.066 | 0.064 | 0.063 | 0.064 |  |  | 161000 | 164000 | 161000 | 153000 |  |  | 0.02375 | 0.02175 | 0.02075 | 0.02175 | --- | --- | 93625 | 96625 | 93625 | 85625 | --- | --- | 0.48034 | 0.54132 | 0.54979 | 0.4797 | --- | --- | 0.51279 | 0.037996 | 0.51173 | 1.077 | -0.73325 | -0.61374 | -0.59821 | -0.7346 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.059 | 0.06 | 0.059 | 0.06 |  |  | 149000 | 153000 | 146000 | 141000 |  |  | 0.01675 | 0.01775 | 0.01675 | 0.01775 | --- | --- | 81625 | 85625 | 78625 | 73625 | --- | --- | 0.59379 | 0.5878 | 0.57197 | 0.50542 | --- | --- | 0.56474 | 0.040607 | 0.5636 | 1.0772 | -0.52123 | -0.53137 | -0.55867 | -0.68237 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.12 | 0.118 | 0.117 | 0.122 |  |  | 195000 | 190000 | 190000 | 192000 |  |  | 0.07775 | 0.07575 | 0.07475 | 0.07975 | --- | --- | 127625 | 122625 | 122625 | 124625 | --- | --- | 0.20001 | 0.19725 | 0.19989 | 0.19041 | --- | --- | 0.19689 | 0.004503 | 0.19685 | 1.0234 | -1.6094 | -1.6233 | -1.61 | -1.6586 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.106 | 0.112 | 0.11 | 0.107 |  |  | 165000 | 173000 | 170000 | 157000 |  |  | 0.06375 | 0.06975 | 0.06775 | 0.06475 | --- | --- | 97625 | 105625 | 102625 | 89625 | --- | --- | 0.1866 | 0.18452 | 0.18457 | 0.16866 | --- | --- | 0.18109 | 0.0083412 | 0.18094 | 1.0483 | -1.6788 | -1.69 | -1.6897 | -1.7799 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.24 | 0.276 | 0.246 | 0.231 |  |  | 72800 | 73600 | 72400 | 94200 |  |  | 0.19775 | 0.23375 | 0.20375 | 0.18875 | --- | --- | 5425 | 6225 | 5025 | 26825 | --- | --- | 0.0033428 | 0.003245 | 0.0030051 | 0.017317 | --- | --- | 0.0067275 | 0.0070612 | 0.0048743 | 2.3311 | -5.701 | -5.7306 | -5.8074 | -4.0561 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.223 | 0.215 | 0.226 | 0.193 |  |  | 73800 | 71700 | 71800 | 66900 |  |  | 0.18075 | 0.17275 | 0.18375 | 0.15075 | --- | --- | 6425 | 4325 | 4425 | -475 | --- | --- | 0.0043313 | 0.0030507 | 0.0029343 | -0.00038394 | --- | --- | 0.0024831 | 0.0020134 | #NUM! | #NUM! | -5.4419 | -5.7924 | -5.8313 | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.101 | 0.096 | 0.102 | 0.093 |  |  | 217000 | 203000 | 212000 | 172000 |  |  | 0.05875 | 0.05375 | 0.05975 | 0.05075 | --- | --- | 149625 | 135625 | 144625 | 104625 | --- | --- | 0.31033 | 0.30746 | 0.29494 | 0.2512 | --- | --- | 0.29098 | 0.027348 | 0.28996 | 1.1032 | -1.1701 | -1.1794 | -1.221 | -1.3815 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.099 | 0.098 | 0.096 | 0.1 |  |  | 213000 | 209000 | 193000 | 207000 |  |  | 0.05675 | 0.05575 | 0.05375 | 0.05775 | --- | --- | 145625 | 141625 | 125625 | 139625 | --- | --- | 0.31268 | 0.30954 | 0.28479 | 0.2946 | --- | --- | 0.3004 | 0.013059 | 0.30019 | 1.0447 | -1.1626 | -1.1727 | -1.256 | -1.2221 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.177 | 0.175 | 0.194 | 0.176 |  |  | 121000 | 124000 | 132000 | 124000 |  |  | 0.13475 | 0.13275 | 0.15175 | 0.13375 | --- | --- | 53625 | 56625 | 64625 | 56625 | --- | --- | 0.048491 | 0.051975 | 0.051892 | 0.051587 | --- | --- | 0.050986 | 0.0016717 | 0.050965 | 1.0339 | -3.0264 | -2.957 | -2.9586 | -2.9645 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.191 | 0.193 | 0.194 | 0.188 |  |  | 141000 | 133000 | 136000 | 130000 |  |  | 0.14875 | 0.15075 | 0.15175 | 0.14575 | --- | --- | 73625 | 65625 | 68625 | 62625 | --- | --- | 0.060311 | 0.053044 | 0.055103 | 0.052356 | --- | --- | 0.055203 | 0.0035993 | 0.055118 | 1.0659 | -2.8082 | -2.9366 | -2.8985 | -2.9497 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.28 | 0.29 | 0.246 | 0.223 |  |  | 70500 | 68500 | 69100 | 67400 |  |  | 0.23775 | 0.24775 | 0.20375 | 0.18075 | --- | --- | 3125 | 1125 | 1725 | 25 | --- | --- | 0.0016016 | 0.0005533 | 0.0010316 | 1.6853e-05 | --- | --- | 0.00080084 | 0.00067587 | 0.00035231 | 7.9489 | -6.4368 | -7.4996 | -6.8766 | -10.991 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.237 | 0.226 | 0.234 | 0.23 |  |  | 69600 | 69300 | 67900 | 69300 |  |  | 0.19475 | 0.18375 | 0.19175 | 0.18775 | --- | --- | 2225 | 1925 | 525 | 1925 | --- | --- | 0.0013921 | 0.0012765 | 0.00033362 | 0.0012493 | --- | --- | 0.0010629 | 0.00049011 | 0.0009277 | 1.9806 | -6.5769 | -6.6636 | -8.0055 | -6.6852 | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.36 | 0.358 | 0.351 | 0.339 |  |  | 76400 | 75300 | 75300 | 74500 |  |  | 0.31775 | 0.31575 | 0.30875 | 0.29675 | --- | --- | 9025 | 7925 | 7925 | 7125 | --- | --- | 0.0034609 | 0.0030583 | 0.0031276 | 0.0029256 | --- | --- | 0.0031431 | 0.00022782 | 0.0031371 | 1.0737 | -5.6662 | -5.7899 | -5.7675 | -5.8342 | --- | ---
Negative Control (Colony 2) | 0.366 | 0.369 | 0.364 | 0.364 |  |  | 81200 | 81100 | 78900 | 80600 |  |  | 0.32375 | 0.32675 | 0.32175 | 0.32175 | --- | --- | 13825 | 13725 | 11525 | 13225 | --- | --- | 0.0052033 | 0.0051183 | 0.0043646 | 0.0050084 | --- | --- | 0.0049237 | 0.00038113 | 0.0049121 | 1.0836 | -5.2585 | -5.2749 | -5.4342 | -5.2966 | --- | ---
Positive Control (Colony 1) | 0.134 | 0.13 | 0.132 | 0.128 |  |  | 237000 | 231000 | 231000 | 225000 |  |  | 0.09175 | 0.08775 | 0.08975 | 0.08575 | --- | --- | 169625 | 163625 | 163625 | 157625 | --- | --- | 0.22527 | 0.22721 | 0.22215 | 0.22398 | --- | --- | 0.22465 | 0.0021332 | 0.22465 | 1.0095 | -1.4904 | -1.4819 | -1.5044 | -1.4962 | --- | ---
Positive Control (Colony 2) | 0.143 | 0.14 | 0.141 | 0.138 |  |  | 253000 | 246000 | 233000 | 242000 |  |  | 0.10075 | 0.09775 | 0.09875 | 0.09575 | --- | --- | 185625 | 178625 | 165625 | 174625 | --- | --- | 0.2245 | 0.22266 | 0.20437 | 0.22222 | --- | --- | 0.21844 | 0.0094323 | 0.21828 | 1.0451 | -1.4939 | -1.5021 | -1.5878 | -1.5041 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.084 | 0.069 | 0.07 | 0.076 |  |  | 172000 | 173000 | 174000 | 171000 |  |  | 0.04175 | 0.02675 | 0.02775 | 0.03375 | --- | --- | 104625 | 105625 | 106625 | 103625 | --- | --- | 0.30535 | 0.48114 | 0.46819 | 0.37412 | --- | --- | 0.4072 | 0.082971 | 0.40052 | 1.2375 | -1.1863 | -0.73161 | -0.75888 | -0.98317 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.064 | 0.064 | 0.067 | 0.066 |  |  | 167000 | 168000 | 163000 | 160000 |  |  | 0.02175 | 0.02175 | 0.02475 | 0.02375 | --- | --- | 99625 | 100625 | 95625 | 92625 | --- | --- | 0.55813 | 0.56373 | 0.47078 | 0.47521 | --- | --- | 0.51696 | 0.05085 | 0.51509 | 1.1036 | -0.58317 | -0.57318 | -0.75336 | -0.74399 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.238 | 0.242 | 0.228 | 0.225 |  |  | 294000 | 289000 | 288000 | 281000 |  |  | 0.19575 | 0.19975 | 0.18575 | 0.18275 | --- | --- | 226625 | 221625 | 220625 | 213625 | --- | --- | 0.14107 | 0.13519 | 0.14473 | 0.14244 | --- | --- | 0.14086 | 0.0040657 | 0.14081 | 1.0296 | -1.9585 | -2.001 | -1.9329 | -1.9489 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.214 | 0.215 | 0.22 | 0.216 |  |  | 246000 | 256000 | 254000 | 253000 |  |  | 0.17175 | 0.17275 | 0.17775 | 0.17375 | --- | --- | 178625 | 188625 | 186625 | 185625 | --- | --- | 0.12673 | 0.13305 | 0.12793 | 0.13018 | --- | --- | 0.12947 | 0.0027797 | 0.12945 | 1.0216 | -2.0657 | -2.0171 | -2.0562 | -2.0389 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.366 | 0.364 | 0.369 | 0.36 |  |  | 85500 | 83800 | 83300 | 81800 |  |  | 0.32375 | 0.32175 | 0.32675 | 0.31775 | --- | --- | 18125 | 16425 | 15925 | 14425 | --- | --- | 0.0068217 | 0.0062203 | 0.0059387 | 0.0055317 | --- | --- | 0.0061281 | 0.00054198 | 0.0061103 | 1.0918 | -4.9876 | -5.0799 | -5.1263 | -5.1973 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.365 | 0.35 | 0.349 | 0.343 |  |  | 88700 | 84400 | 82300 | 81900 |  |  | 0.32275 | 0.30775 | 0.30675 | 0.30075 | --- | --- | 21325 | 17025 | 14925 | 14525 | --- | --- | 0.008051 | 0.0067408 | 0.0059286 | 0.0058849 | --- | --- | 0.0066513 | 0.0010127 | 0.0065965 | 1.1581 | -4.822 | -4.9996 | -5.128 | -5.1354 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.116 | 0.119 | 0.118 | 0.117 |  |  | 278000 | 279000 | 270000 | 270000 |  |  | 0.07375 | 0.07675 | 0.07575 | 0.07475 | --- | --- | 210625 | 211625 | 202625 | 202625 | --- | --- | 0.34799 | 0.33598 | 0.32594 | 0.3303 | --- | --- | 0.33505 | 0.0095574 | 0.33495 | 1.0287 | -1.0556 | -1.0907 | -1.121 | -1.1078 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.114 | 0.117 | 0.117 | 0.114 |  |  | 263000 | 263000 | 255000 | 248000 |  |  | 0.07175 | 0.07475 | 0.07475 | 0.07175 | --- | --- | 195625 | 195625 | 187625 | 180625 | --- | --- | 0.33222 | 0.31889 | 0.30585 | 0.30675 | --- | --- | 0.31593 | 0.012385 | 0.31575 | 1.0396 | -1.102 | -1.1429 | -1.1847 | -1.1817 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.308 | 0.312 | 0.3 | 0.303 |  |  | 151000 | 151000 | 148000 | 147000 |  |  | 0.26575 | 0.26975 | 0.25775 | 0.26075 | --- | --- | 83625 | 83625 | 80625 | 79625 | --- | --- | 0.038343 | 0.037775 | 0.038115 | 0.037209 | --- | --- | 0.03786 | 0.00049306 | 0.037858 | 1.0131 | -3.2612 | -3.2761 | -3.2671 | -3.2912 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.327 | 0.315 | 0.326 | 0.329 |  |  | 160000 | 152000 | 152000 | 160000 |  |  | 0.28475 | 0.27275 | 0.28375 | 0.28675 | --- | --- | 92625 | 84625 | 84625 | 92625 | --- | --- | 0.039636 | 0.037806 | 0.03634 | 0.03936 | --- | --- | 0.038285 | 0.0015266 | 0.038262 | 1.041 | -3.228 | -3.2753 | -3.3148 | -3.235 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.338 | 0.339 | 0.314 | 0.325 |  |  | 77700 | 77100 | 65500 | 74900 |  |  | 0.29575 | 0.29675 | 0.27175 | 0.28275 | --- | --- | 10325 | 9725 | -1875 | 7525 | --- | --- | 0.0042539 | 0.0039932 | -0.00084073 | 0.0032429 | --- | --- | 0.0026623 | 0.0023744 | #NUM! | #NUM! | -5.4599 | -5.5232 | #NUM! | -5.7313 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.342 | 0.346 | 0.343 | 0.339 |  |  | 78100 | 77800 | 76000 | 75700 |  |  | 0.29975 | 0.30375 | 0.30075 | 0.29675 | --- | --- | 10725 | 10425 | 8625 | 8325 | --- | --- | 0.0043598 | 0.004182 | 0.0034944 | 0.0034184 | --- | --- | 0.0038636 | 0.00047682 | 0.0038416 | 1.1315 | -5.4353 | -5.477 | -5.6566 | -5.6786 | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.4 | 0.418 | 0.408 | 0.39 |  |  | 77900 | 75400 | 75900 | 74700 |  |  | 0.35775 | 0.37575 | 0.36575 | 0.34775 | --- | --- | 10525 | 8025 | 8525 | 7325 | --- | --- | 0.0035848 | 0.0026024 | 0.0028401 | 0.0025666 | --- | --- | 0.0028985 | 0.00047338 | 0.0028717 | 1.1671 | -5.631 | -5.9513 | -5.8639 | -5.9652 | --- | ---
Negative Control (Colony 2) | 0.422 | 0.436 | 0.437 | 0.443 |  |  | 79600 | 82200 | 84000 | 85200 |  |  | 0.37975 | 0.39375 | 0.39475 | 0.40075 | --- | --- | 12225 | 14825 | 16625 | 17825 | --- | --- | 0.0039226 | 0.0045877 | 0.0051317 | 0.0054198 | --- | --- | 0.0047655 | 0.00065936 | 0.0047299 | 1.1535 | -5.541 | -5.3844 | -5.2723 | -5.2177 | --- | ---
Positive Control (Colony 1) | 0.218 | 0.241 | 0.233 | 0.227 |  |  | 297000 | 298000 | 303000 | 304000 |  |  | 0.17575 | 0.19875 | 0.19075 | 0.18475 | --- | --- | 229625 | 230625 | 235625 | 236625 | --- | --- | 0.1592 | 0.14139 | 0.15052 | 0.15606 | --- | --- | 0.15179 | 0.0078091 | 0.15164 | 1.0535 | -1.8376 | -1.9562 | -1.8937 | -1.8575 | --- | ---
Positive Control (Colony 2) | 0.277 | 0.297 | 0.299 | 0.307 |  |  | 322000 | 320000 | 339000 | 328000 |  |  | 0.23475 | 0.25475 | 0.25675 | 0.26475 | --- | --- | 254625 | 252625 | 271625 | 260625 | --- | --- | 0.13217 | 0.12083 | 0.12891 | 0.11995 | --- | --- | 0.12547 | 0.0060172 | 0.12536 | 1.049 | -2.0237 | -2.1133 | -2.0486 | -2.1207 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.114 | 0.124 | 0.124 | 0.123 |  |  | 173000 | 173000 | 175000 | 171000 |  |  | 0.07175 | 0.08175 | 0.08175 | 0.08075 | --- | --- | 105625 | 105625 | 107625 | 103625 | --- | --- | 0.17938 | 0.15744 | 0.16042 | 0.15637 | --- | --- | 0.1634 | 0.010789 | 0.16314 | 1.0663 | -1.7183 | -1.8487 | -1.83 | -1.8555 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.106 | 0.107 | 0.106 | 0.115 |  |  | 156000 | 165000 | 163000 | 164000 |  |  | 0.06375 | 0.06475 | 0.06375 | 0.07275 | --- | --- | 88625 | 97625 | 95625 | 96625 | --- | --- | 0.1694 | 0.18372 | 0.18277 | 0.16184 | --- | --- | 0.17443 | 0.010642 | 0.17419 | 1.0634 | -1.7755 | -1.6944 | -1.6995 | -1.8212 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.374 | 0.366 | 0.366 | 0.371 |  |  | 373000 | 371000 | 372000 | 376000 |  |  | 0.33175 | 0.32375 | 0.32375 | 0.32875 | --- | --- | 305625 | 303625 | 304625 | 308625 | --- | --- | 0.11225 | 0.11428 | 0.11465 | 0.11439 | --- | --- | 0.11389 | 0.0011038 | 0.11389 | 1.0098 | -2.187 | -2.1691 | -2.1659 | -2.1681 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.391 | 0.391 | 0.388 | 0.37 |  |  | 321000 | 327000 | 333000 | 322000 |  |  | 0.34875 | 0.34875 | 0.34575 | 0.32775 | --- | --- | 253625 | 259625 | 265625 | 254625 | --- | --- | 0.088614 | 0.09071 | 0.093612 | 0.094664 | --- | --- | 0.0919 | 0.0027557 | 0.091869 | 1.0305 | -2.4235 | -2.4001 | -2.3686 | -2.3574 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.421 | 0.426 | 0.415 | 0.432 |  |  | 83100 | 82700 | 74600 | 79300 |  |  | 0.37875 | 0.38375 | 0.37275 | 0.38975 | --- | --- | 15725 | 15325 | 7225 | 11925 | --- | --- | 0.005059 | 0.0048661 | 0.0023618 | 0.0037282 | --- | --- | 0.0040038 | 0.0012422 | 0.003837 | 1.4202 | -5.2866 | -5.3255 | -6.0483 | -5.5918 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.438 | 0.443 | 0.434 | 0.457 |  |  | 85800 | 90800 | 84000 | 88900 |  |  | 0.39575 | 0.40075 | 0.39175 | 0.41475 | --- | --- | 18425 | 23425 | 16625 | 21525 | --- | --- | 0.005673 | 0.0071225 | 0.005171 | 0.0063239 | --- | --- | 0.0060726 | 0.00084417 | 0.0060291 | 1.1482 | -5.172 | -4.9445 | -5.2647 | -5.0634 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.179 | 0.167 | 0.163 | 0.181 |  |  | 309000 | 300000 | 290000 | 293000 |  |  | 0.13675 | 0.12475 | 0.12075 | 0.13875 | --- | --- | 241625 | 232625 | 222625 | 225625 | --- | --- | 0.2153 | 0.22722 | 0.22465 | 0.19814 | --- | --- | 0.21633 | 0.013161 | 0.21602 | 1.064 | -1.5357 | -1.4818 | -1.4932 | -1.6188 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.179 | 0.179 | 0.178 | 0.187 |  |  | 302000 | 307000 | 306000 | 307000 |  |  | 0.13675 | 0.13675 | 0.13575 | 0.14475 | --- | --- | 234625 | 239625 | 238625 | 239625 | --- | --- | 0.20906 | 0.21352 | 0.21419 | 0.20172 | --- | --- | 0.20962 | 0.0057408 | 0.20956 | 1.028 | -1.5651 | -1.544 | -1.5409 | -1.6009 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.379 | 0.373 | 0.374 | 0.375 |  |  | 151000 | 150000 | 151000 | 148000 |  |  | 0.33675 | 0.33075 | 0.33175 | 0.33275 | --- | --- | 83625 | 82625 | 83625 | 80625 | --- | --- | 0.030259 | 0.030439 | 0.030715 | 0.029524 | --- | --- | 0.030234 | 0.00050929 | 0.030231 | 1.0171 | -3.498 | -3.492 | -3.483 | -3.5225 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.396 | 0.403 | 0.407 | 0.402 |  |  | 159000 | 160000 | 162000 | 161000 |  |  | 0.35375 | 0.36075 | 0.36475 | 0.35975 | --- | --- | 91625 | 92625 | 94625 | 93625 | --- | --- | 0.03156 | 0.031286 | 0.031611 | 0.031711 | --- | --- | 0.031542 | 0.00018206 | 0.031542 | 1.0058 | -3.4559 | -3.4646 | -3.4543 | -3.4511 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.381 | 0.392 | 0.385 | 0.379 |  |  | 73000 | 74100 | 73900 | 73800 |  |  | 0.33875 | 0.34975 | 0.34275 | 0.33675 | --- | --- | 5625 | 6725 | 6525 | 6425 | --- | --- | 0.0020233 | 0.0023429 | 0.0023197 | 0.0023248 | --- | --- | 0.0022527 | 0.00015323 | 0.0022486 | 1.073 | -6.203 | -6.0564 | -6.0663 | -6.0641 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.411 | 0.426 | 0.426 | 0.424 |  |  | 79600 | 82200 | 81900 | 81500 |  |  | 0.36875 | 0.38375 | 0.38375 | 0.38175 | --- | --- | 12225 | 14825 | 14525 | 14125 | --- | --- | 0.0040396 | 0.0047073 | 0.004612 | 0.0045085 | --- | --- | 0.0044669 | 0.00029617 | 0.0044592 | 1.0706 | -5.5116 | -5.3586 | -5.3791 | -5.4018 | --- | ---

## Fluorescence Measurement (2)
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 5.6667 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | 6.9048e-07 | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
We use 0 to replace negative data in the part "Fluorescence - Background" and eliminate the error.
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.042 | 0.043 | 0.042 | 0.042 |  |  | 65500 | 66600 | 67900 | 69500
Blank mean: | 0.04225 | [5 empty] | 67375 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0.066 | 0.066 | 0.068 | 0.071 |  |  | 60800 | 62800 | 55300 | 61200 |  |  | 0.02375 | 0.02375 | 0.02575 | 0.02875 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 |  |  | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.071 | 0.067 | 0.071 | 0.069 |  |  | 107000 | 107000 | 108000 | 106000 |  |  | 0.02875 | 0.02475 | 0.02875 | 0.02675 | --- | --- | 39625 | 39625 | 40625 | 38625 | --- | --- | 0.16794 | 0.19508 | 0.17218 | 0.17594 | --- | --- | 0.17779 | 0.011985 | 0.17749 | 1.068 | -1.7841 | -1.6343 | -1.7592 | -1.7376 | --- | ---
Positive Control (Colony 1) | 0.067 | 0.069 | 0.066 | 0.07 |  |  | 105000 | 109000 | 104000 | 108000 |  |  | 0.02475 | 0.02675 | 0.02375 | 0.02775 | --- | --- | 37625 | 41625 | 36625 | 40625 | --- | --- | 0.18524 | 0.18961 | 0.18791 | 0.17838 | --- | --- | 0.18528 | 0.0049389 | 0.18523 | 1.0273 | -1.6861 | -1.6628 | -1.6718 | -1.7238 | --- | ---
Positive Control (Colony 2) | 0.077 | 0.08 | 0.081 | 0.072 |  |  | 66500 | 64300 | 66700 | 60500 |  |  | 0.03475 | 0.03775 | 0.03875 | 0.02975 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 |  |  | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.064 | 0.063 | 0.066 | 0.063 |  |  | 148000 | 157000 | 151000 | 146000 |  |  | 0.02175 | 0.02075 | 0.02375 | 0.02075 | --- | --- | 80625 | 89625 | 83625 | 78625 | --- | --- | 0.45168 | 0.5263 | 0.42904 | 0.46171 | --- | --- | 0.46718 | 0.041714 | 0.46584 | 1.0909 | -0.79477 | -0.64188 | -0.84621 | -0.77282 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.064 | 0.064 | 0.06 | 0.065 |  |  | 152000 | 155000 | 156000 | 148000 |  |  | 0.02175 | 0.02175 | 0.01775 | 0.02275 | --- | --- | 84625 | 87625 | 88625 | 80625 | --- | --- | 0.47409 | 0.4909 | 0.60839 | 0.43183 | --- | --- | 0.5013 | 0.075593 | 0.49727 | 1.156 | -0.74635 | -0.71151 | -0.49694 | -0.83972 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.075 | 0.066 | 0.07 | 0.072 |  |  | 139000 | 134000 | 134000 | 138000 |  |  | 0.03275 | 0.02375 | 0.02775 | 0.02975 | --- | --- | 71625 | 66625 | 66625 | 70625 | --- | --- | 0.26649 | 0.34182 | 0.29255 | 0.28927 | --- | --- | 0.29753 | 0.031719 | 0.29631 | 1.1095 | -1.3224 | -1.0735 | -1.2291 | -1.2404 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.073 | 0.074 | 0.078 | 0.076 |  |  | 137000 | 138000 | 135000 | 136000 |  |  | 0.03075 | 0.03175 | 0.03575 | 0.03375 | --- | --- | 69625 | 70625 | 67625 | 68625 | --- | --- | 0.2759 | 0.27104 | 0.23049 | 0.24776 | --- | --- | 0.2563 | 0.021137 | 0.25563 | 1.0871 | -1.2877 | -1.3055 | -1.4675 | -1.3953 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.095 | 0.096 | 0.085 | 0.082 |  |  | 62500 | 61800 | 64200 | 62400 |  |  | 0.05275 | 0.05375 | 0.04275 | 0.03975 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 |  |  | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.073 | 0.078 | 0.081 | 0.08 |  |  | 65999 | 66700 | 66100 | 69500 |  |  | 0.03075 | 0.03575 | 0.03875 | 0.03775 | --- | --- | 0 | 0 | 0 | 2125 | --- | --- | 0 | 0 | 0 | 0.0068591 | --- | --- | 0.0017148 | 0.0034295 |  |  | #NUM! | #NUM! | #NUM! | -4.9822 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.07 | 0.075 | 0.071 | 0.078 |  |  | 93800 | 96000 | 92400 | 89200 |  |  | 0.02775 | 0.03275 | 0.02875 | 0.03575 | --- | --- | 26425 | 28625 | 25025 | 21825 | --- | --- | 0.11603 | 0.1065 | 0.10606 | 0.074388 | --- | --- | 0.10075 | 0.018164 | 0.099369 | 1.2183 | -2.1539 | -2.2396 | -2.2437 | -2.5985 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.075 | 0.074 | 0.075 | 0.076 |  |  | 99500 | 101000 | 98200 | 100000 |  |  | 0.03275 | 0.03175 | 0.03275 | 0.03375 | --- | --- | 32125 | 33625 | 30825 | 32625 | --- | --- | 0.11952 | 0.12905 | 0.11469 | 0.11779 | --- | --- | 0.12026 | 0.0061884 | 0.12014 | 1.0519 | -2.1242 | -2.0476 | -2.1655 | -2.1389 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.084 | 0.081 | 0.071 | 0.081 |  |  | 68800 | 70900 | 67000 | 79400 |  |  | 0.04175 | 0.03875 | 0.02875 | 0.03875 | --- | --- | 1425 | 3525 | 0 | 12025 | --- | --- | 0.0041589 | 0.011084 | 0 | 0.037813 | --- | --- | 0.013264 | 0.016992 |  |  | -5.4825 | -4.5022 | #NUM! | -3.2751 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.081 | 0.082 | 0.082 | 0.08 |  |  | 77500 | 78400 | 76500 | 74500 |  |  | 0.03875 | 0.03975 | 0.03975 | 0.03775 | --- | --- | 10125 | 11025 | 9125 | 7125 | --- | --- | 0.031838 | 0.033796 | 0.027972 | 0.022998 | --- | --- | 0.029151 | 0.0047626 | 0.028844 | 1.1858 | -3.4471 | -3.3874 | -3.5766 | -3.7723 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.082 | 0.093 | 0.087 | 0.089 |  |  | 61700 | 59900 | 60700 | 59500 |  |  | 0.03975 | 0.05075 | 0.04475 | 0.04675 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 |  |  | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.084 | 0.083 | 0.083 | 0.086 |  |  | 66400 | 67900 | 63500 | 65000 |  |  | 0.04175 | 0.04075 | 0.04075 | 0.04375 | --- | --- | 0 | 525 | 0 | 0 | --- | --- | 0 | 0.0015698 | 0 | 0 | --- | --- | 0.00039246 | 0.00078492 |  |  | #NUM! | -6.4568 | #NUM! | #NUM! | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.198 | 0.18 | 0.162 | 0.164 |  |  | 66700 | 64600 | 65100 | 67200 |  |  | 0.15575 | 0.13775 | 0.11975 | 0.12175 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 | 0 | 0 | --- | --- | 0 | 0 |  |  | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.217 | 0.227 | 0.207 | 0.205 |  |  | 72000 | 70600 | 70000 | 70000 |  |  | 0.17475 | 0.18475 | 0.16475 | 0.16275 | --- | --- | 4625 | 3225 | 2625 | 2625 | --- | --- | 0.0032249 | 0.002127 | 0.0019415 | 0.0019653 | --- | --- | 0.0023147 | 0.0006124 | 0.0022618 | 1.2711 | -5.7368 | -6.153 | -6.2443 | -6.2321 | --- | ---
Positive Control (Colony 1) | 0.091 | 0.094 | 0.088 | 0.092 |  |  | 181000 | 172000 | 171000 | 178000 |  |  | 0.04875 | 0.05175 | 0.04575 | 0.04975 | --- | --- | 113625 | 104625 | 103625 | 110625 | --- | --- | 0.284 | 0.24635 | 0.27599 | 0.27095 | --- | --- | 0.26932 | 0.016232 | 0.26895 | 1.0636 | -1.2588 | -1.401 | -1.2874 | -1.3058 | --- | ---
Positive Control (Colony 2) | 0.091 | 0.1 | 0.098 | 0.096 |  |  | 195000 | 189000 | 189000 | 182000 |  |  | 0.04875 | 0.05775 | 0.05575 | 0.05375 | --- | --- | 127625 | 121625 | 121625 | 114625 | --- | --- | 0.319 | 0.25662 | 0.26583 | 0.25985 | --- | --- | 0.27533 | 0.029363 | 0.27422 | 1.1072 | -1.1426 | -1.3601 | -1.3249 | -1.3476 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.066 | 0.064 | 0.063 | 0.064 |  |  | 161000 | 164000 | 161000 | 153000 |  |  | 0.02375 | 0.02175 | 0.02075 | 0.02175 | --- | --- | 93625 | 96625 | 93625 | 85625 | --- | --- | 0.48034 | 0.54132 | 0.54979 | 0.4797 | --- | --- | 0.51279 | 0.037996 | 0.51173 | 1.077 | -0.73325 | -0.61374 | -0.59821 | -0.7346 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.059 | 0.06 | 0.059 | 0.06 |  |  | 149000 | 153000 | 146000 | 141000 |  |  | 0.01675 | 0.01775 | 0.01675 | 0.01775 | --- | --- | 81625 | 85625 | 78625 | 73625 | --- | --- | 0.59379 | 0.5878 | 0.57197 | 0.50542 | --- | --- | 0.56474 | 0.040607 | 0.5636 | 1.0772 | -0.52123 | -0.53137 | -0.55867 | -0.68237 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.12 | 0.118 | 0.117 | 0.122 |  |  | 195000 | 190000 | 190000 | 192000 |  |  | 0.07775 | 0.07575 | 0.07475 | 0.07975 | --- | --- | 127625 | 122625 | 122625 | 124625 | --- | --- | 0.20001 | 0.19725 | 0.19989 | 0.19041 | --- | --- | 0.19689 | 0.004503 | 0.19685 | 1.0234 | -1.6094 | -1.6233 | -1.61 | -1.6586 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.106 | 0.112 | 0.11 | 0.107 |  |  | 165000 | 173000 | 170000 | 157000 |  |  | 0.06375 | 0.06975 | 0.06775 | 0.06475 | --- | --- | 97625 | 105625 | 102625 | 89625 | --- | --- | 0.1866 | 0.18452 | 0.18457 | 0.16866 | --- | --- | 0.18109 | 0.0083412 | 0.18094 | 1.0483 | -1.6788 | -1.69 | -1.6897 | -1.7799 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.24 | 0.276 | 0.246 | 0.231 |  |  | 72800 | 73600 | 72400 | 94200 |  |  | 0.19775 | 0.23375 | 0.20375 | 0.18875 | --- | --- | 5425 | 6225 | 5025 | 26825 | --- | --- | 0.0033428 | 0.003245 | 0.0030051 | 0.017317 | --- | --- | 0.0067275 | 0.0070612 | 0.0048743 | 2.3311 | -5.701 | -5.7306 | -5.8074 | -4.0561 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.223 | 0.215 | 0.226 | 0.193 |  |  | 73800 | 71700 | 71800 | 66900 |  |  | 0.18075 | 0.17275 | 0.18375 | 0.15075 | --- | --- | 6425 | 4325 | 4425 | 0 | --- | --- | 0.0043313 | 0.0030507 | 0.0029343 | 0 | --- | --- | 0.0025791 | 0.0018322 |  |  | -5.4419 | -5.7924 | -5.8313 | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.101 | 0.096 | 0.102 | 0.093 |  |  | 217000 | 203000 | 212000 | 172000 |  |  | 0.05875 | 0.05375 | 0.05975 | 0.05075 | --- | --- | 149625 | 135625 | 144625 | 104625 | --- | --- | 0.31033 | 0.30746 | 0.29494 | 0.2512 | --- | --- | 0.29098 | 0.027348 | 0.28996 | 1.1032 | -1.1701 | -1.1794 | -1.221 | -1.3815 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.099 | 0.098 | 0.096 | 0.1 |  |  | 213000 | 209000 | 193000 | 207000 |  |  | 0.05675 | 0.05575 | 0.05375 | 0.05775 | --- | --- | 145625 | 141625 | 125625 | 139625 | --- | --- | 0.31268 | 0.30954 | 0.28479 | 0.2946 | --- | --- | 0.3004 | 0.013059 | 0.30019 | 1.0447 | -1.1626 | -1.1727 | -1.256 | -1.2221 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.177 | 0.175 | 0.194 | 0.176 |  |  | 121000 | 124000 | 132000 | 124000 |  |  | 0.13475 | 0.13275 | 0.15175 | 0.13375 | --- | --- | 53625 | 56625 | 64625 | 56625 | --- | --- | 0.048491 | 0.051975 | 0.051892 | 0.051587 | --- | --- | 0.050986 | 0.0016717 | 0.050965 | 1.0339 | -3.0264 | -2.957 | -2.9586 | -2.9645 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.191 | 0.193 | 0.194 | 0.188 |  |  | 141000 | 133000 | 136000 | 130000 |  |  | 0.14875 | 0.15075 | 0.15175 | 0.14575 | --- | --- | 73625 | 65625 | 68625 | 62625 | --- | --- | 0.060311 | 0.053044 | 0.055103 | 0.052356 | --- | --- | 0.055203 | 0.0035993 | 0.055118 | 1.0659 | -2.8082 | -2.9366 | -2.8985 | -2.9497 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.28 | 0.29 | 0.246 | 0.223 |  |  | 70500 | 68500 | 69100 | 67400 |  |  | 0.23775 | 0.24775 | 0.20375 | 0.18075 | --- | --- | 3125 | 1125 | 1725 | 25 | --- | --- | 0.0016016 | 0.0005533 | 0.0010316 | 1.6853e-05 | --- | --- | 0.00080084 | 0.00067587 | 0.00035231 | 7.9489 | -6.4368 | -7.4996 | -6.8766 | -10.991 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.237 | 0.226 | 0.234 | 0.23 |  |  | 69600 | 69300 | 67900 | 69300 |  |  | 0.19475 | 0.18375 | 0.19175 | 0.18775 | --- | --- | 2225 | 1925 | 525 | 1925 | --- | --- | 0.0013921 | 0.0012765 | 0.00033362 | 0.0012493 | --- | --- | 0.0010629 | 0.00049011 | 0.0009277 | 1.9806 | -6.5769 | -6.6636 | -8.0055 | -6.6852 | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.36 | 0.358 | 0.351 | 0.339 |  |  | 76400 | 75300 | 75300 | 74500 |  |  | 0.31775 | 0.31575 | 0.30875 | 0.29675 | --- | --- | 9025 | 7925 | 7925 | 7125 | --- | --- | 0.0034609 | 0.0030583 | 0.0031276 | 0.0029256 | --- | --- | 0.0031431 | 0.00022782 | 0.0031371 | 1.0737 | -5.6662 | -5.7899 | -5.7675 | -5.8342 | --- | ---
Negative Control (Colony 2) | 0.366 | 0.369 | 0.364 | 0.364 |  |  | 81200 | 81100 | 78900 | 80600 |  |  | 0.32375 | 0.32675 | 0.32175 | 0.32175 | --- | --- | 13825 | 13725 | 11525 | 13225 | --- | --- | 0.0052033 | 0.0051183 | 0.0043646 | 0.0050084 | --- | --- | 0.0049237 | 0.00038113 | 0.0049121 | 1.0836 | -5.2585 | -5.2749 | -5.4342 | -5.2966 | --- | ---
Positive Control (Colony 1) | 0.134 | 0.13 | 0.132 | 0.128 |  |  | 237000 | 231000 | 231000 | 225000 |  |  | 0.09175 | 0.08775 | 0.08975 | 0.08575 | --- | --- | 169625 | 163625 | 163625 | 157625 | --- | --- | 0.22527 | 0.22721 | 0.22215 | 0.22398 | --- | --- | 0.22465 | 0.0021332 | 0.22465 | 1.0095 | -1.4904 | -1.4819 | -1.5044 | -1.4962 | --- | ---
Positive Control (Colony 2) | 0.143 | 0.14 | 0.141 | 0.138 |  |  | 253000 | 246000 | 233000 | 242000 |  |  | 0.10075 | 0.09775 | 0.09875 | 0.09575 | --- | --- | 185625 | 178625 | 165625 | 174625 | --- | --- | 0.2245 | 0.22266 | 0.20437 | 0.22222 | --- | --- | 0.21844 | 0.0094323 | 0.21828 | 1.0451 | -1.4939 | -1.5021 | -1.5878 | -1.5041 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.084 | 0.069 | 0.07 | 0.076 |  |  | 172000 | 173000 | 174000 | 171000 |  |  | 0.04175 | 0.02675 | 0.02775 | 0.03375 | --- | --- | 104625 | 105625 | 106625 | 103625 | --- | --- | 0.30535 | 0.48114 | 0.46819 | 0.37412 | --- | --- | 0.4072 | 0.082971 | 0.40052 | 1.2375 | -1.1863 | -0.73161 | -0.75888 | -0.98317 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.064 | 0.064 | 0.067 | 0.066 |  |  | 167000 | 168000 | 163000 | 160000 |  |  | 0.02175 | 0.02175 | 0.02475 | 0.02375 | --- | --- | 99625 | 100625 | 95625 | 92625 | --- | --- | 0.55813 | 0.56373 | 0.47078 | 0.47521 | --- | --- | 0.51696 | 0.05085 | 0.51509 | 1.1036 | -0.58317 | -0.57318 | -0.75336 | -0.74399 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.238 | 0.242 | 0.228 | 0.225 |  |  | 294000 | 289000 | 288000 | 281000 |  |  | 0.19575 | 0.19975 | 0.18575 | 0.18275 | --- | --- | 226625 | 221625 | 220625 | 213625 | --- | --- | 0.14107 | 0.13519 | 0.14473 | 0.14244 | --- | --- | 0.14086 | 0.0040657 | 0.14081 | 1.0296 | -1.9585 | -2.001 | -1.9329 | -1.9489 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.214 | 0.215 | 0.22 | 0.216 |  |  | 246000 | 256000 | 254000 | 253000 |  |  | 0.17175 | 0.17275 | 0.17775 | 0.17375 | --- | --- | 178625 | 188625 | 186625 | 185625 | --- | --- | 0.12673 | 0.13305 | 0.12793 | 0.13018 | --- | --- | 0.12947 | 0.0027797 | 0.12945 | 1.0216 | -2.0657 | -2.0171 | -2.0562 | -2.0389 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.366 | 0.364 | 0.369 | 0.36 |  |  | 85500 | 83800 | 83300 | 81800 |  |  | 0.32375 | 0.32175 | 0.32675 | 0.31775 | --- | --- | 18125 | 16425 | 15925 | 14425 | --- | --- | 0.0068217 | 0.0062203 | 0.0059387 | 0.0055317 | --- | --- | 0.0061281 | 0.00054198 | 0.0061103 | 1.0918 | -4.9876 | -5.0799 | -5.1263 | -5.1973 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.365 | 0.35 | 0.349 | 0.343 |  |  | 88700 | 84400 | 82300 | 81900 |  |  | 0.32275 | 0.30775 | 0.30675 | 0.30075 | --- | --- | 21325 | 17025 | 14925 | 14525 | --- | --- | 0.008051 | 0.0067408 | 0.0059286 | 0.0058849 | --- | --- | 0.0066513 | 0.0010127 | 0.0065965 | 1.1581 | -4.822 | -4.9996 | -5.128 | -5.1354 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.116 | 0.119 | 0.118 | 0.117 |  |  | 278000 | 279000 | 270000 | 270000 |  |  | 0.07375 | 0.07675 | 0.07575 | 0.07475 | --- | --- | 210625 | 211625 | 202625 | 202625 | --- | --- | 0.34799 | 0.33598 | 0.32594 | 0.3303 | --- | --- | 0.33505 | 0.0095574 | 0.33495 | 1.0287 | -1.0556 | -1.0907 | -1.121 | -1.1078 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.114 | 0.117 | 0.117 | 0.114 |  |  | 263000 | 263000 | 255000 | 248000 |  |  | 0.07175 | 0.07475 | 0.07475 | 0.07175 | --- | --- | 195625 | 195625 | 187625 | 180625 | --- | --- | 0.33222 | 0.31889 | 0.30585 | 0.30675 | --- | --- | 0.31593 | 0.012385 | 0.31575 | 1.0396 | -1.102 | -1.1429 | -1.1847 | -1.1817 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.308 | 0.312 | 0.3 | 0.303 |  |  | 151000 | 151000 | 148000 | 147000 |  |  | 0.26575 | 0.26975 | 0.25775 | 0.26075 | --- | --- | 83625 | 83625 | 80625 | 79625 | --- | --- | 0.038343 | 0.037775 | 0.038115 | 0.037209 | --- | --- | 0.03786 | 0.00049306 | 0.037858 | 1.0131 | -3.2612 | -3.2761 | -3.2671 | -3.2912 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.327 | 0.315 | 0.326 | 0.329 |  |  | 160000 | 152000 | 152000 | 160000 |  |  | 0.28475 | 0.27275 | 0.28375 | 0.28675 | --- | --- | 92625 | 84625 | 84625 | 92625 | --- | --- | 0.039636 | 0.037806 | 0.03634 | 0.03936 | --- | --- | 0.038285 | 0.0015266 | 0.038262 | 1.041 | -3.228 | -3.2753 | -3.3148 | -3.235 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.338 | 0.339 | 0.314 | 0.325 |  |  | 77700 | 77100 | 65500 | 74900 |  |  | 0.29575 | 0.29675 | 0.27175 | 0.28275 | --- | --- | 10325 | 9725 | 0 | 7525 | --- | --- | 0.0042539 | 0.0039932 | 0 | 0.0032429 | --- | --- | 0.0028725 | 0.0019624 | #NUM! | #NUM! | -5.4599 | -5.5232 | #NUM! | -5.7313 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.342 | 0.346 | 0.343 | 0.339 |  |  | 78100 | 77800 | 76000 | 75700 |  |  | 0.29975 | 0.30375 | 0.30075 | 0.29675 | --- | --- | 10725 | 10425 | 8625 | 8325 | --- | --- | 0.0043598 | 0.004182 | 0.0034944 | 0.0034184 | --- | --- | 0.0038636 | 0.00047682 | 0.0038416 | 1.1315 | -5.4353 | -5.477 | -5.6566 | -5.6786 | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.4 | 0.418 | 0.408 | 0.39 |  |  | 77900 | 75400 | 75900 | 74700 |  |  | 0.35775 | 0.37575 | 0.36575 | 0.34775 | --- | --- | 10525 | 8025 | 8525 | 7325 | --- | --- | 0.0035848 | 0.0026024 | 0.0028401 | 0.0025666 | --- | --- | 0.0028985 | 0.00047338 | 0.0028717 | 1.1671 | -5.631 | -5.9513 | -5.8639 | -5.9652 | --- | ---
Negative Control (Colony 2) | 0.422 | 0.436 | 0.437 | 0.443 |  |  | 79600 | 82200 | 84000 | 85200 |  |  | 0.37975 | 0.39375 | 0.39475 | 0.40075 | --- | --- | 12225 | 14825 | 16625 | 17825 | --- | --- | 0.0039226 | 0.0045877 | 0.0051317 | 0.0054198 | --- | --- | 0.0047655 | 0.00065936 | 0.0047299 | 1.1535 | -5.541 | -5.3844 | -5.2723 | -5.2177 | --- | ---
Positive Control (Colony 1) | 0.218 | 0.241 | 0.233 | 0.227 |  |  | 297000 | 298000 | 303000 | 304000 |  |  | 0.17575 | 0.19875 | 0.19075 | 0.18475 | --- | --- | 229625 | 230625 | 235625 | 236625 | --- | --- | 0.1592 | 0.14139 | 0.15052 | 0.15606 | --- | --- | 0.15179 | 0.0078091 | 0.15164 | 1.0535 | -1.8376 | -1.9562 | -1.8937 | -1.8575 | --- | ---
Positive Control (Colony 2) | 0.277 | 0.297 | 0.299 | 0.307 |  |  | 322000 | 320000 | 339000 | 328000 |  |  | 0.23475 | 0.25475 | 0.25675 | 0.26475 | --- | --- | 254625 | 252625 | 271625 | 260625 | --- | --- | 0.13217 | 0.12083 | 0.12891 | 0.11995 | --- | --- | 0.12547 | 0.0060172 | 0.12536 | 1.049 | -2.0237 | -2.1133 | -2.0486 | -2.1207 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.114 | 0.124 | 0.124 | 0.123 |  |  | 173000 | 173000 | 175000 | 171000 |  |  | 0.07175 | 0.08175 | 0.08175 | 0.08075 | --- | --- | 105625 | 105625 | 107625 | 103625 | --- | --- | 0.17938 | 0.15744 | 0.16042 | 0.15637 | --- | --- | 0.1634 | 0.010789 | 0.16314 | 1.0663 | -1.7183 | -1.8487 | -1.83 | -1.8555 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.106 | 0.107 | 0.106 | 0.115 |  |  | 156000 | 165000 | 163000 | 164000 |  |  | 0.06375 | 0.06475 | 0.06375 | 0.07275 | --- | --- | 88625 | 97625 | 95625 | 96625 | --- | --- | 0.1694 | 0.18372 | 0.18277 | 0.16184 | --- | --- | 0.17443 | 0.010642 | 0.17419 | 1.0634 | -1.7755 | -1.6944 | -1.6995 | -1.8212 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.374 | 0.366 | 0.366 | 0.371 |  |  | 373000 | 371000 | 372000 | 376000 |  |  | 0.33175 | 0.32375 | 0.32375 | 0.32875 | --- | --- | 305625 | 303625 | 304625 | 308625 | --- | --- | 0.11225 | 0.11428 | 0.11465 | 0.11439 | --- | --- | 0.11389 | 0.0011038 | 0.11389 | 1.0098 | -2.187 | -2.1691 | -2.1659 | -2.1681 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.391 | 0.391 | 0.388 | 0.37 |  |  | 321000 | 327000 | 333000 | 322000 |  |  | 0.34875 | 0.34875 | 0.34575 | 0.32775 | --- | --- | 253625 | 259625 | 265625 | 254625 | --- | --- | 0.088614 | 0.09071 | 0.093612 | 0.094664 | --- | --- | 0.0919 | 0.0027557 | 0.091869 | 1.0305 | -2.4235 | -2.4001 | -2.3686 | -2.3574 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.421 | 0.426 | 0.415 | 0.432 |  |  | 83100 | 82700 | 74600 | 79300 |  |  | 0.37875 | 0.38375 | 0.37275 | 0.38975 | --- | --- | 15725 | 15325 | 7225 | 11925 | --- | --- | 0.005059 | 0.0048661 | 0.0023618 | 0.0037282 | --- | --- | 0.0040038 | 0.0012422 | 0.003837 | 1.4202 | -5.2866 | -5.3255 | -6.0483 | -5.5918 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.438 | 0.443 | 0.434 | 0.457 |  |  | 85800 | 90800 | 84000 | 88900 |  |  | 0.39575 | 0.40075 | 0.39175 | 0.41475 | --- | --- | 18425 | 23425 | 16625 | 21525 | --- | --- | 0.005673 | 0.0071225 | 0.005171 | 0.0063239 | --- | --- | 0.0060726 | 0.00084417 | 0.0060291 | 1.1482 | -5.172 | -4.9445 | -5.2647 | -5.0634 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.179 | 0.167 | 0.163 | 0.181 |  |  | 309000 | 300000 | 290000 | 293000 |  |  | 0.13675 | 0.12475 | 0.12075 | 0.13875 | --- | --- | 241625 | 232625 | 222625 | 225625 | --- | --- | 0.2153 | 0.22722 | 0.22465 | 0.19814 | --- | --- | 0.21633 | 0.013161 | 0.21602 | 1.064 | -1.5357 | -1.4818 | -1.4932 | -1.6188 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.179 | 0.179 | 0.178 | 0.187 |  |  | 302000 | 307000 | 306000 | 307000 |  |  | 0.13675 | 0.13675 | 0.13575 | 0.14475 | --- | --- | 234625 | 239625 | 238625 | 239625 | --- | --- | 0.20906 | 0.21352 | 0.21419 | 0.20172 | --- | --- | 0.20962 | 0.0057408 | 0.20956 | 1.028 | -1.5651 | -1.544 | -1.5409 | -1.6009 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.379 | 0.373 | 0.374 | 0.375 |  |  | 151000 | 150000 | 151000 | 148000 |  |  | 0.33675 | 0.33075 | 0.33175 | 0.33275 | --- | --- | 83625 | 82625 | 83625 | 80625 | --- | --- | 0.030259 | 0.030439 | 0.030715 | 0.029524 | --- | --- | 0.030234 | 0.00050929 | 0.030231 | 1.0171 | -3.498 | -3.492 | -3.483 | -3.5225 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.396 | 0.403 | 0.407 | 0.402 |  |  | 159000 | 160000 | 162000 | 161000 |  |  | 0.35375 | 0.36075 | 0.36475 | 0.35975 | --- | --- | 91625 | 92625 | 94625 | 93625 | --- | --- | 0.03156 | 0.031286 | 0.031611 | 0.031711 | --- | --- | 0.031542 | 0.00018206 | 0.031542 | 1.0058 | -3.4559 | -3.4646 | -3.4543 | -3.4511 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.381 | 0.392 | 0.385 | 0.379 |  |  | 73000 | 74100 | 73900 | 73800 |  |  | 0.33875 | 0.34975 | 0.34275 | 0.33675 | --- | --- | 5625 | 6725 | 6525 | 6425 | --- | --- | 0.0020233 | 0.0023429 | 0.0023197 | 0.0023248 | --- | --- | 0.0022527 | 0.00015323 | 0.0022486 | 1.073 | -6.203 | -6.0564 | -6.0663 | -6.0641 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.411 | 0.426 | 0.426 | 0.424 |  |  | 79600 | 82200 | 81900 | 81500 |  |  | 0.36875 | 0.38375 | 0.38375 | 0.38175 | --- | --- | 12225 | 14825 | 14525 | 14125 | --- | --- | 0.0040396 | 0.0047073 | 0.004612 | 0.0045085 | --- | --- | 0.0044669 | 0.00029617 | 0.0044592 | 1.0706 | -5.5116 | -5.3586 | -5.3791 | -5.4018 | --- | ---

## Sheet1
OD - Background
[9 empty] | 0 | 2 | 4 | 6
0.066 | 0.066 | 0.068 | 0.071 | 0.071 | 0.067 | 0.071 | 0.069 | Negative Control | 0.068625 | 0.195 | 0.35887 | 0.41925
0.067 | 0.069 | 0.066 | 0.07 | 0.077 | 0.08 | 0.081 | 0.072 | Positive Control | 0.07275 | 0.09375 | 0.13575 | 0.26237
0.064 | 0.063 | 0.066 | 0.063 | 0.064 | 0.064 | 0.06 | 0.065 | Test Device 1 | 0.063625 | 0.061875 | 0.07 | 0.11487
0.075 | 0.066 | 0.07 | 0.072 | 0.073 | 0.074 | 0.078 | 0.076 | Test Device 2 | 0.073 | 0.114 | 0.22475 | 0.37712
0.095 | 0.096 | 0.085 | 0.082 | 0.073 | 0.078 | 0.081 | 0.08 | Test Device 3 | 0.08375 | 0.23125 | 0.35825 | 0.43325
0.07 | 0.075 | 0.071 | 0.078 | 0.075 | 0.074 | 0.075 | 0.076 | Test Device 4 | 0.07425 | 0.098125 | 0.1165 | 0.17663
0.084 | 0.081 | 0.071 | 0.081 | 0.081 | 0.082 | 0.082 | 0.08 | Test Device 5 | 0.08025 | 0.186 | 0.315 | 0.38862
0.082 | 0.093 | 0.087 | 0.089 | 0.084 | 0.083 | 0.083 | 0.086 | Test Device 6 | 0.085875 | 0.24575 | 0.33575 | 0.403
[8 empty] | background | 0.04225 | 0.04225 | 0.04225 | 0.04225
[9 empty] | 0 | 2 | 4 | 6
[8 empty] | Negative Control | 0.026375 | 0.15275 | 0.31662 | 0.377
0.198 | 0.18 | 0.162 | 0.164 | 0.217 | 0.227 | 0.207 | 0.205 | Positive Control | 0.0305 | 0.0515 | 0.0935 | 0.22012
[8 empty] | Test Device 1 | 0.021375 | 0.019625 | 0.02775 | 0.072625
0.091 | 0.094 | 0.088 | 0.092 | 0.091 | 0.1 | 0.098 | 0.096 | Test Device 2 | 0.03075 | 0.07175 | 0.1825 | 0.33487
[8 empty] | Test Device 3 | 0.0415 | 0.189 | 0.316 | 0.391
0.066 | 0.064 | 0.063 | 0.064 | 0.059 | 0.06 | 0.059 | 0.06 | Test Device 4 | 0.032 | 0.055875 | 0.07425 | 0.13437
[8 empty] | Test Device 5 | 0.038 | 0.14375 | 0.27275 | 0.34637
0.12 | 0.118 | 0.117 | 0.122 | 0.106 | 0.112 | 0.11 | 0.107 | Test Device 6 | 0.043625 | 0.2035 | 0.2935 | 0.36075
0.24 | 0.276 | 0.246 | 0.231 | 0.223 | 0.215 | 0.226 | 0.193
0.101 | 0.096 | 0.102 | 0.093 | 0.099 | 0.098 | 0.096 | 0.1
0.177 | 0.175 | 0.194 | 0.176 | 0.191 | 0.193 | 0.194 | 0.188
0.28 | 0.29 | 0.246 | 0.223 | 0.237 | 0.226 | 0.234 | 0.23
#DIV/0!
#DIV/0!
#DIV/0!
0.36 | 0.358 | 0.351 | 0.339 | 0.366 | 0.369 | 0.364 | 0.364
0.134 | 0.13 | 0.132 | 0.128 | 0.143 | 0.14 | 0.141 | 0.138
0.084 | 0.069 | 0.07 | 0.076 | 0.064 | 0.064 | 0.067 | 0.066
0.238 | 0.242 | 0.228 | 0.225 | 0.214 | 0.215 | 0.22 | 0.216
0.366 | 0.364 | 0.369 | 0.36 | 0.365 | 0.35 | 0.349 | 0.343
0.116 | 0.119 | 0.118 | 0.117 | 0.114 | 0.117 | 0.117 | 0.114
0.308 | 0.312 | 0.3 | 0.303 | 0.327 | 0.315 | 0.326 | 0.329
0.338 | 0.339 | 0.314 | 0.325 | 0.342 | 0.346 | 0.343 | 0.339
#DIV/0!
#DIV/0!
#DIV/0!
0.4 | 0.418 | 0.408 | 0.39 | 0.422 | 0.436 | 0.437 | 0.443
0.218 | 0.241 | 0.233 | 0.227 | 0.277 | 0.297 | 0.299 | 0.307
0.114 | 0.124 | 0.124 | 0.123 | 0.106 | 0.107 | 0.106 | 0.115
0.374 | 0.366 | 0.366 | 0.371 | 0.391 | 0.391 | 0.388 | 0.37
0.421 | 0.426 | 0.415 | 0.432 | 0.438 | 0.443 | 0.434 | 0.457
0.179 | 0.167 | 0.163 | 0.181 | 0.179 | 0.179 | 0.178 | 0.187
0.379 | 0.373 | 0.374 | 0.375 | 0.396 | 0.403 | 0.407 | 0.402
0.381 | 0.392 | 0.385 | 0.379 | 0.411 | 0.426 | 0.426 | 0.424

## Sheet2
Fluorescence - Background
Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | [5 empty] | 0 | 2 | 4 | 6 |  | 0 | 2 | 4 | 6
0 | 0 | 0 | 0 | 39625 | 39625 | 40625 | 38625 | Negative Control | 19812.5 | 1637.5 | 10537.5 | 11987.5 | Negative Control | 0.026375 | 0.15275 | 0.31662 | 0.377
37625 | 41625 | 36625 | 40625 | 0 | 0 | 0 | 0 | Positive Control | 19562.5 | 114750 | 169875 | 246500 | Positive Control | 0.0305 | 0.0515 | 0.0935 | 0.22012
80625 | 89625 | 83625 | 78625 | 84625 | 87625 | 88625 | 80625 | Test Device 1 | 84250 | 86125 | 101125 | 100125 | Test Device 1 | 0.021375 | 0.019625 | 0.02775 | 0.072625
71625 | 66625 | 66625 | 70625 | 69625 | 70625 | 67625 | 68625 | Test Device 2 | 69000 | 111625 | 202750 | 282000 | Test Device 2 | 0.03075 | 0.07175 | 0.1825 | 0.33487
0 | 0 | 0 | 0 | 0 | 0 | 0 | 2125 | Test Device 3 | 265.625 | 7334.375 | 16587.5 | 16275 | Test Device 3 | 0.0415 | 0.189 | 0.316 | 0.391
26425 | 28625 | 25025 | 21825 | 32125 | 33625 | 30825 | 32625 | Test Device 4 | 28887.5 | 135875 | 198375 | 234375 | Test Device 4 | 0.032 | 0.055875 | 0.07425 | 0.13437
1425 | 3525 | 0 | 12025 | 10125 | 11025 | 9125 | 7125 | Test Device 5 | 6796.875 | 62750 | 85250 | 87875 | Test Device 5 | 0.038 | 0.14375 | 0.27275 | 0.34637
0 | 0 | 0 | 0 | 0 | 525 | 0 | 0 | Test Device 6 | 65.625 | 1575 | 8209.375 | 10125 | Test Device 6 | 0.043625 | 0.2035 | 0.2935 | 0.36075
[8 empty] | 6.9048e-07 | 5.67
0 | 0 | 0 | 0 | 4625 | 3225 | 2625 | 2625 |  | 0 | 2 | 4 | 6
[8 empty] | Negative Control | 0.091478 | 0.0013055 | 0.0040529 | 0.0038722
113625 | 104625 | 103625 | 110625 | 127625 | 121625 | 121625 | 114625 | Positive Control | 0.078108 | 0.27134 | 0.22125 | 0.13637
[8 empty] | Test Device 1 | 0.47999 | 0.53443 | 0.44378 | 0.16789
93625 | 96625 | 93625 | 85625 | 81625 | 85625 | 78625 | 73625 | Test Device 2 | 0.27326 | 0.18946 | 0.13529 | 0.10255
[8 empty] | Test Device 3 | 0.00077945 | 0.0047258 | 0.0063924 | 0.0050689
127625 | 122625 | 122625 | 124625 | 97625 | 105625 | 102625 | 89625 | Test Device 4 | 0.10993 | 0.29614 | 0.32536 | 0.2124
[8 empty] | Test Device 5 | 0.021782 | 0.053159 | 0.038063 | 0.030895
5425 | 6225 | 5025 | 26825 | 6425 | 4325 | 4425 | 0 | Test Device 6 | 0.00018319 | 0.00094251 | 0.0034062 | 0.0034179
149625 | 135625 | 144625 | 104625 | 145625 | 141625 | 125625 | 139625
53625 | 56625 | 64625 | 56625 | 73625 | 65625 | 68625 | 62625
3125 | 1125 | 1725 | 25 | 2225 | 1925 | 525 | 1925
#DIV/0!
#DIV/0!
#DIV/0!
9025 | 7925 | 7925 | 7125 | 13825 | 13725 | 11525 | 13225
169625 | 163625 | 163625 | 157625 | 185625 | 178625 | 165625 | 174625
104625 | 105625 | 106625 | 103625 | 99625 | 100625 | 95625 | 92625
226625 | 221625 | 220625 | 213625 | 178625 | 188625 | 186625 | 185625
18125 | 16425 | 15925 | 14425 | 21325 | 17025 | 14925 | 14525
210625 | 211625 | 202625 | 202625 | 195625 | 195625 | 187625 | 180625
83625 | 83625 | 80625 | 79625 | 92625 | 84625 | 84625 | 92625
10325 | 9725 | 0 | 7525 | 10725 | 10425 | 8625 | 8325
#DIV/0!
#DIV/0!
#DIV/0!
10525 | 8025 | 8525 | 7325 | 12225 | 14825 | 16625 | 17825
229625 | 230625 | 235625 | 236625 | 254625 | 252625 | 271625 | 260625
105625 | 105625 | 107625 | 103625 | 88625 | 97625 | 95625 | 96625
305625 | 303625 | 304625 | 308625 | 253625 | 259625 | 265625 | 254625
15725 | 15325 | 7225 | 11925 | 18425 | 23425 | 16625 | 21525
241625 | 232625 | 222625 | 225625 | 234625 | 239625 | 238625 | 239625
83625 | 82625 | 83625 | 80625 | 91625 | 92625 | 94625 | 93625
5625 | 6725 | 6525 | 6425 | 12225 | 14825 | 14525 | 14125