## 13 min
Software Version | 2.07.17
Experiment File Path: | C:\Users\s134721\Desktop\14.40 28-07-2017 iGEM venom AMC-substrate (13 min) experiment 2.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2017-07-28
Time | 14:33
Reader Type: | Cytation5
Reader Serial Number: | 1505287
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Set Temperature | Setpoint 37°C, Gradient 0 °C
Preheat before moving to next step
Read | Fluorescence Endpoint
A1..B12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
D1..E12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
G1..H12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 37
Actual Temperature: | 37.1
Actual Temperature: | 37.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 79746 | 13353 | 28101 | 8929 | 28633 | 8655 | 3510 | 409502 | 5892 | 30933 | 8667 | 6651 | Read 1:366,460
Read 2:366,460
Read 3:366,460
| B | 49843 | 13379 | 49898 | 8964 | 33922 | 8600 | 3310 | 415779 | 5127 | 31305 | 7901 | 5257 | Read 1:366,460
Read 2:366,460
Read 3:366,460
| C | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
| D | [12 empty] | Read 1:366,460
|  | 43036 | 13571 | 36053 | 8783 | 35428 | 8894 | 4912 | 432661 | 5199 | 36652 | 8283 | 6308 | Read 2:366,460
Read 3:366,460
| E | [12 empty] | Read 1:366,460
|  | 43627 | 9449 | 35278 | 8622 | 35105 | 8326 | 3233 | 413227 | 5115 | 34877 | 8154 | 5459 | Read 2:366,460
Read 3:366,460
| F | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
| G | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 27197 | 8172 | 30196 | 8331 | 31858 | 8955 | 3684 | 408852 | 5231 | 32117 | 8622 | 5764 | Read 3:366,460
| H | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 32388 | 8694 | 52612 | 8541 | 33210 | 8813 | 3844 | 394985 | 5835 | 31896 | 8500 | 5746 | Read 3:366,460

## 23,5 min
Software Version | 2.07.17
Experiment File Path: | C:\Users\s134721\Desktop\14.51 28-07-2017 iGEM venom AMC-substrate (23,5 min) experiment 2.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2017-07-28
Time | 14:44
Reader Type: | Cytation5
Reader Serial Number: | 1505287
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Set Temperature | Setpoint 37°C, Gradient 0 °C
Preheat before moving to next step
Read | Fluorescence Endpoint
A1..B12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
D1..E12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
G1..H12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 37
Actual Temperature: | 37
Actual Temperature: | 37.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 167558 | 22265 | 35646 | 9664 | 28775 | 8648 | 3473 | 394693 | 5765 | 30150 | 8576 | 6597 | Read 1:366,460
Read 2:366,460
Read 3:366,460
| B | 126645 | 21647 | 58833 | 9961 | 34201 | 8513 | 3199 | 407383 | 5037 | 30691 | 7908 | 5129 | Read 1:366,460
Read 2:366,460
Read 3:366,460
| C | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
| D | [12 empty] | Read 1:366,460
|  | 59833 | 15056 | 37674 | 8779 | 35061 | 8554 | 4976 | 423369 | 4918 | 35713 | 7927 | 5514 | Read 2:366,460
Read 3:366,460
| E | [12 empty] | Read 1:366,460
|  | 66394 | 11650 | 37299 | 8568 | 34902 | 8049 | 3208 | 402022 | 4864 | 33833 | 7868 | 5272 | Read 2:366,460
Read 3:366,460
| F | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
| G | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 26706 | 7932 | 29628 | 8307 | 30610 | 8580 | 3495 | 400214 | 5167 | 31442 | 8459 | 5534 | Read 3:366,460
| H | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 31813 | 8182 | 30704 | 8165 | 32365 | 8640 | 3821 | 387404 | 5652 | 30848 | 8254 | 5593 | Read 3:366,460

## 60 + 120 min
Software Version | 2.07.17
Experiment File Path: | C:\Users\s134721\Desktop\16.30 28-07-2017 iGEM venom AMC-substrate (60 + 120 min) experiment 2.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2017-07-28
Time | 14:57
Reader Type: | Cytation5
Reader Serial Number: | 1505287
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Set Temperature | Setpoint 37°C, Gradient 0 °C
Preheat before moving to next step
Delay | 0:23:00 (HH:MM:SS)
Read | Fluorescence Endpoint
A1..B12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
D1..E12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
G1..H12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:54:00 (HH:MM:SS)
Read | Fluorescence Endpoint
A1..B12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
D1..E12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
G1..H12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 37.1
Actual Temperature: | 37
Actual Temperature: | 37
Actual Temperature: | 37.1
Actual Temperature: | 37.1
Actual Temperature: | 37.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 717598 | 73201 | 81266 | 15300 | 32872 | 8839 | 3355 | 372650 | 5375 | 28784 | 8122 | 6270 | Read 1:366,460
Read 2:366,460
Read 3:366,460
|  | 1523215 | 163011 | 175854 | 29386 | 41904 | 9748 | 3238 | 354526 | 5143 | 27235 | 7642 | 5863 | Read 4:366,460
Read 5:366,460
Read 6:366,460
| B | 527254 | 76640 | 114609 | 18119 | 39334 | 8694 | 3092 | 395070 | 4712 | 28998 | 7423 | 4790 | Read 1:366,460
Read 2:366,460
Read 3:366,460
|  | 1160419 | 171307 | 255098 | 30359 | 52553 | 9927 | 2958 | 372372 | 4467 | 27777 | 7217 | 4524 | Read 4:366,460
Read 5:366,460
Read 6:366,460
| C | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
Read 4:366,460
Read 5:366,460
Read 6:366,460
| D | [12 empty] | Read 1:366,460
|  | 179490 | 28496 | 52005 | 9824 | 35375 | 8312 | 4708 | 398675 | 4677 | 33771 | 7324 | 5268 | Read 2:366,460
Read 3:366,460
Read 4:366,460
|  | 448215 | 57402 | 84689 | 13388 | 36911 | 8260 | 4532 | 384874 | 4455 | 32252 | 7068 | 4861 | Read 5:366,460
Read 6:366,460
| E | [12 empty] | Read 1:366,460
|  | 207202 | 25961 | 50796 | 9946 | 34834 | 7753 | 3006 | 382807 | 4464 | 32202 | 7455 | 4966 | Read 2:366,460
Read 3:366,460
Read 4:366,460
|  | 516419 | 55898 | 80922 | 13032 | 37128 | 7708 | 3033 | 368893 | 4337 | 30733 | 6858 | 4641 | Read 5:366,460
Read 6:366,460
| F | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
Read 4:366,460
Read 5:366,460
Read 6:366,460
| G | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 26610 | 7532 | 29019 | 7907 | 29715 | 8043 | 3331 | 391237 | 4764 | 30577 | 7944 | 5249 | Read 3:366,460
Read 4:366,460
Read 5:366,460
|  | 25737 | 7282 | 28167 | 7463 | 28618 | 7673 | 3255 | 365854 | 4593 | 28686 | 7405 | 4956 | Read 6:366,460
| H | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 31661 | 8017 | 30891 | 7926 | 31315 | 8140 | 3607 | 375604 | 5276 | 29628 | 7782 | 5128 | Read 3:366,460
Read 4:366,460
Read 5:366,460
|  | 30894 | 7818 | 29750 | 7522 | 29759 | 7622 | 3546 | 355688 | 5009 | 27840 | 7270 | 4869 | Read 6:366,460

## 180 min
Software Version | 2.07.17
Experiment File Path: | C:\Users\s134721\Desktop\17.44 28-07-2017 iGEM venom AMC-substrate (180 min) experiment 2.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2017-07-28
Time | 16:32
Reader Type: | Cytation5
Reader Serial Number: | 1505287
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Set Temperature | Setpoint 37°C, Gradient 0 °C
Preheat before moving to next step
Delay | 0:48:00 (HH:MM:SS)
Read | Fluorescence Endpoint
A1..B12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
D1..E12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Delay | 0:03:00 (HH:MM:SS)
Read | Fluorescence Endpoint
G1..H12
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 37.1
Actual Temperature: | 37
Actual Temperature: | 37.1
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 2023657 | 225462 | 277909 | 41735 | 51068 | 10984 | 3204 | 342137 | 4960 | 26362 | 7395 | 5601 | Read 1:366,460
Read 2:366,460
Read 3:366,460
| B | 1590729 | 235477 | 383393 | 42766 | 64950 | 11195 | 2983 | 357134 | 4451 | 26752 | 6904 | 4309 | Read 1:366,460
Read 2:366,460
Read 3:366,460
| C | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
| D | [12 empty] | Read 1:366,460
|  | 673059 | 83053 | 117433 | 16684 | 39677 | 8441 | 4606 | 371680 | 4441 | 31522 | 6832 | 4741 | Read 2:366,460
Read 3:366,460
| E | [12 empty] | Read 1:366,460
|  | 764917 | 82337 | 114037 | 16431 | 39557 | 7815 | 2966 | 362998 | 4188 | 29954 | 6685 | 4417 | Read 2:366,460
Read 3:366,460
| F | [12 empty] | Read 1:366,460
Read 2:366,460
Read 3:366,460
| G | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 26267 | 7221 | 27889 | 7347 | 28139 | 7482 | 3220 | 358825 | 4335 | 27869 | 7307 | 4736 | Read 3:366,460
| H | [12 empty] | Read 1:366,460
Read 2:366,460
|  | 31217 | 7613 | 29746 | 7340 | 28697 | 7369 | 3431 | 346456 | 4826 | 26496 | 7062 | 4623 | Read 3:366,460