## Plate 1 - Sheet1 (1)
Software Version | 2.07.17
Experiment File Path: | C:\Users\s134721\Desktop\igem 24-07-2017.xpt
Protocol File Path:
Plate Number | Plate 1
Date | 2017-07-24
Time | 15:30
Reader Type: | Cytation5
Reader Serial Number: | 1505287
Reading Type | Reader
Procedure Details
Plate Type | 96 WELL PLATE
Eject plate on completion
Set Temperature | Setpoint 37°C, Gradient 0 °C
Preheat before moving to next step
Read | Fluorescence Endpoint
Full Plate
Filter Set 1
Excitation: 366/20, Emission: 460/20
Optics: Top, Gain: extended
Filter Set 2
Excitation: 366/20, Emission: 460/20
Optics: Bottom, Gain: extended
Light Source: Xenon Flash, Lamp Energy: High, Extended Dynamic Range
Read Speed: Normal, Delay: 100 msec, Measurements/Data Point: 10
Read Height: 7 mm
Results
Actual Temperature: | 37
Actual Temperature: | 37
|  | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
| A | 896601 | 885722 | 3834 | 3492 | 3960 | 3307 | 3212 | 3413 | 3565 | 3532 | 3509 | 4278 | 366.46
|  | 670939 | 604042 | 9738 | 8430 | 9643 | 8153 | 8287 | 8366 | 8986 | 8532 | 8582 | 10560 | 366,460[2]
| B | 190474 | 180524 | 3896 | 3136 | 3377 | 3519 | 3266 | 3411 | 3170 | 3351 | 3208 | 3406 | 366.46
|  | 147151 | 134770 | 9520 | 7815 | 8294 | 8652 | 8023 | 8480 | 8045 | 8464 | 8104 | 8485 | 366,460[2]
| C | 98310 | 96763 | 3412 | 3532 | 3720 | 3516 | 3483 | 3375 | 3403 | 3211 | 3618 | 3418 | 366.46
|  | 75744 | 69582 | 8418 | 8900 | 9169 | 8791 | 8539 | 8298 | 8491 | 8105 | 8843 | 8364 | 366,460[2]
| D | 16382 | 16299 | 3228 | 3374 | 3340 | 3596 | 3679 | 3346 | 3353 | 4090 | 3450 | 3423 | 366.46
|  | 16858 | 16024 | 8140 | 8536 | 8558 | 8949 | 9011 | 8311 | 8209 | 9889 | 8624 | 8537 | 366,460[2]
| E | 6978 | 7386 | 3470 | 3456 | 3640 | 3338 | 3274 | 3325 | 3349 | 3585 | 3541 | 3902 | 366.46
|  | 9080 | 9507 | 8442 | 8524 | 8982 | 8256 | 8184 | 8340 | 8458 | 8705 | 8809 | 10852 | 366,460[2]
| F | 6087 | 5981 | 3282 | 3289 | 3646 | 3503 | 3291 | 3246 | 3596 | 3673 | 4053 | 3731 | 366.46
|  | 9140 | 8378 | 8143 | 8080 | 9048 | 8611 | 8121 | 8054 | 9280 | 8769 | 9780 | 8929 | 366,460[2]
| G | 3319 | 3476 | 3524 | 3569 | 3369 | 3808 | 3613 | 3466 | 3425 | 3692 | 3803 | 3833 | 366.46
|  | 8340 | 8440 | 8444 | 8537 | 8374 | 9195 | 8928 | 8553 | 8404 | 9150 | 9071 | 9209 | 366,460[2]
| H | 3613 | 3530 | 3536 | 3641 | 3593 | 3779 | 3910 | 3830 | 3795 | 3575 | 3621 | 3771 | 366.46
|  | 8796 | 8803 | 8802 | 8957 | 8941 | 9130 | 9422 | 9102 | 9347 | 8798 | 8863 | 8959 | 366,460[2]