## OD600 reference point
| LUDOX-HS40 | H2O
Replicate 1 | 0.044 | 0.036 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.044 | 0.037 | Gold cells are calculated
Replicate 3 | 0.052 | 0.037
Replicate 4 | 0.045 | 0.038
Arith. Mean | 0.04625 | 0.037
Corrected Abs600 | 0.00925 |  | Corrected value is particle-only contribution
Reference OD600 | 0.0425 |  | Reference value is for 100uL of LUDOX-HS40 in a well of a standard 96-well flat-bottom plate
OD600/Abs600 | 4.5946 |  | Corrected value = scaling factor * measured value

## Fluorescein standard curve
uM Fluorescein | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828 | 0
Replicate 1 |  |  | 9709853 | 7853182 | 6699337 | 6107834 | 5883032 | 5663999 | 5647167 | 5717247 | 5654778 | 5746631 | Enter fluorescence measurements into blue cells
Replicate 2 |  |  | 9958723 | 7810390 | 6840514 | 6184744 | 5923821 | 5780194 | 5783140 | 5749825 | 5744299 | 5833042 | Gold cells are calculated
Replicate 3 |  |  | 9733840 | 7878004 | 6737440 | 6173006 | 5813010 | 5762949 | 5678924 | 5669634 | 5693738 | 5741435
Replicate 4 |  |  | 9952901 | 8086158 | 6887731 | 6259781 | 5987997 | 5774155 | 5859545 | 5665173 | 5990428 | 5816886 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | #DIV/0! | #DIV/0! | 9838829.25 | 7906933.5 | 6791255.5 | 6181341.25 | 5901965 | 5745324.25 | 5742194 | 5700469.75 | 5770810.75 | 5784498.5
Arith. Std.Dev. | #DIV/0! | #DIV/0! | 135455.3938 | 122703.1764 | 87709.8258 | 62282.0608 | 73372.6567 | 54685.5853 | 97435.5441 | 40472.7104 | 150928.6998 | 47236.4059
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
uM Fluorescein/a.u. | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828
Mean um Fluorescein/a.u. | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | ---
Mean of med-high levels: |  | #DIV/0!
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 5530067 | 4795847 | 5674363 | 5676504 | 5792817 | 5620734 | 5690364 | 5729193 | 5888187 | Colony 1, Replicate 1 | 0.088 | 0.091 | 0.064 | 0.084 | 0.081 | 0.074 | 0.091 | 0.077 | 0.042
Colony 1, Replicate 2 | 5530072 | 4795852 | 5674379 | 5676404 | 5792880 | 5621330 | 5690383 | 5729199 | 5888920 | Colony 1, Replicate 2 | 0.086 | 0.091 | 0.064 | 0.085 | 0.083 | 0.075 | 0.091 | 0.078 | 0.043
Colony 1, Replicate 3 | 5530110 | 4795831 | 5674380 | 5677890 | 5792132 | 5620770 | 5690250 | 5729223 | 5888393 | Colony 1, Replicate 3 | 0.085 | 0.09 | 0.065 | 0.085 | 0.083 | 0.075 | 0.093 | 0.08 | 0.043
Colony 1, Replicate 4 | 5529913 | 4785523 | 5675221 | 5677331 | 5792350 | 5620793 | 5690282 | 5722830 | 5889527 | Colony 1, Replicate 4 | 0.083 | 0.09 | 0.064 | 0.086 | 0.081 | 0.073 | 0.09 | 0.078 | 0.043
Colony 2, Replicate 1 | 5285552 | 5355729 | 5319068 | 5458683 | 5622860 | 5091016 | 4908889 | 5233010 | 5751617 | Colony 2, Replicate 1 | 0.077 | 0.077 | 0.065 | 0.073 | 0.068 | 0.065 | 0.065 | 0.068 | 0.044
Colony 2, Replicate 2 | 5285577 | 5355744 | 5314520 | 5458677 | 5627390 | 5090155 | 4907935 | 5233186 | 5751820 | Colony 2, Replicate 2 | 0.077 | 0.078 | 0.065 | 0.075 | 0.07 | 0.066 | 0.068 | 0.069 | 0.043
Colony 2, Replicate 3 | 5285479 | 5355789 | 5317262 | 5458795 | 5622348 | 5091047 | 4913207 | 5235749 | 5758894 | Colony 2, Replicate 3 | 0.077 | 0.08 | 0.065 | 0.074 | 0.07 | 0.065 | 0.069 | 0.07 | 0.043
Colony 2, Replicate 4 | 5285513 | 5351920 | 5319007 | 5457740 | 5622553 | 5091185 | 4891679 | 5233017 | 5723980 | Colony 2, Replicate 4 | 0.077 | 0.077 | 0.058 | 0.073 | 0.069 | 0.064 | 0.067 | 0.068 | 0.043
Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 3877916 | 3917900 | 4885478 | 3931914 | 3967637 | 4074282 | 2899378 | 3821103 | 5855505 | Colony 1, Replicate 1 | 0.369 | 0.362 | 0.138 | 0.355 | 0.329 | 0.289 | 0.371 | 0.342 | 0.041
Colony 1, Replicate 2 | 3821402 | 3873732 | 4899172 | 3588233 | 3691972 | 3913251 | 3308628 | 3448512 | 5801163 | Colony 1, Replicate 2 | 0.355 | 0.375 | 0.139 | 0.352 | 0.341 | 0.3 | 0.381 | 0.346 | 0.043
Colony 1, Replicate 3 | 3692575 | 3904961 | 4782536 | 3730252 | 3544259 | 3930799 | 3240719 | 3037757 | 5592861 | Colony 1, Replicate 3 | 0.364 | 0.37 | 0.139 | 0.354 | 0.329 | 0.303 | 0.378 | 0.336 | 0.043
Colony 1, Replicate 4 | 3631612 | 3862556 | 4675415 | 3752080 | 3387174 | 3900094 | 3375815 | 3730987 | 5458709 | Colony 1, Replicate 4 | 0.361 | 0.367 | 0.136 | 0.351 | 0.349 | 0.297 | 0.371 | 0.34 | 0.043
Colony 2, Replicate 1 | 3290644 | 3903311 | 4730289 | 3625893 | 3622441 | 4021835 | 3883496 | 3572481 | 5527253 | Colony 2, Replicate 1 | 0.326 | 0.326 | 0.124 | 0.323 | 0.334 | 0.171 | 0.33 | 0.329 | 0.044
Colony 2, Replicate 2 | 3429401 | 3883133 | 4553845 | 3868738 | 3362458 | 3970892 | 3402214 | 3144913 | 5602039 | Colony 2, Replicate 2 | 0.34 | 0.337 | 0.127 | 0.326 | 0.306 | 0.172 | 0.324 | 0.333 | 0.044
Colony 2, Replicate 3 | 3589271 | 3958552 | 4598858 | 3871006 | 3489494 | 3457609 | 3359740 | 3864294 | 5501051 | Colony 2, Replicate 3 | 0.347 | 0.331 | 0.128 | 0.321 | 0.339 | 0.167 | 0.316 | 0.339 | 0.043
Colony 2, Replicate 4 | 3639812 | 3943216 | 5041522 | 3916160 | 3452360 | 4076874 | 2799717 | 3497883 | 5790334 | Colony 2, Replicate 4 | 0.344 | 0.333 | 0.127 | 0.315 | 0.339 | 0.174 | 0.304 | 0.323 | 0.043
Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 3407374 | 3465611 | 4411333 | 3702485 | 3513423 | 3573162 | 3277186 | 3169386 | 5677605 | Colony 1, Replicate 1 | 0.493 | 0.476 | 0.305 | 0.461 | 0.457 | 0.425 | 0.508 | 0.471 | 0.042
Colony 1, Replicate 2 | 3283774 | 3367245 | 3987514 | 3604813 | 3396070 | 3434845 | 3301237 | 3152790 | 5703673 | Colony 1, Replicate 2 | 0.482 | 0.474 | 0.315 | 0.469 | 0.477 | 0.427 | 0.493 | 0.477 | 0.043
Colony 1, Replicate 3 | 3498501 | 3431936 | 3980176 | 3649666 | 3244375 | 3294728 | 3362553 | 2699892 | 5564069 | Colony 1, Replicate 3 | 0.476 | 0.471 | 0.321 | 0.47 | 0.476 | 0.432 | 0.497 | 0.483 | 0.043
Colony 1, Replicate 4 | 3387196 | 3499276 | 4090568 | 3653192 | 3495279 | 3464514 | 2601976 | 2743939 | 5545286 | Colony 1, Replicate 4 | 0.474 | 0.461 | 0.314 | 0.467 | 0.472 | 0.429 | 0.482 | 0.458 | 0.043
Colony 2, Replicate 1 | 3507905 | 3337964 | 4213286 | 3739266 | 3320134 | 3316578 | 3069637 | 3238661 | 5477265 | Colony 2, Replicate 1 | 0.436 | 0.441 | 0.278 | 0.435 | 0.45 | 0.437 | 0.474 | 0.473 | 0.044
Colony 2, Replicate 2 | 3317461 | 3492788 | 3837806 | 3910634 | 3499075 | 3562487 | 2645931 | 2963698 | 5474969 | Colony 2, Replicate 2 | 0.46 | 0.448 | 0.281 | 0.457 | 0.45 | 0.435 | 0.454 | 0.475 | 0.044
Colony 2, Replicate 3 | 3420299 | 3357409 | 3950370 | 3648258 | 3231565 | 3490438 | 3110077 | 3142108 | 5560161 | Colony 2, Replicate 3 | 0.455 | 0.452 | 0.282 | 0.455 | 0.453 | 0.436 | 0.485 | 0.476 | 0.043
Colony 2, Replicate 4 | 3323026 | 3314152 | 3855045 | 3406580 | 3354757 | 3462634 | 3016381 | 2621698 | 5647343 | Colony 2, Replicate 4 | 0.461 | 0.426 | 0.279 | 0.455 | 0.542 | 0.432 | 0.466 | 0.453 | 0.043
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 3163564 | 3300967 | 2951204 | 2733750 | 3044861 | 2414898 | 2924422 | 3122680 | 4590562 | Colony 1, Replicate 1 | 0.593 | 0.59 | 0.52 | 0.553 | 0.572 | 0.522 | 0.588 | 0.577 | 0.042
Colony 1, Replicate 2 | 3217765 | 2997344 | 3293463 | 3368136 | 2699275 | 2350628 | 2407895 | 2974347 | 5526987 | Colony 1, Replicate 2 | 0.598 | 0.587 | 0.525 | 0.566 | 0.588 | 0.528 | 0.604 | 0.586 | 0.043
Colony 1, Replicate 3 | 3211713 | 3259593 | 3239777 | 3196291 | 2597418 | 3287791 | 2772324 | 3120903 | 5552340 | Colony 1, Replicate 3 | 0.597 | 0.593 | 0.522 | 0.58 | 0.585 | 0.551 | 0.6 | 0.587 | 0.043
Colony 1, Replicate 4 | 2536248 | 3236418 | 3535615 | 3272400 | 2910756 | 3296033 | 3192912 | 2896440 | 5581006 | Colony 1, Replicate 4 | 0.584 | 0.588 | 0.528 | 0.569 | 0.581 | 0.537 | 0.592 | 0.576 | 0.042
Colony 2, Replicate 1 | 2445760 | 2448139 | 2743336 | 3427821 | 3327741 | 3058619 | 2634367 | 3178630 | 5299596 | Colony 2, Replicate 1 | 0.55 | 0.548 | 0.509 | 0.582 | 0.539 | 0.552 | 0.47 | 0.578 | 0.044
Colony 2, Replicate 2 | 3146001 | 3197943 | 3429937 | 3370134 | 3095883 | 3205856 | 2424664 | 3083746 | 5581659 | Colony 2, Replicate 2 | 0.577 | 0.576 | 0.535 | 0.59 | 0.546 | 0.544 | 0.519 | 0.594 | 0.043
Colony 2, Replicate 3 | 2729102 | 3003814 | 3436319 | 3156877 | 3131326 | 3252720 | 2508784 | 2708730 | 5513621 | Colony 2, Replicate 3 | 0.564 | 0.567 | 0.516 | 0.598 | 0.551 | 0.551 | 0.47 | 0.589 | 0.043
Colony 2, Replicate 4 | 3156325 | 3332411 | 3515178 | 3242500 | 3289134 | 2390958 | 2350592 | 3160591 | 5705370 | Colony 2, Replicate 4 | 0.566 | 0.548 | 0.498 | 0.586 | 0.524 | 0.541 | 0.403 | 0.587 | 0.042
Plate pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence Measurement
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 4.5946 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | #DIV/0! | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.042 | 0.043 | 0.043 | 0.043 |  |  | 5888187 | 5888920 | 5888393 | 5889527
Blank mean: | 0.04275 | [5 empty] | 5888756.75 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0.088 | 0.086 | 0.085 | 0.083 |  |  | 5530067 | 5530072 | 5530110 | 5529913 |  |  | 0.04525 | 0.04325 | 0.04225 | 0.04025 | --- | --- | -358689.75 | -358684.75 | -358646.75 | -358843.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Negative Control (Colony 2) | 0.077 | 0.077 | 0.077 | 0.077 |  |  | 5285552 | 5285577 | 5285479 | 5285513 |  |  | 0.03425 | 0.03425 | 0.03425 | 0.03425 | --- | --- | -603204.75 | -603179.75 | -603277.75 | -603243.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 1) | 0.091 | 0.091 | 0.09 | 0.09 |  |  | 4795847 | 4795852 | 4795831 | 4785523 |  |  | 0.04825 | 0.04825 | 0.04725 | 0.04725 | --- | --- | -1092909.75 | -1092904.75 | -1092925.75 | -1103233.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 2) | 0.077 | 0.078 | 0.08 | 0.077 |  |  | 5355729 | 5355744 | 5355789 | 5351920 |  |  | 0.03425 | 0.03525 | 0.03725 | 0.03425 | --- | --- | -533027.75 | -533012.75 | -532967.75 | -536836.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.064 | 0.064 | 0.065 | 0.064 |  |  | 5674363 | 5674379 | 5674380 | 5675221 |  |  | 0.02125 | 0.02125 | 0.02225 | 0.02125 | --- | --- | -214393.75 | -214377.75 | -214376.75 | -213535.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.065 | 0.065 | 0.065 | 0.058 |  |  | 5319068 | 5314520 | 5317262 | 5319007 |  |  | 0.02225 | 0.02225 | 0.02225 | 0.01525 | --- | --- | -569688.75 | -574236.75 | -571494.75 | -569749.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.084 | 0.085 | 0.085 | 0.086 |  |  | 5676504 | 5676404 | 5677890 | 5677331 |  |  | 0.04125 | 0.04225 | 0.04225 | 0.04325 | --- | --- | -212252.75 | -212352.75 | -210866.75 | -211425.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.073 | 0.075 | 0.074 | 0.073 |  |  | 5458683 | 5458677 | 5458795 | 5457740 |  |  | 0.03025 | 0.03225 | 0.03125 | 0.03025 | --- | --- | -430073.75 | -430079.75 | -429961.75 | -431016.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.081 | 0.083 | 0.083 | 0.081 |  |  | 5792817 | 5792880 | 5792132 | 5792350 |  |  | 0.03825 | 0.04025 | 0.04025 | 0.03825 | --- | --- | -95939.75 | -95876.75 | -96624.75 | -96406.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.068 | 0.07 | 0.07 | 0.069 |  |  | 5622860 | 5627390 | 5622348 | 5622553 |  |  | 0.02525 | 0.02725 | 0.02725 | 0.02625 | --- | --- | -265896.75 | -261366.75 | -266408.75 | -266203.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.074 | 0.075 | 0.075 | 0.073 |  |  | 5620734 | 5621330 | 5620770 | 5620793 |  |  | 0.03125 | 0.03225 | 0.03225 | 0.03025 | --- | --- | -268022.75 | -267426.75 | -267986.75 | -267963.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.065 | 0.066 | 0.065 | 0.064 |  |  | 5091016 | 5090155 | 5091047 | 5091185 |  |  | 0.02225 | 0.02325 | 0.02225 | 0.02125 | --- | --- | -797740.75 | -798601.75 | -797709.75 | -797571.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.091 | 0.091 | 0.093 | 0.09 |  |  | 5690364 | 5690383 | 5690250 | 5690282 |  |  | 0.04825 | 0.04825 | 0.05025 | 0.04725 | --- | --- | -198392.75 | -198373.75 | -198506.75 | -198474.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.065 | 0.068 | 0.069 | 0.067 |  |  | 4908889 | 4907935 | 4913207 | 4891679 |  |  | 0.02225 | 0.02525 | 0.02625 | 0.02425 | --- | --- | -979867.75 | -980821.75 | -975549.75 | -997077.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.077 | 0.078 | 0.08 | 0.078 |  |  | 5729193 | 5729199 | 5729223 | 5722830 |  |  | 0.03425 | 0.03525 | 0.03725 | 0.03525 | --- | --- | -159563.75 | -159557.75 | -159533.75 | -165926.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.068 | 0.069 | 0.07 | 0.068 |  |  | 5233010 | 5233186 | 5235749 | 5233017 |  |  | 0.02525 | 0.02625 | 0.02725 | 0.02525 | --- | --- | -655746.75 | -655570.75 | -653007.75 | -655739.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.369 | 0.355 | 0.364 | 0.361 |  |  | 3877916 | 3821402 | 3692575 | 3631612 |  |  | 0.32625 | 0.31225 | 0.32125 | 0.31825 | --- | --- | -2010840.75 | -2067354.75 | -2196181.75 | -2257144.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Negative Control (Colony 2) | 0.326 | 0.34 | 0.347 | 0.344 |  |  | 3290644 | 3429401 | 3589271 | 3639812 |  |  | 0.28325 | 0.29725 | 0.30425 | 0.30125 | --- | --- | -2598112.75 | -2459355.75 | -2299485.75 | -2248944.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 1) | 0.362 | 0.375 | 0.37 | 0.367 |  |  | 3917900 | 3873732 | 3904961 | 3862556 |  |  | 0.31925 | 0.33225 | 0.32725 | 0.32425 | --- | --- | -1970856.75 | -2015024.75 | -1983795.75 | -2026200.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 2) | 0.326 | 0.337 | 0.331 | 0.333 |  |  | 3903311 | 3883133 | 3958552 | 3943216 |  |  | 0.28325 | 0.29425 | 0.28825 | 0.29025 | --- | --- | -1985445.75 | -2005623.75 | -1930204.75 | -1945540.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.138 | 0.139 | 0.139 | 0.136 |  |  | 4885478 | 4899172 | 4782536 | 4675415 |  |  | 0.09525 | 0.09625 | 0.09625 | 0.09325 | --- | --- | -1003278.75 | -989584.75 | -1106220.75 | -1213341.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.124 | 0.127 | 0.128 | 0.127 |  |  | 4730289 | 4553845 | 4598858 | 5041522 |  |  | 0.08125 | 0.08425 | 0.08525 | 0.08425 | --- | --- | -1158467.75 | -1334911.75 | -1289898.75 | -847234.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.355 | 0.352 | 0.354 | 0.351 |  |  | 3931914 | 3588233 | 3730252 | 3752080 |  |  | 0.31225 | 0.30925 | 0.31125 | 0.30825 | --- | --- | -1956842.75 | -2300523.75 | -2158504.75 | -2136676.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.323 | 0.326 | 0.321 | 0.315 |  |  | 3625893 | 3868738 | 3871006 | 3916160 |  |  | 0.28025 | 0.28325 | 0.27825 | 0.27225 | --- | --- | -2262863.75 | -2020018.75 | -2017750.75 | -1972596.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.329 | 0.341 | 0.329 | 0.349 |  |  | 3967637 | 3691972 | 3544259 | 3387174 |  |  | 0.28625 | 0.29825 | 0.28625 | 0.30625 | --- | --- | -1921119.75 | -2196784.75 | -2344497.75 | -2501582.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.334 | 0.306 | 0.339 | 0.339 |  |  | 3622441 | 3362458 | 3489494 | 3452360 |  |  | 0.29125 | 0.26325 | 0.29625 | 0.29625 | --- | --- | -2266315.75 | -2526298.75 | -2399262.75 | -2436396.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.289 | 0.3 | 0.303 | 0.297 |  |  | 4074282 | 3913251 | 3930799 | 3900094 |  |  | 0.24625 | 0.25725 | 0.26025 | 0.25425 | --- | --- | -1814474.75 | -1975505.75 | -1957957.75 | -1988662.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.171 | 0.172 | 0.167 | 0.174 |  |  | 4021835 | 3970892 | 3457609 | 4076874 |  |  | 0.12825 | 0.12925 | 0.12425 | 0.13125 | --- | --- | -1866921.75 | -1917864.75 | -2431147.75 | -1811882.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.371 | 0.381 | 0.378 | 0.371 |  |  | 2899378 | 3308628 | 3240719 | 3375815 |  |  | 0.32825 | 0.33825 | 0.33525 | 0.32825 | --- | --- | -2989378.75 | -2580128.75 | -2648037.75 | -2512941.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.33 | 0.324 | 0.316 | 0.304 |  |  | 3883496 | 3402214 | 3359740 | 2799717 |  |  | 0.28725 | 0.28125 | 0.27325 | 0.26125 | --- | --- | -2005260.75 | -2486542.75 | -2529016.75 | -3089039.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.342 | 0.346 | 0.336 | 0.34 |  |  | 3821103 | 3448512 | 3037757 | 3730987 |  |  | 0.29925 | 0.30325 | 0.29325 | 0.29725 | --- | --- | -2067653.75 | -2440244.75 | -2850999.75 | -2157769.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.329 | 0.333 | 0.339 | 0.323 |  |  | 3572481 | 3144913 | 3864294 | 3497883 |  |  | 0.28625 | 0.29025 | 0.29625 | 0.28025 | --- | --- | -2316275.75 | -2743843.75 | -2024462.75 | -2390873.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.493 | 0.482 | 0.476 | 0.474 |  |  | 3407374 | 3283774 | 3498501 | 3387196 |  |  | 0.45025 | 0.43925 | 0.43325 | 0.43125 | --- | --- | -2481382.75 | -2604982.75 | -2390255.75 | -2501560.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Negative Control (Colony 2) | 0.436 | 0.46 | 0.455 | 0.461 |  |  | 3507905 | 3317461 | 3420299 | 3323026 |  |  | 0.39325 | 0.41725 | 0.41225 | 0.41825 | --- | --- | -2380851.75 | -2571295.75 | -2468457.75 | -2565730.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 1) | 0.476 | 0.474 | 0.471 | 0.461 |  |  | 3465611 | 3367245 | 3431936 | 3499276 |  |  | 0.43325 | 0.43125 | 0.42825 | 0.41825 | --- | --- | -2423145.75 | -2521511.75 | -2456820.75 | -2389480.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 2) | 0.441 | 0.448 | 0.452 | 0.426 |  |  | 3337964 | 3492788 | 3357409 | 3314152 |  |  | 0.39825 | 0.40525 | 0.40925 | 0.38325 | --- | --- | -2550792.75 | -2395968.75 | -2531347.75 | -2574604.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.305 | 0.315 | 0.321 | 0.314 |  |  | 4411333 | 3987514 | 3980176 | 4090568 |  |  | 0.26225 | 0.27225 | 0.27825 | 0.27125 | --- | --- | -1477423.75 | -1901242.75 | -1908580.75 | -1798188.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.278 | 0.281 | 0.282 | 0.279 |  |  | 4213286 | 3837806 | 3950370 | 3855045 |  |  | 0.23525 | 0.23825 | 0.23925 | 0.23625 | --- | --- | -1675470.75 | -2050950.75 | -1938386.75 | -2033711.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.461 | 0.469 | 0.47 | 0.467 |  |  | 3702485 | 3604813 | 3649666 | 3653192 |  |  | 0.41825 | 0.42625 | 0.42725 | 0.42425 | --- | --- | -2186271.75 | -2283943.75 | -2239090.75 | -2235564.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.435 | 0.457 | 0.455 | 0.455 |  |  | 3739266 | 3910634 | 3648258 | 3406580 |  |  | 0.39225 | 0.41425 | 0.41225 | 0.41225 | --- | --- | -2149490.75 | -1978122.75 | -2240498.75 | -2482176.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.457 | 0.477 | 0.476 | 0.472 |  |  | 3513423 | 3396070 | 3244375 | 3495279 |  |  | 0.41425 | 0.43425 | 0.43325 | 0.42925 | --- | --- | -2375333.75 | -2492686.75 | -2644381.75 | -2393477.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.45 | 0.45 | 0.453 | 0.542 |  |  | 3320134 | 3499075 | 3231565 | 3354757 |  |  | 0.40725 | 0.40725 | 0.41025 | 0.49925 | --- | --- | -2568622.75 | -2389681.75 | -2657191.75 | -2533999.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.425 | 0.427 | 0.432 | 0.429 |  |  | 3573162 | 3434845 | 3294728 | 3464514 |  |  | 0.38225 | 0.38425 | 0.38925 | 0.38625 | --- | --- | -2315594.75 | -2453911.75 | -2594028.75 | -2424242.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.437 | 0.435 | 0.436 | 0.432 |  |  | 3316578 | 3562487 | 3490438 | 3462634 |  |  | 0.39425 | 0.39225 | 0.39325 | 0.38925 | --- | --- | -2572178.75 | -2326269.75 | -2398318.75 | -2426122.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.508 | 0.493 | 0.497 | 0.482 |  |  | 3277186 | 3301237 | 3362553 | 2601976 |  |  | 0.46525 | 0.45025 | 0.45425 | 0.43925 | --- | --- | -2611570.75 | -2587519.75 | -2526203.75 | -3286780.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.474 | 0.454 | 0.485 | 0.466 |  |  | 3069637 | 2645931 | 3110077 | 3016381 |  |  | 0.43125 | 0.41125 | 0.44225 | 0.42325 | --- | --- | -2819119.75 | -3242825.75 | -2778679.75 | -2872375.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.471 | 0.477 | 0.483 | 0.458 |  |  | 3169386 | 3152790 | 2699892 | 2743939 |  |  | 0.42825 | 0.43425 | 0.44025 | 0.41525 | --- | --- | -2719370.75 | -2735966.75 | -3188864.75 | -3144817.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.473 | 0.475 | 0.476 | 0.453 |  |  | 3238661 | 2963698 | 3142108 | 2621698 |  |  | 0.43025 | 0.43225 | 0.43325 | 0.41025 | --- | --- | -2650095.75 | -2925058.75 | -2746648.75 | -3267058.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.593 | 0.598 | 0.597 | 0.584 |  |  | 3163564 | 3217765 | 3211713 | 2536248 |  |  | 0.55025 | 0.55525 | 0.55425 | 0.54125 | --- | --- | -2725192.75 | -2670991.75 | -2677043.75 | -3352508.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Negative Control (Colony 2) | 0.55 | 0.577 | 0.564 | 0.566 |  |  | 2445760 | 3146001 | 2729102 | 3156325 |  |  | 0.50725 | 0.53425 | 0.52125 | 0.52325 | --- | --- | -3442996.75 | -2742755.75 | -3159654.75 | -2732431.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 1) | 0.59 | 0.587 | 0.593 | 0.588 |  |  | 3300967 | 2997344 | 3259593 | 3236418 |  |  | 0.54725 | 0.54425 | 0.55025 | 0.54525 | --- | --- | -2587789.75 | -2891412.75 | -2629163.75 | -2652338.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Positive Control (Colony 2) | 0.548 | 0.576 | 0.567 | 0.548 |  |  | 2448139 | 3197943 | 3003814 | 3332411 |  |  | 0.50525 | 0.53325 | 0.52425 | 0.50525 | --- | --- | -3440617.75 | -2690813.75 | -2884942.75 | -2556345.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.52 | 0.525 | 0.522 | 0.528 |  |  | 2951204 | 3293463 | 3239777 | 3535615 |  |  | 0.47725 | 0.48225 | 0.47925 | 0.48525 | --- | --- | -2937552.75 | -2595293.75 | -2648979.75 | -2353141.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.509 | 0.535 | 0.516 | 0.498 |  |  | 2743336 | 3429937 | 3436319 | 3515178 |  |  | 0.46625 | 0.49225 | 0.47325 | 0.45525 | --- | --- | -3145420.75 | -2458819.75 | -2452437.75 | -2373578.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.553 | 0.566 | 0.58 | 0.569 |  |  | 2733750 | 3368136 | 3196291 | 3272400 |  |  | 0.51025 | 0.52325 | 0.53725 | 0.52625 | --- | --- | -3155006.75 | -2520620.75 | -2692465.75 | -2616356.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.582 | 0.59 | 0.598 | 0.586 |  |  | 3427821 | 3370134 | 3156877 | 3242500 |  |  | 0.53925 | 0.54725 | 0.55525 | 0.54325 | --- | --- | -2460935.75 | -2518622.75 | -2731879.75 | -2646256.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.572 | 0.588 | 0.585 | 0.581 |  |  | 3044861 | 2699275 | 2597418 | 2910756 |  |  | 0.52925 | 0.54525 | 0.54225 | 0.53825 | --- | --- | -2843895.75 | -3189481.75 | -3291338.75 | -2978000.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.539 | 0.546 | 0.551 | 0.524 |  |  | 3327741 | 3095883 | 3131326 | 3289134 |  |  | 0.49625 | 0.50325 | 0.50825 | 0.48125 | --- | --- | -2561015.75 | -2792873.75 | -2757430.75 | -2599622.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.522 | 0.528 | 0.551 | 0.537 |  |  | 2414898 | 2350628 | 3287791 | 3296033 |  |  | 0.47925 | 0.48525 | 0.50825 | 0.49425 | --- | --- | -3473858.75 | -3538128.75 | -2600965.75 | -2592723.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.552 | 0.544 | 0.551 | 0.541 |  |  | 3058619 | 3205856 | 3252720 | 2390958 |  |  | 0.50925 | 0.50125 | 0.50825 | 0.49825 | --- | --- | -2830137.75 | -2682900.75 | -2636036.75 | -3497798.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.588 | 0.604 | 0.6 | 0.592 |  |  | 2924422 | 2407895 | 2772324 | 3192912 |  |  | 0.54525 | 0.56125 | 0.55725 | 0.54925 | --- | --- | -2964334.75 | -3480861.75 | -3116432.75 | -2695844.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.47 | 0.519 | 0.47 | 0.403 |  |  | 2634367 | 2424664 | 2508784 | 2350592 |  |  | 0.42725 | 0.47625 | 0.42725 | 0.36025 | --- | --- | -3254389.75 | -3464092.75 | -3379972.75 | -3538164.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.577 | 0.586 | 0.587 | 0.576 |  |  | 3122680 | 2974347 | 3120903 | 2896440 |  |  | 0.53425 | 0.54325 | 0.54425 | 0.53325 | --- | --- | -2766076.75 | -2914409.75 | -2767853.75 | -2992316.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.578 | 0.594 | 0.589 | 0.587 |  |  | 3178630 | 3083746 | 2708730 | 3160591 |  |  | 0.53525 | 0.55125 | 0.54625 | 0.54425 | --- | --- | -2710126.75 | -2805010.75 | -3180026.75 | -2728165.75 | --- | --- |  |  |  |  | --- | --- | #DIV/0! | #DIV/0! | #NUM! | #DIV/0! | --- | --- | --- | --- | --- | ---