## OD600 reference point
| LUDOX-HS40 | H2O
Replicate 1 | 0.047 | 0.04 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.055 | 0.039 | Gold cells are calculated
Replicate 3 | 0.05 | 0.041
Replicate 4 | 0.045 | 0.042
Arith. Mean | 0.04925 | 0.0405
Corrected Abs600 | 0.00875 |  | Corrected value is particle-only contribution
Reference OD600 | 0.0425 |  | Reference value is for 100uL of LUDOX-HS40 in a well of a standard 96-well flat-bottom plate
OD600/Abs600 | 4.8571 |  | Corrected value = scaling factor * measured value

## Fluorescein standard curve
uM Fluorescein | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828 | 0
Replicate 1 | 46900000 | 28300000 | 16100000 | 8690000 | 4900000 | 2430000 | 1220000 | 683000 | 332000 | 115000 | 107000 | 1665 | Enter fluorescence measurements into blue cells
Replicate 2 | 47100000 | 26400000 | 16100000 | 9970000 | 6370000 | 369000 | 838000 | 516000 | 383000 | 139000 | 79000 | 1669 | Gold cells are calculated
Replicate 3 | 46800000 | 26200000 | 16100000 | 8800000 | 3010000 | 3040000 | 1510000 | 789000 | 368000 | 181000 | 103000 | 1631
Replicate 4 | 46700000 | 28100000 | 16600000 | 8220000 | 3930000 | 2520000 | 1510000 | 678000 | 368000 | 164000 | 98300 | 1721 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | 46875000 | 27250000 | 16225000 | 8920000 | 4552500 | 2089750 | 1269500 | 666500 | 362750 | 149750 | 96825 | 1671.5
Arith. Std.Dev. | 170782.5128 | 1103026.1405 | 250000 | 743818.9744 | 1436532.283 | 1178253.0501 | 318498.0377 | 112636.5838 | 21685.2484 | 28883.3862 | 12403.8636 | 37.1439
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
uM Fluorescein/a.u. | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828
Mean um Fluorescein/a.u. | 1.0667e-06 | 9.1743e-07 | 7.7042e-07 | 7.0067e-07 | 6.8644e-07 | 7.477e-07 | 6.154e-07 | 5.8608e-07 | 5.3842e-07 | 6.5213e-07 | 5.0429e-07
Mean of med-high levels: |  | 7.6453e-07
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 41500 | 44700 | 60100 | 45800 | 50200 | 49900 | 49700 | 47700 | 43700 | Colony 1, Replicate 1 | 0.052 | 0.04 | 0.044 | 0.044 | 0.045 | 0.045 | 0.046 | 0.048 | 0.043
Colony 1, Replicate 2 | 34100 | 42000 | 56800 | 44700 | 45900 | 52700 | 51100 | 49000 | 51000 | Colony 1, Replicate 2 | 0.045 | 0.056 | 0.057 | 0.049 | 0.045 | 0.049 | 0.054 | 0.049 | 0.043
Colony 1, Replicate 3 | 27500 | 45900 | 57000 | 51700 | 49600 | 51700 | 51800 | 48000 | 48700 | Colony 1, Replicate 3 | 0.044 | 0.047 | 0.049 | 0.049 | 0.048 | 0.047 | 0.045 | 0.044 | 0.042
Colony 1, Replicate 4 | 38200 | 48200 | 63400 | 53200 | 49800 | 50100 | 49400 | 49000 | 49000 | Colony 1, Replicate 4 | 0.05 | 0.053 | 0.039 | 0.047 | 0.046 | 0.047 | 0.046 | 0.045 | 0.048
Colony 2, Replicate 1 | 27300 | 49500 | 39400 | 55000 | 45400 | 50500 | 49700 | 38500 | 48200 | Colony 2, Replicate 1 | 0.044 | 0.047 | 0.043 | 0.051 | 0.046 | 0.045 | 0.047 | 0.045 | 0.044
Colony 2, Replicate 2 | 13600 | 57400 | 49000 | 53800 | 47400 | 51300 | 52100 | 34800 | 48400 | Colony 2, Replicate 2 | 0.04 | 0.048 | 0.044 | 0.048 | 0.044 | 0.043 | 0.049 | 0.044 | 0.043
Colony 2, Replicate 3 | 14000 | 56400 | 48600 | 56000 | 49800 | 50800 | 51200 | 46900 | 48100 | Colony 2, Replicate 3 | 0.045 | 0.049 | 0.044 | 0.048 | 0.049 | 0.045 | 0.051 | 0.046 | 0.043
Colony 2, Replicate 4 | 12900 | 55100 | 57600 | 54400 | 45000 | 51000 | 48200 | 45000 | 50000 | Colony 2, Replicate 4 | 0.044 | 0.046 | 0.046 | 0.049 | 0.062 | 0.048 | 0.054 | 0.049 | 0.045
Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 22500 | 92000 | 82800 | 74900 | 51600 | 73500 | 57600 | 49200 | 48800 | Colony 1, Replicate 1 | 0.041 | 0.062 | 0.047 | 0.073 | 0.053 | 0.051 | 0.066 | 0.093 | 0.055
Colony 1, Replicate 2 | 38200 | 91800 | 87700 | 81400 | 55200 | 75900 | 58700 | 51700 | 51200 | Colony 1, Replicate 2 | 0.071 | 0.061 | 0.047 | 0.066 | 0.058 | 0.051 | 0.064 | 0.064 | 0.053
Colony 1, Replicate 3 | 29200 | 55900 | 86100 | 80400 | 58000 | 77100 | 60900 | 52700 | 52400 | Colony 1, Replicate 3 | 0.065 | 0.063 | 0.048 | 0.061 | 0.055 | 0.051 | 0.055 | 0.064 | 0.045
Colony 1, Replicate 4 | 19400 | 102000 | 84800 | 81700 | 55300 | 76700 | 61000 | 52400 | 51700 | Colony 1, Replicate 4 | 0.041 | 0.06 | 0.046 | 0.065 | 0.064 | 0.052 | 0.068 | 0.07 | 0.055
Colony 2, Replicate 1 | 43000 | 92100 | 70500 | 85400 | 51700 | 73600 | 54200 | 50000 | 51200 | Colony 2, Replicate 1 | 0.079 | 0.074 | 0.054 | 0.08 | 0.059 | 0.051 | 0.069 | 0.063 | 0.042
Colony 2, Replicate 2 | 46500 | 86900 | 73000 | 89700 | 53700 | 76700 | 57600 | 52500 | 51700 | Colony 2, Replicate 2 | 0.057 | 0.081 | 0.043 | 0.08 | 0.072 | 0.05 | 0.065 | 0.061 | 0.041
Colony 2, Replicate 3 | 45700 | 101000 | 72500 | 92600 | 51800 | 76400 | 55600 | 53600 | 52900 | Colony 2, Replicate 3 | 0.041 | 0.064 | 0.047 | 0.085 | 0.076 | 0.057 | 0.058 | 0.057 | 0.044
Colony 2, Replicate 4 | 43500 | 106000 | 73900 | 90800 | 53600 | 74300 | 54100 | 49900 | 49700 | Colony 2, Replicate 4 | 0.061 | 0.067 | 0.048 | 0.082 | 0.069 | 0.048 | 0.061 | 0.055 | 0.042
Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 25700 | 167000 | 83600 | 156000 | 56800 | 122000 | 80900 | 57300 | 45800 | Colony 1, Replicate 1 | 0.05 | 0.211 | 0.075 | 0.288 | 0.258 | 0.128 | 0.204 | 0.219 | 0.042
Colony 1, Replicate 2 | 61300 | 171000 | 89100 | 161000 | 58400 | 110000 | 83000 | 56300 | 29000 | Colony 1, Replicate 2 | 0.417 | 0.234 | 0.062 | 0.272 | 0.228 | 0.113 | 0.227 | 0.133 | 0.116
Colony 1, Replicate 3 | 37900 | 173000 | 89300 | 172000 | 59300 | 118000 | 85000 | 60400 | 25200 | Colony 1, Replicate 3 | 0.268 | 0.206 | 0.062 | 0.226 | 0.233 | 0.122 | 0.253 | 0.255 | 0.148
Colony 1, Replicate 4 | 62100 | 175000 | 92400 | 159000 | 61000 | 118000 | 83200 | 60100 | 27400 | Colony 1, Replicate 4 | 0.315 | 0.209 | 0.063 | 0.24 | 0.246 | 0.118 | 0.242 | 0.33 | 0.292
Colony 2, Replicate 1 | 61000 | 166000 | 79200 | 180000 | 49800 | 114000 | 82600 | 49300 | 42400 | Colony 2, Replicate 1 | 0.474 | 0.311 | 0.065 | 0.258 | 0.152 | 0.127 | 0.27 | 0.208 | 0.041
Colony 2, Replicate 2 | 63000 | 175000 | 83600 | 184000 | 55200 | 118000 | 80500 | 53000 | 35500 | Colony 2, Replicate 2 | 0.421 | 0.242 | 0.055 | 0.311 | 0.095 | 0.134 | 0.265 | 0.224 | 0.045
Colony 2, Replicate 3 | 65700 | 183000 | 85700 | 185000 | 55200 | 115000 | 91000 | 52100 | 35400 | Colony 2, Replicate 3 | 0.528 | 0.275 | 0.053 | 0.353 | 0.051 | 0.116 | 0.261 | 0.225 | 0.042
Colony 2, Replicate 4 | 65400 | 177000 | 80700 | 198000 | 63400 | 120000 | 87300 | 52900 | 32700 | Colony 2, Replicate 4 | 0.474 | 0.254 | 0.064 | 0.368 | 0.071 | 0.119 | 0.279 | 0.228 | 0.047
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 39400 | 250000 | 195000 | 275000 | 71000 | 291000 | 95300 | 70600 | 19500 | Colony 1, Replicate 1 | 0.478 | 0.41 | 0.193 | 0.45 | 0.437 | 0.472 | 0.436 | 0.509 | 0.041
Colony 1, Replicate 2 | 43800 | 256000 | 184000 | 283000 | 74000 | 291000 | 86400 | 75100 | 24100 | Colony 1, Replicate 2 | 0.491 | 0.398 | 0.193 | 0.418 | 0.454 | 0.52 | 0.445 | 0.195 | 0.047
Colony 1, Replicate 3 | 59900 | 255000 | 94000 | 275000 | 70700 | 288000 | 80500 | 80200 | 20200 | Colony 1, Replicate 3 | 0.492 | 0.371 | 0.181 | 0.395 | 0.45 | 0.505 | 0.454 | 0.38 | 0.051
Colony 1, Replicate 4 | 63800 | 257000 | 84700 | 262000 | 74500 | 290000 | 78500 | 74600 | 16300 | Colony 1, Replicate 4 | 0.479 | 0.367 | 0.183 | 0.402 | 0.462 | 0.512 | 0.45 | 0.544 | 0.045
Colony 2, Replicate 1 | 64700 | 267000 | 144000 | 267000 | 79500 | 282000 | 109000 | 72100 | 52600 | Colony 2, Replicate 1 | 0.467 | 0.46 | 0.061 | 0.498 | 0.53 | 0.461 | 0.481 | 0.539 | 0.042
Colony 2, Replicate 2 | 67400 | 279000 | 152000 | 273000 | 79600 | 306000 | 108000 | 70700 | 12400 | Colony 2, Replicate 2 | 0.478 | 0.475 | 0.156 | 0.51 | 0.569 | 0.482 | 0.484 | 0.533 | 0.045
Colony 2, Replicate 3 | 70200 | 292000 | 80000 | 297000 | 79400 | 308000 | 103000 | 75000 | 12700 | Colony 2, Replicate 3 | 0.47 | 0.469 | 0.143 | 0.476 | 0.542 | 0.412 | 0.481 | 0.534 | 0.044
Colony 2, Replicate 4 | 67800 | 288000 | 95600 | 293000 | 78500 | 293000 | 106000 | 74100 | 17400 | Colony 2, Replicate 4 | 0.635 | 0.443 | 0.159 | 0.452 | 0.559 | 0.49 | 0.486 | 0.523 | 0.045
Plate pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9

## Fluorescence Measurement
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 4.8571 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | 7.6453e-07 | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.043 | 0.043 | 0.042 | 0.048 |  |  | 43700 | 41000 | 48700 | 49000
Blank mean: | 0.044 | [5 empty] | 45600 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0 | 0.045 | 0.044 | 0.05 |  |  | 41500 | 34100 | 27500 | 38200 |  |  | -0.044 | 0.001 | 0 | 0.006 | --- | --- | -4100 | -11500 | -18100 | -7400 | --- | --- | 0.014667 | -1.8101 | #DIV/0! | -0.19413 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | -4.2221 | #NUM! | --- | #NUM! | --- | ---
Negative Control (Colony 2) | 0.044 | 0.04 | 0.045 | 0.044 |  |  | 27300 | 13600 | 14000 | 12900 |  |  | 0 | -0.004 | 0.001 | 0 | --- | --- | -18300 | -32000 | -31600 | -32700 | --- | --- | #DIV/0! | 1.2592 | -4.9739 | #DIV/0! | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | --- | 0.2305 | #NUM! | --- | --- | ---
Positive Control (Colony 1) | 0.04 | 0.056 | 0.047 | 0.053 |  |  | 44700 | 42000 | 45900 | 48200 |  |  | -0.004 | 0.012 | 0.003 | 0.009 | --- | --- | -900 | -3600 | 300 | 2600 | --- | --- | 0.035416 | -0.047221 | 0.01574 | 0.045472 | --- | --- | 0.012352 | 0.04159 | #NUM! | #NUM! | -3.3406 | #NUM! | -4.1515 | -3.0907 | --- | ---
Positive Control (Colony 2) | 0.047 | 0.048 | 0.049 | 0.046 |  |  | 49500 | 57400 | 56400 | 55100 |  |  | 0.003 | 0.004 | 0.005 | 0.002 | --- | --- | 3900 | 11800 | 10800 | 9500 | --- | --- | 0.20462 | 0.46434 | 0.33999 | 0.74767 | --- | --- | 0.43916 | 0.23141 | 0.39422 | 1.7232 | -1.5866 | -0.76714 | -1.0788 | -0.2908 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.044 | 0.057 | 0.049 | 0.039 |  |  | 60100 | 56800 | 57000 | 63400 |  |  | 0 | 0.013 | 0.005 | -0.005 | --- | --- | 14500 | 11200 | 11400 | 17800 | --- | --- | #DIV/0! | 0.13561 | 0.35888 | -0.56036 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | --- | -1.998 | -1.0248 | #NUM! | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.043 | 0.044 | 0.044 | 0.046 |  |  | 39400 | 49000 | 48600 | 57600 |  |  | -0.001 | 0 | 0 | 0.002 | --- | --- | -6200 | 3400 | 3000 | 12000 | --- | --- | 0.9759 | #DIV/0! | #DIV/0! | 0.94442 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | 1.0235 | -0.024394 | --- | --- | -0.057184 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.044 | 0.049 | 0.049 | 0.047 |  |  | 45800 | 44700 | 51700 | 53200 |  |  | 0 | 0.005 | 0.005 | 0.003 | --- | --- | 200 | -900 | 6100 | 7600 | --- | --- | #DIV/0! | -0.028333 | 0.19203 | 0.39876 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | --- | #NUM! | -1.6501 | -0.91941 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.051 | 0.048 | 0.048 | 0.049 |  |  | 55000 | 53800 | 56000 | 54400 |  |  | 0.007 | 0.004 | 0.004 | 0.005 | --- | --- | 9400 | 8200 | 10400 | 8800 | --- | --- | 0.21137 | 0.32268 | 0.40925 | 0.27703 | --- | --- | 0.30508 | 0.083125 | 0.29654 | #NUM! | -1.5541 | -1.1311 | -0.89343 | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.045 | 0.045 | 0.048 | 0.046 |  |  | 50200 | 45900 | 49600 | 49800 |  |  | 0.001 | 0.001 | 0.004 | 0.002 | --- | --- | 4600 | 300 | 4000 | 4200 | --- | --- | 0.72406 | 0.047221 | 0.1574 | 0.33055 | --- | --- | 0.31481 | 0.29671 | 0.20537 | 3.1941 | -0.32289 | -3.0529 | -1.8489 | -1.107 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.046 | 0.044 | 0.049 | 0.062 |  |  | 45400 | 47400 | 49800 | 45000 |  |  | 0.002 | 0 | 0.005 | 0.018 | --- | --- | -200 | 1800 | 4200 | -600 | --- | --- | -0.01574 | #DIV/0! | 0.13222 | -0.0052468 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! | --- | -2.0233 | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.045 | 0.049 | 0.047 | 0.047 |  |  | 49900 | 52700 | 51700 | 50100 |  |  | 0.001 | 0.005 | 0.003 | 0.003 | --- | --- | 4300 | 7100 | 6100 | 4500 | --- | --- | 0.67683 | 0.22351 | 0.32005 | 0.23611 | --- | --- | 0.36413 | 0.21283 | 0.32699 | 1.6654 | -0.39033 | -1.4983 | -1.1393 | -1.4435 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.045 | 0.043 | 0.045 | 0.048 |  |  | 50500 | 51300 | 50800 | 51000 |  |  | 0.001 | -0.001 | 0.001 | 0.004 | --- | --- | 4900 | 5700 | 5200 | 5400 | --- | --- | 0.77128 | -0.8972 | 0.8185 | 0.21249 | --- | --- | 0.22627 | 0.79794 | #NUM! | #NUM! | -0.25971 | #NUM! | -0.20028 | -1.5488 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.046 | 0.054 | 0.045 | 0.046 |  |  | 49700 | 51100 | 51800 | 49400 |  |  | 0.002 | 0.01 | 0.001 | 0.002 | --- | --- | 4100 | 5500 | 6200 | 3800 | --- | --- | 0.32268 | 0.086572 | 0.9759 | 0.29907 | --- | --- | 0.42105 | 0.38483 | 0.30049 | 2.6917 | -1.1311 | -2.4468 | -0.024394 | -1.2071 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.047 | 0.049 | 0.051 | 0.054 |  |  | 49700 | 52100 | 51200 | 48200 |  |  | 0.003 | 0.005 | 0.007 | 0.01 | --- | --- | 4100 | 6500 | 5600 | 2600 | --- | --- | 0.21512 | 0.20462 | 0.12592 | 0.040925 | --- | --- | 0.14665 | 0.080945 | 0.12272 | #NUM! | -1.5366 | -1.5866 | -2.0721 | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.048 | 0.049 | 0.044 | 0.045 |  |  | 47700 | 49000 | 48000 | 49000 |  |  | 0.004 | 0.005 | 0 | 0.001 | --- | --- | 2100 | 3400 | 2400 | 3400 | --- | --- | 0.082637 | 0.10703 | #DIV/0! | 0.53517 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | 2.7516 | -2.4933 | -2.2346 | --- | -0.62517 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.045 | 0.044 | 0.046 | 0.049 |  |  | 38500 | 34800 | 46900 | 45000 |  |  | 0.001 | 0 | 0.002 | 0.005 | --- | --- | -7100 | -10800 | 1300 | -600 | --- | --- | -1.1176 | #DIV/0! | 0.10231 | -0.018888 | --- | --- | #DIV/0! | #DIV/0! | #DIV/0! | #NUM! | #NUM! | --- | -2.2797 | #NUM! | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.041 | 0.071 | 0.065 | 0.041 |  |  | 22500 | 38200 | 29200 | 19400 |  |  | -0.003 | 0.027 | 0.021 | -0.003 | --- | --- | -23100 | -7400 | -16400 | -26200 | --- | --- | 1.212 | -0.04314 | -0.12292 | 1.3747 | --- | --- | 0.60515 | 0.79808 | #NUM! | #NUM! | 0.19228 | #NUM! | #NUM! | 0.3182 | --- | ---
Negative Control (Colony 2) | 0.079 | 0.057 | 0.041 | 0.061 |  |  | 43000 | 46500 | 45700 | 43500 |  |  | 0.035 | 0.013 | -0.003 | 0.017 | --- | --- | -2600 | 900 | 100 | -2100 | --- | --- | -0.011693 | 0.010897 | -0.0052468 | -0.019444 | --- | --- | -0.0063716 | 0.012893 | #NUM! | #NUM! | #NUM! | -4.5193 | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.062 | 0.061 | 0.063 | 0.06 |  |  | 92000 | 91800 | 55900 | 102000 |  |  | 0.018 | 0.017 | 0.019 | 0.016 | --- | --- | 46400 | 46200 | 10300 | 56400 | --- | --- | 0.40575 | 0.42777 | 0.085329 | 0.55485 | --- | --- | 0.36842 | 0.19984 | 0.30108 | 2.3435 | -0.90202 | -0.84918 | -2.4612 | -0.58906 | --- | ---
Positive Control (Colony 2) | 0.074 | 0.081 | 0.064 | 0.067 |  |  | 92100 | 86900 | 101000 | 106000 |  |  | 0.03 | 0.037 | 0.02 | 0.023 | --- | --- | 46500 | 41300 | 55400 | 60400 | --- | --- | 0.24398 | 0.1757 | 0.43601 | 0.41335 | --- | --- | 0.31726 | 0.12747 | 0.29647 | 1.5469 | -1.4107 | -1.739 | -0.8301 | -0.88345 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.047 | 0.047 | 0.048 | 0.046 |  |  | 82800 | 87700 | 86100 | 84800 |  |  | 0.003 | 0.003 | 0.004 | 0.002 | --- | --- | 37200 | 42100 | 40500 | 39200 | --- | --- | 1.9518 | 2.2089 | 1.5937 | 3.0851 | --- | --- | 2.2099 | 0.63569 | 2.1457 | 1.3191 | 0.66875 | 0.79249 | 0.46606 | 1.1266 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.054 | 0.043 | 0.047 | 0.048 |  |  | 70500 | 73000 | 72500 | 73900 |  |  | 0.01 | -0.001 | 0.003 | 0.004 | --- | --- | 24900 | 27400 | 26900 | 28300 | --- | --- | 0.39193 | -4.3129 | 1.4114 | 1.1136 | --- | --- | -0.34898 | 2.677 | #NUM! | #NUM! | -0.93666 | #NUM! | 0.34457 | 0.10762 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.073 | 0.066 | 0.061 | 0.065 |  |  | 74900 | 81400 | 80400 | 81700 |  |  | 0.029 | 0.022 | 0.017 | 0.021 | --- | --- | 29300 | 35800 | 34800 | 36100 | --- | --- | 0.15903 | 0.25614 | 0.32221 | 0.27058 | --- | --- | 0.25199 | 0.068156 | 0.24412 | 1.3526 | -1.8387 | -1.362 | -1.1325 | -1.3072 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.08 | 0.08 | 0.085 | 0.082 |  |  | 85400 | 89700 | 92600 | 90800 |  |  | 0.036 | 0.036 | 0.041 | 0.038 | --- | --- | 39800 | 44100 | 47000 | 45200 | --- | --- | 0.17402 | 0.19282 | 0.18044 | 0.18723 | --- | --- | 0.18363 | 0.0081641 | 0.18349 | 1.0456 | -1.7486 | -1.646 | -1.7124 | -1.6754 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.053 | 0.058 | 0.055 | 0.064 |  |  | 51600 | 55200 | 58000 | 55300 |  |  | 0.009 | 0.014 | 0.011 | 0.02 | --- | --- | 6000 | 9600 | 12400 | 9700 | --- | --- | 0.10494 | 0.10793 | 0.17744 | 0.076341 | --- | --- | 0.11666 | 0.042946 | 0.11129 | 1.4167 | -2.2544 | -2.2262 | -1.7291 | -2.5725 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.059 | 0.072 | 0.076 | 0.069 |  |  | 51700 | 53700 | 51800 | 53600 |  |  | 0.015 | 0.028 | 0.032 | 0.025 | --- | --- | 6100 | 8100 | 6200 | 8000 | --- | --- | 0.064011 | 0.045535 | 0.030497 | 0.050369 | --- | --- | 0.047603 | 0.013829 | 0.046 | 1.3621 | -2.7487 | -3.0893 | -3.4901 | -2.9884 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.051 | 0.051 | 0.051 | 0.052 |  |  | 73500 | 75900 | 77100 | 76700 |  |  | 0.007 | 0.007 | 0.007 | 0.008 | --- | --- | 27900 | 30300 | 31500 | 31100 | --- | --- | 0.62736 | 0.68133 | 0.70832 | 0.61191 | --- | --- | 0.65723 | 0.045228 | 0.65607 | 1.0711 | -0.46623 | -0.38371 | -0.34487 | -0.49118 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.051 | 0.05 | 0.057 | 0.048 |  |  | 73600 | 76700 | 76400 | 74300 |  |  | 0.007 | 0.006 | 0.013 | 0.004 | --- | --- | 28000 | 31100 | 30800 | 28700 | --- | --- | 0.62961 | 0.81587 | 0.37292 | 1.1294 | --- | --- | 0.73695 | 0.31846 | 0.68201 | 1.5969 | -0.46265 | -0.2035 | -0.98638 | 0.12166 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.066 | 0.064 | 0.055 | 0.068 |  |  | 57600 | 58700 | 60900 | 61000 |  |  | 0.022 | 0.02 | 0.011 | 0.024 | --- | --- | 12000 | 13100 | 15300 | 15400 | --- | --- | 0.085856 | 0.1031 | 0.21893 | 0.101 | --- | --- | 0.12722 | 0.061622 | 0.11828 | 1.5198 | -2.4551 | -2.2721 | -1.519 | -2.2926 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.069 | 0.065 | 0.058 | 0.061 |  |  | 54200 | 57600 | 55600 | 54100 |  |  | 0.025 | 0.021 | 0.014 | 0.017 | --- | --- | 8600 | 12000 | 10000 | 8500 | --- | --- | 0.054147 | 0.089945 | 0.11243 | 0.078702 | --- | --- | 0.083806 | 0.02424 | 0.081022 | 1.3584 | -2.9161 | -2.4086 | -2.1854 | -2.5421 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.093 | 0.064 | 0.064 | 0.07 |  |  | 49200 | 51700 | 52700 | 52400 |  |  | 0.049 | 0.02 | 0.02 | 0.026 | --- | --- | 3600 | 6100 | 7100 | 6800 | --- | --- | 0.011564 | 0.048008 | 0.055878 | 0.041167 | --- | --- | 0.039154 | 0.019351 | 0.033617 | 2.0591 | -4.4598 | -3.0364 | -2.8846 | -3.1901 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.063 | 0.061 | 0.057 | 0.055 |  |  | 50000 | 52500 | 53600 | 49900 |  |  | 0.019 | 0.017 | 0.013 | 0.011 | --- | --- | 4400 | 6900 | 8000 | 4300 | --- | --- | 0.036451 | 0.063887 | 0.096864 | 0.06153 | --- | --- | 0.064683 | 0.024787 | 0.061037 | 1.4926 | -3.3118 | -2.7506 | -2.3345 | -2.7882 | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.05 | 0.417 | 0.268 | 0.315 |  |  | 25700 | 61300 | 37900 | 62100 |  |  | 0.006 | 0.373 | 0.224 | 0.271 | --- | --- | -19900 | 15700 | -7700 | 16500 | --- | --- | -0.52205 | 0.0066253 | -0.0054107 | 0.0095836 | --- | --- | -0.12781 | 0.26291 | #NUM! | #NUM! | #NUM! | -5.0169 | #NUM! | -4.6477 | --- | ---
Negative Control (Colony 2) | 0.474 | 0.421 | 0.528 | 0.474 |  |  | 61000 | 63000 | 65700 | 65400 |  |  | 0.43 | 0.377 | 0.484 | 0.43 | --- | --- | 15400 | 17400 | 20100 | 19800 | --- | --- | 0.0056372 | 0.0072648 | 0.0065368 | 0.0072479 | --- | --- | 0.0066717 | 0.00076855 | 0.0066369 | 1.1269 | -5.1784 | -4.9247 | -5.0303 | -4.927 | --- | ---
Positive Control (Colony 1) | 0.211 | 0.234 | 0.206 | 0.209 |  |  | 167000 | 171000 | 173000 | 175000 |  |  | 0.167 | 0.19 | 0.162 | 0.165 | --- | --- | 121400 | 125400 | 127400 | 129400 | --- | --- | 0.11442 | 0.10389 | 0.12379 | 0.12344 | --- | --- | 0.11638 | 0.0093921 | 0.11609 | 1.086 | -2.1678 | -2.2645 | -2.0892 | -2.092 | --- | ---
Positive Control (Colony 2) | 0.311 | 0.242 | 0.275 | 0.254 |  |  | 166000 | 175000 | 183000 | 177000 |  |  | 0.267 | 0.198 | 0.231 | 0.21 | --- | --- | 120400 | 129400 | 137400 | 131400 | --- | --- | 0.070979 | 0.10287 | 0.093624 | 0.09849 | --- | --- | 0.09149 | 0.014186 | 0.090583 | 1.1819 | -2.6454 | -2.2743 | -2.3685 | -2.3178 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.075 | 0.062 | 0.062 | 0.063 |  |  | 83600 | 89100 | 89300 | 92400 |  |  | 0.031 | 0.018 | 0.018 | 0.019 | --- | --- | 38000 | 43500 | 43700 | 46800 | --- | --- | 0.19295 | 0.38039 | 0.38214 | 0.38771 | --- | --- | 0.3358 | 0.095285 | 0.32292 | 1.4098 | -1.6453 | -0.96655 | -0.96197 | -0.9475 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.065 | 0.055 | 0.053 | 0.064 |  |  | 79200 | 83600 | 85700 | 80700 |  |  | 0.021 | 0.011 | 0.009 | 0.02 | --- | --- | 33600 | 38000 | 40100 | 35100 | --- | --- | 0.25185 | 0.54376 | 0.70132 | 0.27624 | --- | --- | 0.44329 | 0.21697 | 0.40359 | 1.6544 | -1.3789 | -0.60925 | -0.35479 | -1.2865 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.288 | 0.272 | 0.226 | 0.24 |  |  | 156000 | 161000 | 172000 | 159000 |  |  | 0.244 | 0.228 | 0.182 | 0.196 | --- | --- | 110400 | 115400 | 126400 | 113400 | --- | --- | 0.071219 | 0.079668 | 0.10932 | 0.091069 | --- | --- | 0.087818 | 0.01648 | 0.086693 | 1.2025 | -2.642 | -2.5299 | -2.2135 | -2.3961 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.258 | 0.311 | 0.353 | 0.368 |  |  | 180000 | 184000 | 185000 | 198000 |  |  | 0.214 | 0.267 | 0.309 | 0.324 | --- | --- | 134400 | 138400 | 139400 | 152400 | --- | --- | 0.098855 | 0.08159 | 0.07101 | 0.074038 | --- | --- | 0.081373 | 0.012475 | 0.080696 | 1.1587 | -2.3141 | -2.506 | -2.6449 | -2.6032 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.258 | 0.228 | 0.233 | 0.246 |  |  | 56800 | 58400 | 59300 | 61000 |  |  | 0.214 | 0.184 | 0.189 | 0.202 | --- | --- | 11200 | 12800 | 13700 | 15400 | --- | --- | 0.0082379 | 0.01095 | 0.01141 | 0.012 | --- | --- | 0.010649 | 0.0016641 | 0.010542 | 1.1837 | -4.799 | -4.5144 | -4.4733 | -4.4228 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.152 | 0.095 | 0.051 | 0.071 |  |  | 49800 | 55200 | 55200 | 63400 |  |  | 0.108 | 0.051 | 0.007 | 0.027 | --- | --- | 4200 | 9600 | 9600 | 17800 | --- | --- | 0.0061212 | 0.029629 | 0.21587 | 0.10377 | --- | --- | 0.088847 | 0.094353 | 0.044896 | 4.764 | -5.096 | -3.519 | -1.5331 | -2.2656 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.128 | 0.113 | 0.122 | 0.118 |  |  | 122000 | 110000 | 118000 | 118000 |  |  | 0.084 | 0.069 | 0.078 | 0.074 | --- | --- | 76400 | 64400 | 72400 | 72400 | --- | --- | 0.14316 | 0.14691 | 0.1461 | 0.154 | --- | --- | 0.14754 | 0.0045957 | 0.14749 | 1.0313 | -1.9438 | -1.9179 | -1.9234 | -1.8708 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.127 | 0.134 | 0.116 | 0.119 |  |  | 114000 | 118000 | 115000 | 120000 |  |  | 0.083 | 0.09 | 0.072 | 0.075 | --- | --- | 68400 | 72400 | 69400 | 74400 | --- | --- | 0.12972 | 0.12662 | 0.15172 | 0.15614 | --- | --- | 0.14105 | 0.015037 | 0.14045 | 1.1128 | -2.0424 | -2.0665 | -1.8857 | -1.857 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.204 | 0.227 | 0.253 | 0.242 |  |  | 80900 | 83000 | 85000 | 83200 |  |  | 0.16 | 0.183 | 0.209 | 0.198 | --- | --- | 35300 | 37400 | 39400 | 37600 | --- | --- | 0.034727 | 0.032169 | 0.029673 | 0.029891 | --- | --- | 0.031615 | 0.0023619 | 0.03155 | 1.0764 | -3.3602 | -3.4368 | -3.5175 | -3.5102 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.27 | 0.265 | 0.261 | 0.279 |  |  | 82600 | 80500 | 91000 | 87300 |  |  | 0.226 | 0.221 | 0.217 | 0.235 | --- | --- | 37000 | 34900 | 45400 | 41700 | --- | --- | 0.02577 | 0.024857 | 0.032931 | 0.027931 | --- | --- | 0.027872 | 0.0036107 | 0.027705 | 1.1332 | -3.6586 | -3.6946 | -3.4133 | -3.578 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.219 | 0.133 | 0.255 | 0.33 |  |  | 57300 | 56300 | 60400 | 60100 |  |  | 0.175 | 0.089 | 0.211 | 0.286 | --- | --- | 11700 | 10700 | 14800 | 14500 | --- | --- | 0.010524 | 0.018924 | 0.011041 | 0.0079802 | --- | --- | 0.012117 | 0.0047308 | 0.011509 | 1.4349 | -4.5541 | -3.9673 | -4.5062 | -4.8308 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.208 | 0.224 | 0.225 | 0.228 |  |  | 49300 | 53000 | 52100 | 52900 |  |  | 0.164 | 0.18 | 0.181 | 0.184 | --- | --- | 3700 | 7400 | 6500 | 7300 | --- | --- | 0.0035512 | 0.006471 | 0.0056526 | 0.0062448 | --- | --- | 0.0054799 | 0.0013313 | 0.0053368 | 1.3199 | -5.6405 | -5.0404 | -5.1756 | -5.076 | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.478 | 0.491 | 0.492 | 0.479 |  |  | 39400 | 43800 | 59900 | 63800 |  |  | 0.434 | 0.447 | 0.448 | 0.435 | --- | --- | -6200 | -1800 | 14300 | 18200 | --- | --- | -0.0022486 | -0.00063384 | 0.0050243 | 0.0065856 | --- | --- | 0.0021819 | 0.0042829 | #NUM! | #NUM! | #NUM! | #NUM! | -5.2935 | -5.0229 | --- | ---
Negative Control (Colony 2) | 0.467 | 0.478 | 0.47 | 0.635 |  |  | 64700 | 67400 | 70200 | 67800 |  |  | 0.423 | 0.434 | 0.426 | 0.591 | --- | --- | 19100 | 21800 | 24600 | 22200 | --- | --- | 0.0071073 | 0.0079064 | 0.0090895 | 0.0059126 | --- | --- | 0.007504 | 0.0013374 | 0.0074131 | 1.1988 | -4.9466 | -4.8401 | -4.7006 | -5.1307 | --- | ---
Positive Control (Colony 1) | 0.41 | 0.398 | 0.371 | 0.367 |  |  | 250000 | 256000 | 255000 | 257000 |  |  | 0.366 | 0.354 | 0.327 | 0.323 | --- | --- | 204400 | 210400 | 209400 | 211400 | --- | --- | 0.087905 | 0.093553 | 0.1008 | 0.10302 | --- | --- | 0.096318 | 0.0069132 | 0.09613 | 1.0752 | -2.4315 | -2.3692 | -2.2947 | -2.2728 | --- | ---
Positive Control (Colony 2) | 0.46 | 0.475 | 0.469 | 0.443 |  |  | 267000 | 279000 | 292000 | 288000 |  |  | 0.416 | 0.431 | 0.425 | 0.399 | --- | --- | 221400 | 233400 | 246400 | 242400 | --- | --- | 0.083772 | 0.085239 | 0.091257 | 0.095625 | --- | --- | 0.088973 | 0.0054914 | 0.088847 | 1.0633 | -2.4797 | -2.4623 | -2.3941 | -2.3473 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.193 | 0.193 | 0.181 | 0.183 |  |  | 195000 | 184000 | 94000 | 84700 |  |  | 0.149 | 0.149 | 0.137 | 0.139 | --- | --- | 149400 | 138400 | 48400 | 39100 | --- | --- | 0.15783 | 0.14621 | 0.055608 | 0.044277 | --- | --- | 0.10098 | 0.059303 | 0.086819 | 1.922 | -1.8463 | -1.9227 | -2.8894 | -3.1173 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.061 | 0.156 | 0.143 | 0.159 |  |  | 144000 | 152000 | 80000 | 95600 |  |  | 0.017 | 0.112 | 0.099 | 0.115 | --- | --- | 98400 | 106400 | 34400 | 50000 | --- | --- | 0.91109 | 0.14953 | 0.054694 | 0.068436 | --- | --- | 0.29594 | 0.41223 | 0.15027 | 3.5839 | -0.093116 | -1.9002 | -2.906 | -2.6819 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.45 | 0.418 | 0.395 | 0.402 |  |  | 275000 | 283000 | 275000 | 262000 |  |  | 0.406 | 0.374 | 0.351 | 0.358 | --- | --- | 229400 | 237400 | 229400 | 216400 | --- | --- | 0.088937 | 0.099913 | 0.10287 | 0.095145 | --- | --- | 0.096717 | 0.0060858 | 0.096571 | 1.0657 | -2.4198 | -2.3035 | -2.2743 | -2.3523 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.498 | 0.51 | 0.476 | 0.452 |  |  | 267000 | 273000 | 297000 | 293000 |  |  | 0.454 | 0.466 | 0.432 | 0.408 | --- | --- | 221400 | 227400 | 251400 | 247400 | --- | --- | 0.07676 | 0.07681 | 0.0916 | 0.095445 | --- | --- | 0.085154 | 0.00979 | 0.084733 | 1.1218 | -2.5671 | -2.5664 | -2.3903 | -2.3492 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.437 | 0.454 | 0.45 | 0.462 |  |  | 71000 | 74000 | 70700 | 74500 |  |  | 0.393 | 0.41 | 0.406 | 0.418 | --- | --- | 25400 | 28400 | 25100 | 28900 | --- | --- | 0.010173 | 0.010903 | 0.0097311 | 0.010883 | --- | --- | 0.010422 | 0.0005724 | 0.010411 | 1.0569 | -4.588 | -4.5187 | -4.6324 | -4.5206 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.53 | 0.569 | 0.542 | 0.559 |  |  | 79500 | 79600 | 79400 | 78500 |  |  | 0.486 | 0.525 | 0.498 | 0.515 | --- | --- | 33900 | 34000 | 33800 | 32900 | --- | --- | 0.010979 | 0.010194 | 0.010683 | 0.010055 | --- | --- | 0.010478 | 0.00042927 | 0.010471 | 1.0417 | -4.5117 | -4.586 | -4.5391 | -4.5996 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.472 | 0.52 | 0.505 | 0.512 |  |  | 291000 | 291000 | 288000 | 290000 |  |  | 0.428 | 0.476 | 0.461 | 0.468 | --- | --- | 245400 | 245400 | 242400 | 244400 | --- | --- | 0.090249 | 0.081149 | 0.082765 | 0.0822 | --- | --- | 0.084091 | 0.0041602 | 0.084016 | 1.0496 | -2.4052 | -2.5115 | -2.4918 | -2.4986 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.461 | 0.482 | 0.412 | 0.49 |  |  | 282000 | 306000 | 308000 | 293000 |  |  | 0.417 | 0.438 | 0.368 | 0.446 | --- | --- | 236400 | 260400 | 262400 | 247400 | --- | --- | 0.089233 | 0.09358 | 0.11224 | 0.087313 | --- | --- | 0.09559 | 0.011402 | 0.095111 | 1.1209 | -2.4165 | -2.3689 | -2.1872 | -2.4383 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.436 | 0.445 | 0.454 | 0.45 |  |  | 95300 | 86400 | 80500 | 78500 |  |  | 0.392 | 0.401 | 0.41 | 0.406 | --- | --- | 49700 | 40800 | 34900 | 32900 | --- | --- | 0.019956 | 0.016015 | 0.013398 | 0.012755 | --- | --- | 0.015531 | 0.0032697 | 0.015288 | 1.2248 | -3.9142 | -4.1342 | -4.3126 | -4.3618 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.481 | 0.484 | 0.481 | 0.486 |  |  | 109000 | 108000 | 103000 | 106000 |  |  | 0.437 | 0.44 | 0.437 | 0.442 | --- | --- | 63400 | 62400 | 57400 | 60400 | --- | --- | 0.022836 | 0.022323 | 0.020675 | 0.021509 | --- | --- | 0.021836 | 0.00094723 | 0.02182 | 1.0446 | -3.7794 | -3.8022 | -3.8788 | -3.8393 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.509 | 0.195 | 0.38 | 0.544 |  |  | 70600 | 75100 | 80200 | 74600 |  |  | 0.465 | 0.151 | 0.336 | 0.5 | --- | --- | 25000 | 29500 | 34600 | 29000 | --- | --- | 0.0084625 | 0.030751 | 0.016209 | 0.0091294 | --- | --- | 0.016138 | 0.010353 | 0.014008 | 1.8205 | -4.7721 | -3.4818 | -4.1222 | -4.6963 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.539 | 0.533 | 0.534 | 0.523 |  |  | 72100 | 70700 | 75000 | 74100 |  |  | 0.495 | 0.489 | 0.49 | 0.479 | --- | --- | 26500 | 25100 | 29400 | 28500 | --- | --- | 0.0084266 | 0.0080794 | 0.0094442 | 0.0093653 | --- | --- | 0.0088289 | 0.00068067 | 0.0088091 | 1.0806 | -4.7764 | -4.8184 | -4.6624 | -4.6707 | --- | ---