## OD600 reference point
| LUDOX-HS40 | H2O
Replicate 1 | 0.045 | 0.0358 | Enter Abs600 absorbance measurements into blue cells
Replicate 2 | 0.0447 | 0.0361 | Gold cells are calculated
Replicate 3 | 0.045 | 0.036
Replicate 4 | 0.0447 | 0.0361
Arith. Mean | 0.04485 | 0.036
Corrected Abs600 | 0.00885 |  | Corrected value is particle-only contribution
Reference OD600 | 0.0425 |  | Reference value is for 100uL of LUDOX-HS40 in a well of a standard 96-well flat-bottom plate
OD600/Abs600 | 4.8023 |  | Corrected value = scaling factor * measured value

## Fluorescein standard curve
uM Fluorescein | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828 | 0.024414
Replicate 1 | #Sat | 32789.762 | 21931.967 | 12969.688 | 7047.324 | 3692.541 | 1745.328 | 905.182 | 441.501 | 227.534 | 113.653 | 3.613 | Enter fluorescence measurements into blue cells
Replicate 2 | #Sat | 32410.109 | 21907.375 | 12687.184 | 7087.559 | 3615.991 | 1733.789 | 902.488 | 458.746 | 238.573 | 124.555 | 3.691 | Gold cells are calculated
Replicate 3 | #Sat | 32067.998 | 21472.822 | 13015.981 | 6846.732 | 3808.453 | 1850.324 | 988.868 | 529.385 | 261.108 | 134.28 | 3.687
Replicate 4 | #Sat | 30912.359 | 21727.996 | 13413.307 | 7291.861 | 3846.518 | 1830.69 | 891.832 | 517.872 | 254.081 | 128.189 | 3.687 | Values measured are fluorescence from 100uL of X uM fluorescein solution
Arith. Mean | #DIV/0! | 32045.057 | 21760.04 | 13021.54 | 7068.369 | 3740.8758 | 1790.0328 | 922.0925 | 486.876 | 245.324 | 125.1693 | 3.6695
Arith. Std.Dev. | #DIV/0! | 810.6334 | 211.965 | 298.884 | 182.4671 | 105.9236 | 59.0195 | 44.8886 | 43.2741 | 15.1424 | 8.6627 | 0.037714
Values should form a straight line on both linear and log scale
Slope should be 1:1
Common problems:
* Consistent pipetting error --> log graph is a straight line but not 1:1 slope
* Oversaturated detector --> low concentrations linear, but high concentrations saturate or fall
uM Fluorescein/a.u. | 50 | 25 | 12.5 | 6.25 | 3.125 | 1.5625 | 0.78125 | 0.39062 | 0.19531 | 0.097656 | 0.048828
Mean um Fluorescein/a.u. | --- | 0.00078015 | 0.00057445 | 0.00047997 | 0.00044211 | 0.00041768 | 0.00043644 | 0.00042363 | 0.00040115 | 0.00039807 | 0.0003901
Mean of med-high levels: |  | 0.00053887
Final scaling level determined from medium-high points likely to be less impacted by saturation or pipetting error
If needed, you can shift which points are used, but it is likely better to correct instrument settings and protocol.

## Raw Plate Reader Measurements
Raw Plate Readings |  | If you followed the recommended plate layout:
Copy fluorescence and Abs600 measurements from your plate reader into blue cells
They will automatically propagate into the correct locations in the Fluorescence Measurement Sheet
Fluorescence Raw Readings: | [9 empty] | Abs600 Raw Readings:
Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 0: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 42.847 | 70.752 | 282.131 | 91.242 | 42.693 | 57.052 | 59.051 | 44.247 | 97.86 | Colony 1, Replicate 1 | 0.0883 | 0.0854 | 0.0842 | 0.0755 | 0.0792 | 0.057 | 0.0884 | 0.0919 | 0.081
Colony 1, Replicate 2 | 43.745 | 69.436 | 258.21 | 86.533 | 44.38 | 58.301 | 59.29 | 42.266 | 95.169 | Colony 1, Replicate 2 | 0.0968 | 0.0882 | 0.0799 | 0.0756 | 0.0828 | 0.0568 | 0.0875 | 0.0886 | 0.081
Colony 1, Replicate 3 | 33.273 | 87.337 | 235.918 | 86.465 | 41.91 | 57.171 | 60.433 | 43.874 | 97.002 | Colony 1, Replicate 3 | 0.0855 | 0.1009 | 0.0616 | 0.0787 | 0.0817 | 0.0562 | 0.0882 | 0.0927 | 0.078
Colony 1, Replicate 4 | 38.753 | 96.031 | 260.16 | 89.155 | 37.584 | 59.146 | 60.81 | 38.039 | 98.554 | Colony 1, Replicate 4 | 0.0902 | 0.0972 | 0.064 | 0.0779 | 0.0767 | 0.059 | 0.0895 | 0.0823 | 0.078
Colony 2, Replicate 1 | 37.786 | 69.595 | 208.715 | 75.367 | 42.179 | 79.979 | 53.906 | 44.901 | 97.568 | Colony 2, Replicate 1 | 0.0857 | 0.0844 | 0.0588 | 0.0735 | 0.0856 | 0.0738 | 0.0863 | 0.0821 | 0.078
Colony 2, Replicate 2 | 40.849 | 80.431 | 216.66 | 71.81 | 38.075 | 76.455 | 54.274 | 44.791 | 96.566 | Colony 2, Replicate 2 | 0.09 | 0.09 | 0.0614 | 0.0873 | 0.082 | 0.0709 | 0.0888 | 0.0784 | 0.08
Colony 2, Replicate 3 | 45.516 | 93.692 | 214.87 | 72.379 | 38.4 | 72.922 | 50.554 | 40.368 | 94.562 | Colony 2, Replicate 3 | 0.0948 | 0.0943 | 0.0619 | 0.0719 | 0.0799 | 0.0659 | 0.0839 | 0.0764 | 0.082
Colony 2, Replicate 4 | 35.279 | 109.712 | 278.888 | 70.697 | 41.072 | 72.27 | 55.558 | 45.57 | 98.256 | Colony 2, Replicate 4 | 0.0843 | 0.1104 | 0.0672 | 0.0734 | 0.0867 | 0.0693 | 0.087 | 0.0805 | 0.08
Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 2: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 90.696 | 469.032 | 581.527 | 533.246 | 102.19 | 332.902 | 203.682 | 102.561 | 96.558 | Colony 1, Replicate 1 | 0.273 | 0.2462 | 0.0861 | 0.2479 | 0.2413 | 0.1555 | 0.2865 | 0.2992 | 0.081
Colony 1, Replicate 2 | 85.725 | 464.345 | 619.522 | 497.876 | 93.946 | 274.98 | 195.017 | 65.228 | 96.487 | Colony 1, Replicate 2 | 0.3237 | 0.2729 | 0.0958 | 0.24 | 0.253 | 0.1627 | 0.2613 | 0.1886 | 0.081
Colony 1, Replicate 3 | 92.702 | 471.174 | 609.507 | 495.731 | 99.166 | 289.262 | 192.422 | 64.774 | 97.889 | Colony 1, Replicate 3 | 0.3339 | 0.2681 | 0.0899 | 0.2258 | 0.251 | 0.1904 | 0.2692 | 0.1915 | 0.078
Colony 1, Replicate 4 | 86.155 | 489.641 | 595.838 | 525.19 | 88.835 | 251.082 | 243.156 | 67.393 | 98.246 | Colony 1, Replicate 4 | 0.2656 | 0.2834 | 0.0821 | 0.2791 | 0.2541 | 0.1852 | 0.2864 | 0.1912 | 0.078
Colony 2, Replicate 1 | 94.887 | 429.589 | 762.217 | 422.446 | 101.881 | 549.286 | 79.561 | 0.956 | 97.298 | Colony 2, Replicate 1 | 0.3423 | 0.3719 | 0.0926 | 0.3053 | 0.2706 | 0.1793 | 0.1109 | 0.0452 | 0.078
Colony 2, Replicate 2 | 95.3 | 428.044 | 781.58 | 425.508 | 102.797 | 507.016 | 120.493 | 1.095 | 98.156 | Colony 2, Replicate 2 | 0.2717 | 0.3681 | 0.0907 | 0.2922 | 0.2601 | 0.1759 | 0.2344 | 0.0454 | 0.08
Colony 2, Replicate 3 | 92.577 | 428.203 | 791.916 | 392.657 | 96.143 | 454.173 | 151.446 | 91.108 | 95.213 | Colony 2, Replicate 3 | 0.2747 | 0.389 | 0.0894 | 0.2817 | 0.2458 | 0.1763 | 0.3 | 0.2637 | 0.082
Colony 2, Replicate 4 | 91.703 | 446.16 | 785.747 | 415.526 | 97.838 | 607.055 | 118.993 | 87.712 | 97.023 | Colony 2, Replicate 4 | 0.2794 | 0.3536 | 0.0868 | 0.2751 | 0.2634 | 0.1765 | 0.2398 | 0.2556 | 0.08
Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 4: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 105.656 | 878.947 | 912.985 | 1024.626 | 85.624 | 755.698 | 241.136 | 109.115 | 95.682 | Colony 1, Replicate 1 | 0.4198 | 0.4382 | 0.1065 | 0.4457 | 0.3277 | 0.4142 | 0.4178 | 0.422 | 0.081
Colony 1, Replicate 2 | 104.945 | 806.082 | 892.521 | 933.065 | 111.53 | 512.023 | 174.127 | 106.484 | 98.654 | Colony 1, Replicate 2 | 0.4244 | 0.4124 | 0.1077 | 0.3685 | 0.3724 | 0.2867 | 0.3027 | 0.4251 | 0.081
Colony 1, Replicate 3 | 91.413 | 833.516 | 884.921 | 899.594 | 107.945 | 456.333 | 153.178 | 108.555 | 96.642 | Colony 1, Replicate 3 | 0.3959 | 0.4195 | 0.1046 | 0.3238 | 0.3483 | 0.2457 | 0.2954 | 0.4049 | 0.078
Colony 1, Replicate 4 | 101.392 | 851.276 | 871.496 | 905.967 | 99.526 | 398.643 | 147.245 | 107.127 | 96.721 | Colony 1, Replicate 4 | 0.4053 | 0.4216 | 0.1079 | 0.3787 | 0.3318 | 0.2435 | 0.2548 | 0.3902 | 0.078
Colony 2, Replicate 1 | 74.294 | 1395.733 | 835.971 | 767.584 | 108.634 | 997.452 | 224.154 | 105.393 | 94.223 | Colony 2, Replicate 1 | 0.4132 | 0.5801 | 0.0907 | 0.4073 | 0.3871 | 0.3798 | 0.4725 | 0.3901 | 0.078
Colony 2, Replicate 2 | 96.753 | 845.251 | 1043.579 | 738.315 | 79.196 | 1006.751 | 137.037 | 104.164 | 97.266 | Colony 2, Replicate 2 | 0.4159 | 0.3588 | 0.1118 | 0.3662 | 0.2984 | 0.3947 | 0.2845 | 0.3776 | 0.08
Colony 2, Replicate 3 | 67.525 | 780.65 | 1055.727 | 731.541 | 109.303 | 938.077 | 205.618 | 73.785 | 94.156 | Colony 2, Replicate 3 | 0.3501 | 0.2659 | 0.1156 | 0.3532 | 0.3811 | 0.3335 | 0.426 | 0.2355 | 0.082
Colony 2, Replicate 4 | 103.823 | 1349.083 | 975.054 | 780.782 | 54.964 | 964.828 | 206.126 | 54.643 | 95.129 | Colony 2, Replicate 4 | 0.4082 | 0.5757 | 0.1108 | 0.3847 | 0.2239 | 0.3583 | 0.4146 | 0.178 | 0.08
Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank) | Hour 6: | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 | LB + Chlor (blank)
Colony 1, Replicate 1 | 107.305 | 1166.835 | 1285.468 | 1510.713 | 131.368 | 863.125 | 287.34 | 117.104 | 95.545 | Colony 1, Replicate 1 | 0.5553 | 0.5501 | 0.1462 | 0.5367 | 0.5416 | 0.4666 | 0.5255 | 0.599 | 0.081
Colony 1, Replicate 2 | 109.808 | 1124.131 | 1413.598 | 1488.466 | 127.791 | 842.322 | 264.22 | 115.356 | 98.991 | Colony 1, Replicate 2 | 0.516 | 0.5342 | 0.1519 | 0.5095 | 0.5357 | 0.4247 | 0.4844 | 0.545 | 0.081
Colony 1, Replicate 3 | 106.951 | 1133.894 | 1344.831 | 1466.453 | 126.611 | 780.333 | 265.67 | 114.604 | 98.128 | Colony 1, Replicate 3 | 0.5394 | 0.5283 | 0.1505 | 0.5039 | 0.5126 | 0.416 | 0.4705 | 0.5093 | 0.078
Colony 1, Replicate 4 | 107.093 | 1092.906 | 1251.402 | 1153.259 | 125.941 | 606.273 | 225.989 | 113.84 | 97.525 | Colony 1, Replicate 4 | 0.5232 | 0.508 | 0.1378 | 0.3991 | 0.4941 | 0.3437 | 0.3952 | 0.5095 | 0.078
Colony 2, Replicate 1 | 107.334 | 1968.751 | 1438.53 | 1414.995 | 125.674 | 1473.687 | 274.853 | 110.356 | 96.516 | Colony 2, Replicate 1 | 0.5413 | 0.7137 | 0.1422 | 0.5511 | 0.5477 | 0.508 | 0.596 | 0.5248 | 0.078
Colony 2, Replicate 2 | 106.361 | 2041.233 | 1445.753 | 1315.668 | 125.434 | 1373.917 | 258.638 | 115.617 | 96.879 | Colony 2, Replicate 2 | 0.5313 | 0.7283 | 0.1519 | 0.4831 | 0.5343 | 0.4689 | 0.5601 | 0.5337 | 0.08
Colony 2, Replicate 3 | 108.381 | 2030.728 | 1492.092 | 1259.578 | 126.184 | 1302.974 | 247.103 | 115.756 | 95.892 | Colony 2, Replicate 3 | 0.55 | 0.6891 | 0.1478 | 0.4634 | 0.5179 | 0.4613 | 0.5485 | 0.5016 | 0.082
Colony 2, Replicate 4 | 109.576 | 1996.948 | 1444.455 | 970.07 | 118.084 | 1288.881 | 245.891 | 111.729 | 99.012 | Colony 2, Replicate 4 | 0.5178 | 0.6755 | 0.1497 | 0.3546 | 0.4652 | 0.4309 | 0.5182 | 0.4674 | 0.08
| 107.8511 | 1569.4282 | 1389.5161 | 1322.4002 | 125.8859 | 1066.439 | 258.713 | 114.2952 | 97.311
Plate pattern:
| A1 | A2 | A3 | A4 | A5 | A6 | A7 | A8 | A9
| B1 | B2 | B3 | B4 | B5 | B6 | B7 | B8 | B9
| C1 | C2 | C3 | C4 | C5 | C6 | C7 | C8 | C9
| D1 | D2 | D3 | D4 | D5 | D6 | D7 | D8 | D9
| E1 | E2 | E3 | E4 | E5 | E6 | E7 | E8 | E9
| F1 | F2 | F3 | F4 | F5 | F6 | F7 | F8 | F9
| G1 | G2 | G3 | G4 | G5 | G6 | G7 | G8 | G9
| H1 | H2 | H3 | H4 | H5 | H6 | H7 | H8 | H9
| Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6 |  |  | Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
0h | 39.756 | 84.6232 | 244.444 | 80.456 | 40.7866 | 66.662 | 56.7345 | 43.007 |  | 0h | 0.08945 | 0.09385 | 0.067375 | 0.076725 | 0.081825 | 0.063613 | 0.08745 | 0.084113
2h | 91.2181 | 453.2735 | 690.9818 | 463.5225 | 97.8495 | 408.2195 | 163.0962 | 60.1034 |  | 2h | 0.29554 | 0.31915 | 0.089175 | 0.26839 | 0.25491 | 0.17523 | 0.24856 | 0.18505
4h | 93.2251 | 967.5673 | 934.0317 | 847.6843 | 94.5902 | 753.7256 | 186.0776 | 96.1582 |  | 4h | 0.4041 | 0.43402 | 0.10695 | 0.37851 | 0.33384 | 0.33205 | 0.35854 | 0.35292
6h | 107.8511 | 1569.4282 | 1389.5161 | 1322.4002 | 125.8859 | 1066.439 | 258.713 | 114.2952 |  | 6h | 0.53429 | 0.6159 | 0.14725 | 0.47517 | 0.51864 | 0.44001 | 0.5123 | 0.52379
| Neg. Control | Pos. Control | Device 1 | Device 2 | Device 3 | Device 4 | Device 5 | Device 6
0h | 39.756 | 84.6232 | 244.444 | 80.456 | 40.7866 | 66.662 | 56.7345 | 43.007
2h | 91.2181 | 453.2735 | 690.9818 | 463.5225 | 97.8495 | 408.2195 | 163.0962 | 60.1034
4h | 93.2251 | 967.5673 | 934.0317 | 847.6843 | 94.5902 | 753.7256 | 186.0776 | 96.1582
6h | 107.8511 | 1569.4282 | 1389.5161 | 1322.4002 | 125.8859 | 1066.439 | 258.713 | 114.2952

## Fluorescence Measurement
Unit Scaling Factors: | These are imported from the prior two sheets | [5 empty] | Enter fluorescence and Abs600 measurements into blue cells on "Raw Plate Reader Measurements"
OD600/Abs600 | 4.8023 | [5 empty] | They will be copied into the green cells on this sheet.
uM Fluorescein/a.u. | 0.00053887 | [5 empty] | Gold cells are calculated
If you have more replicates, unhide the extra columns
Experimental Values: | Raw Abs600 | [5 empty] | Raw Fluorescence
Sample set: | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Blank media | 0.081 | 0.081 | 0.078 | 0.078 |  |  | 97.86 | 95.169 | 97.002 | 98.554
Blank mean: | 0.0795 | [5 empty] | 97.1463 | [5 empty] | OD - Background | [5 empty] | Fluorescence - Background | [5 empty] | uM Fluorescein / OD600 | [5 empty] | Summary Statistics |  |  |  | Ln uM FITC / OD600
Hour 0: | [12 empty] | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6 | Arith. Mean | Arith. Std.Dev. | Geo. Mean | Geo. Std. Dev. | Replicate 1 | Replicate 2 | Replicate 3 | Replicate 4 | Replicate 5 | Replicate 6
Negative Control (Colony 1) | 0.0883 | 0.0968 | 0.0855 | 0.0902 |  |  | 42.847 | 43.745 | 33.273 | 38.753 |  |  | 0.0088 | 0.0173 | 0.006 | 0.0107 | --- | --- | -54.2993 | -53.4013 | -63.8733 | -58.3933 | --- | --- | -0.69239 | -0.34637 | -1.1946 | -0.61238 | --- | --- | -0.71143 | 0.35443 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.0857 | 0.09 | 0.0948 | 0.0843 |  |  | 37.786 | 40.849 | 45.516 | 35.279 |  |  | 0.0062 | 0.0105 | 0.0153 | 0.0048 | --- | --- | -59.3603 | -56.2973 | -51.6303 | -61.8673 | --- | --- | -1.0743 | -0.60164 | -0.37866 | -1.4463 | --- | --- | -0.87524 | 0.47861 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.0854 | 0.0882 | 0.1009 | 0.0972 |  |  | 70.752 | 69.436 | 87.337 | 96.031 |  |  | 0.0059 | 0.0087 | 0.0214 | 0.0177 | --- | --- | -26.3943 | -27.7103 | -9.8093 | -1.1153 | --- | --- | -0.50199 | -0.35741 | -0.051436 | -0.0070703 | --- | --- | -0.22948 | 0.2393 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Positive Control (Colony 2) | 0.0844 | 0.09 | 0.0943 | 0.1104 |  |  | 69.595 | 80.431 | 93.692 | 109.712 |  |  | 0.0049 | 0.0105 | 0.0148 | 0.0309 | --- | --- | -27.5513 | -16.7153 | -3.4543 | 12.5657 | --- | --- | -0.63094 | -0.17863 | -0.02619 | 0.045632 | --- | --- | -0.19753 | 0.30369 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | -3.0871 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.0842 | 0.0799 | 0.0616 | 0.064 |  |  | 282.131 | 258.21 | 235.918 | 260.16 |  |  | 0.0047 | 0.0004 | -0.0179 | -0.0155 | --- | --- | 184.9847 | 161.0637 | 138.7717 | 163.0138 | --- | --- | 4.4165 | 45.1834 | -0.86994 | -1.1801 | --- | --- | 11.8875 | 22.3454 | #NUM! | #NUM! | 1.4853 | 3.8107 | #NUM! | #NUM! | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.0588 | 0.0614 | 0.0619 | 0.0672 |  |  | 208.715 | 216.66 | 214.87 | 278.888 |  |  | -0.0207 | -0.0181 | -0.0176 | -0.0123 | --- | --- | 111.5687 | 119.5137 | 117.7237 | 181.7417 | --- | --- | -0.6048 | -0.74094 | -0.75057 | -1.658 | --- | --- | -0.93858 | 0.48422 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.0755 | 0.0756 | 0.0787 | 0.0779 |  |  | 91.242 | 86.533 | 86.465 | 89.155 |  |  | -0.004 | -0.0039 | -0.0008 | -0.0016 | --- | --- | -5.9043 | -10.6133 | -10.6813 | -7.9913 | --- | --- | 0.16563 | 0.30537 | 1.4982 | 0.56045 | --- | --- | 0.63242 | 0.5999 | 0.45396 | 2.5568 | -1.798 | -1.1862 | 0.40427 | -0.57902 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.0735 | 0.0873 | 0.0719 | 0.0734 |  |  | 75.367 | 71.81 | 72.379 | 70.697 |  |  | -0.006 | 0.0078 | -0.0076 | -0.0061 | --- | --- | -21.7793 | -25.3363 | -24.7673 | -26.4493 | --- | --- | 0.40732 | -0.36449 | 0.36568 | 0.48655 | --- | --- | 0.22376 | 0.39536 | #NUM! | #NUM! | -0.89816 | #NUM! | -1.006 | -0.72042 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.0792 | 0.0828 | 0.0817 | 0.0767 |  |  | 42.693 | 44.38 | 41.91 | 37.584 |  |  | -0.0003 | 0.0033 | 0.0022 | -0.0028 | --- | --- | -54.4533 | -52.7663 | -55.2363 | -59.5623 | --- | --- | 20.3678 | -1.7943 | -2.8174 | 2.387 | --- | --- | 4.5358 | 10.7921 | #NUM! | #NUM! | 3.014 | #NUM! | #NUM! | 0.87004 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.0856 | 0.082 | 0.0799 | 0.0867 |  |  | 42.179 | 38.075 | 38.4 | 41.072 |  |  | 0.0061 | 0.0025 | 0.0004 | 0.0072 | --- | --- | -54.9673 | -59.0713 | -58.7463 | -56.0743 | --- | --- | -1.0111 | -2.6514 | -16.4801 | -0.87392 | --- | --- | -5.2542 | 7.5274 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.057 | 0.0568 | 0.0562 | 0.059 |  |  | 57.052 | 58.301 | 57.171 | 59.146 |  |  | -0.0225 | -0.0227 | -0.0233 | -0.0205 | --- | --- | -40.0943 | -38.8453 | -39.9753 | -38.0003 | --- | --- | 0.19996 | 0.19202 | 0.19252 | 0.208 | --- | --- | 0.19813 | 0.0075194 | 0.19802 | 1.0384 | -1.6096 | -1.6501 | -1.6476 | -1.5702 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.0738 | 0.0709 | 0.0659 | 0.0693 |  |  | 79.979 | 76.455 | 72.922 | 72.27 |  |  | -0.0057 | -0.0086 | -0.0136 | -0.0102 | --- | --- | -17.1673 | -20.6913 | -24.2243 | -24.8763 | --- | --- | 0.33796 | 0.26998 | 0.19987 | 0.27367 | --- | --- | 0.27037 | 0.05642 | 0.26579 | 1.2412 | -1.0848 | -1.3094 | -1.6101 | -1.2958 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.0884 | 0.0875 | 0.0882 | 0.0895 |  |  | 59.051 | 59.29 | 60.433 | 60.81 |  |  | 0.0089 | 0.008 | 0.0087 | 0.01 | --- | --- | -38.0953 | -37.8563 | -36.7133 | -36.3363 | --- | --- | -0.48031 | -0.53099 | -0.47353 | -0.40774 | --- | --- | -0.47314 | 0.050583 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.0863 | 0.0888 | 0.0839 | 0.087 |  |  | 53.906 | 54.274 | 50.554 | 55.558 |  |  | 0.0068 | 0.0093 | 0.0044 | 0.0075 | --- | --- | -43.2403 | -42.8723 | -46.5923 | -41.5883 | --- | --- | -0.71354 | -0.51729 | -1.1882 | -0.62223 | --- | --- | -0.76032 | 0.29633 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.0919 | 0.0886 | 0.0927 | 0.0823 |  |  | 44.247 | 42.266 | 43.874 | 38.039 |  |  | 0.0124 | 0.0091 | 0.0132 | 0.0028 | --- | --- | -52.8993 | -54.8803 | -53.2723 | -59.1073 | --- | --- | -0.47871 | -0.67673 | -0.45286 | -2.3688 | --- | --- | -0.99427 | 0.92178 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.0821 | 0.0784 | 0.0764 | 0.0805 |  |  | 44.901 | 44.791 | 40.368 | 45.57 |  |  | 0.0026 | -0.0011 | -0.0031 | 0.001 | --- | --- | -52.2453 | -52.3553 | -56.7783 | -51.5763 | --- | --- | -2.2548 | 5.3408 | 2.0552 | -5.7875 | --- | --- | -0.16157 | 4.8725 | #NUM! | #NUM! | #NUM! | 1.6754 | 0.72039 | #NUM! | --- | ---
Hour 2:
Negative Control (Colony 1) | 0.273 | 0.3237 | 0.3339 | 0.2656 |  |  | 90.696 | 85.725 | 92.702 | 86.155 |  |  | 0.1935 | 0.2442 | 0.2544 | 0.1861 | --- | --- | -6.4503 | -11.4213 | -4.4443 | -10.9913 | --- | --- | -0.0037406 | -0.0052482 | -0.0019603 | -0.0066274 | --- | --- | -0.0043941 | 0.0020056 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Negative Control (Colony 2) | 0.3423 | 0.2717 | 0.2747 | 0.2794 |  |  | 94.887 | 95.3 | 92.577 | 91.703 |  |  | 0.2628 | 0.1922 | 0.1952 | 0.1999 | --- | --- | -2.2593 | -1.8463 | -4.5693 | -5.4433 | --- | --- | -0.00096467 | -0.0010779 | -0.0026267 | -0.0030555 | --- | --- | -0.0019312 | 0.0010662 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | --- | ---
Positive Control (Colony 1) | 0.2462 | 0.2729 | 0.2681 | 0.2834 |  |  | 469.032 | 464.345 | 471.174 | 489.641 |  |  | 0.1667 | 0.1934 | 0.1886 | 0.2039 | --- | --- | 371.8857 | 367.1988 | 374.0277 | 392.4948 | --- | --- | 0.25033 | 0.21305 | 0.22254 | 0.216 | --- | --- | 0.22548 | 0.017035 | 0.22502 | 1.0761 | -1.385 | -1.5462 | -1.5027 | -1.5325 | --- | ---
Positive Control (Colony 2) | 0.3719 | 0.3681 | 0.389 | 0.3536 |  |  | 429.589 | 428.044 | 428.203 | 446.16 |  |  | 0.2924 | 0.2886 | 0.3095 | 0.2741 | --- | --- | 332.4427 | 330.8977 | 331.0567 | 349.0138 | --- | --- | 0.12758 | 0.12866 | 0.12003 | 0.14288 | --- | --- | 0.12979 | 0.0095365 | 0.12953 | 1.075 | -2.059 | -2.0506 | -2.12 | -1.9457 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.0861 | 0.0958 | 0.0899 | 0.0821 |  |  | 581.527 | 619.522 | 609.507 | 595.838 |  |  | 0.0066 | 0.0163 | 0.0104 | 0.0026 | --- | --- | 484.3808 | 522.3758 | 512.3607 | 498.6917 | --- | --- | 8.2354 | 3.5961 | 5.5282 | 21.5229 | --- | --- | 9.7206 | 8.0949 | 7.7046 | 2.1466 | 2.1084 | 1.2799 | 1.7099 | 3.0691 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.0926 | 0.0907 | 0.0894 | 0.0868 |  |  | 762.217 | 781.58 | 791.916 | 785.747 |  |  | 0.0131 | 0.0112 | 0.0099 | 0.0073 | --- | --- | 665.0707 | 684.4338 | 694.7698 | 688.6007 | --- | --- | 5.6969 | 6.8573 | 7.8749 | 10.5849 | --- | --- | 7.7535 | 2.0868 | 7.5541 | 1.2984 | 1.7399 | 1.9253 | 2.0637 | 2.3594 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.2479 | 0.24 | 0.2258 | 0.2791 |  |  | 533.246 | 497.876 | 495.731 | 525.19 |  |  | 0.1684 | 0.1605 | 0.1463 | 0.1996 | --- | --- | 436.0997 | 400.7297 | 398.5847 | 428.0438 | --- | --- | 0.29059 | 0.28017 | 0.30572 | 0.24064 | --- | --- | 0.27928 | 0.027813 | 0.27819 | 1.1086 | -1.2358 | -1.2724 | -1.1851 | -1.4245 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.3053 | 0.2922 | 0.2817 | 0.2751 |  |  | 422.446 | 425.508 | 392.657 | 415.526 |  |  | 0.2258 | 0.2127 | 0.2022 | 0.1956 | --- | --- | 325.2998 | 328.3617 | 295.5107 | 318.3798 | --- | --- | 0.16166 | 0.17323 | 0.164 | 0.18265 | --- | --- | 0.17038 | 0.0095824 | 0.17018 | 1.0573 | -1.8223 | -1.7531 | -1.8079 | -1.7002 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.2413 | 0.253 | 0.251 | 0.2541 |  |  | 102.19 | 93.946 | 99.166 | 88.835 |  |  | 0.1618 | 0.1735 | 0.1715 | 0.1746 | --- | --- | 5.0437 | -3.2003 | 2.0197 | -8.3113 | --- | --- | 0.003498 | -0.0020698 | 0.0013215 | -0.0053415 | --- | --- | -0.00064795 | 0.0038781 | #NUM! | #NUM! | -5.6556 | #NUM! | -6.629 | #NUM! | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.2706 | 0.2601 | 0.2458 | 0.2634 |  |  | 101.881 | 102.797 | 96.143 | 97.838 |  |  | 0.1911 | 0.1806 | 0.1663 | 0.1839 | --- | --- | 4.7347 | 5.6507 | -1.0033 | 0.69175 | --- | --- | 0.0027802 | 0.003511 | -0.00067695 | 0.00042209 | --- | --- | 0.0015091 | 0.001965 | #NUM! | #NUM! | -5.8852 | -5.6519 | #NUM! | -7.7703 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.1555 | 0.1627 | 0.1904 | 0.1852 |  |  | 332.902 | 274.98 | 289.262 | 251.082 |  |  | 0.076 | 0.0832 | 0.1109 | 0.1057 | --- | --- | 235.7557 | 177.8338 | 192.1157 | 153.9357 | --- | --- | 0.34809 | 0.23985 | 0.19439 | 0.16342 | --- | --- | 0.23644 | 0.080782 | 0.22693 | 1.3847 | -1.0553 | -1.4278 | -1.6379 | -1.8114 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.1793 | 0.1759 | 0.1763 | 0.1765 |  |  | 549.286 | 507.016 | 454.173 | 607.055 |  |  | 0.0998 | 0.0964 | 0.0968 | 0.097 | --- | --- | 452.1397 | 409.8698 | 357.0267 | 509.9087 | --- | --- | 0.50837 | 0.4771 | 0.41387 | 0.58988 | --- | --- | 0.49731 | 0.07317 | 0.49329 | 1.1583 | -0.67654 | -0.74003 | -0.8822 | -0.52784 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.2865 | 0.2613 | 0.2692 | 0.2864 |  |  | 203.682 | 195.017 | 192.422 | 243.156 |  |  | 0.207 | 0.1818 | 0.1897 | 0.2069 | --- | --- | 106.5357 | 97.8707 | 95.2757 | 146.0097 | --- | --- | 0.057752 | 0.060409 | 0.056358 | 0.079189 | --- | --- | 0.063427 | 0.010641 | 0.062816 | 1.1701 | -2.8516 | -2.8066 | -2.876 | -2.5359 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.1109 | 0.2344 | 0.3 | 0.2398 |  |  | 79.561 | 120.493 | 151.446 | 118.993 |  |  | 0.0314 | 0.1549 | 0.2205 | 0.1603 | --- | --- | -17.5853 | 23.3467 | 54.2997 | 21.8467 | --- | --- | -0.062843 | 0.016913 | 0.027633 | 0.015293 | --- | --- | -0.0007511 | 0.041755 | #NUM! | #NUM! | #NUM! | -4.0797 | -3.5887 | -4.1804 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.2992 | 0.1886 | 0.1915 | 0.1912 |  |  | 102.561 | 65.228 | 64.774 | 67.393 |  |  | 0.2197 | 0.1091 | 0.112 | 0.1117 | --- | --- | 5.4147 | -31.9183 | -32.3723 | -29.7533 | --- | --- | 0.0027656 | -0.032829 | -0.032434 | -0.02989 | --- | --- | -0.023097 | 0.017291 | #NUM! | #NUM! | -5.8905 | #NUM! | #NUM! | #NUM! | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.0452 | 0.0454 | 0.2637 | 0.2556 |  |  | 0.956 | 1.095 | 91.108 | 87.712 |  |  | -0.0343 | -0.0341 | 0.1842 | 0.1761 | --- | --- | -96.1903 | -96.0513 | -6.0383 | -9.4343 | --- | --- | 0.31469 | 0.31607 | -0.0036784 | -0.0060116 | --- | --- | 0.15527 | 0.18489 | #NUM! | #NUM! | -1.1562 | -1.1518 | #NUM! | #NUM! | --- | ---
Hour 4:
Negative Control (Colony 1) | 0.4198 | 0.4244 | 0.3959 | 0.4053 |  |  | 105.656 | 104.945 | 91.413 | 101.392 |  |  | 0.3403 | 0.3449 | 0.3164 | 0.3258 | --- | --- | 8.5097 | 7.7987 | -5.7333 | 4.2457 | --- | --- | 0.0028061 | 0.0025373 | -0.0020333 | 0.0014623 | --- | --- | 0.0011931 | 0.0022279 | #NUM! | #NUM! | -5.876 | -5.9767 | #NUM! | -6.5277 | --- | ---
Negative Control (Colony 2) | 0.4132 | 0.4159 | 0.3501 | 0.4082 |  |  | 74.294 | 96.753 | 67.525 | 103.823 |  |  | 0.3337 | 0.3364 | 0.2706 | 0.3287 | --- | --- | -22.8523 | -0.39325 | -29.6213 | 6.6767 | --- | --- | -0.0076845 | -0.00013118 | -0.012283 | 0.0022793 | --- | --- | -0.0044549 | 0.006727 | #NUM! | #NUM! | #NUM! | #NUM! | #NUM! | -6.0839 | --- | ---
Positive Control (Colony 1) | 0.4382 | 0.4124 | 0.4195 | 0.4216 |  |  | 878.947 | 806.082 | 833.516 | 851.276 |  |  | 0.3587 | 0.3329 | 0.34 | 0.3421 | --- | --- | 781.8007 | 708.9357 | 736.3697 | 754.1297 | --- | --- | 0.24457 | 0.23896 | 0.24303 | 0.24736 | --- | --- | 0.24348 | 0.003505 | 0.24346 | 1.0145 | -1.4082 | -1.4314 | -1.4146 | -1.3969 | --- | ---
Positive Control (Colony 2) | 0.5801 | 0.3588 | 0.2659 | 0.5757 |  |  | 1395.733 | 845.251 | 780.65 | 1349.083 |  |  | 0.5006 | 0.2793 | 0.1864 | 0.4962 | --- | --- | 1298.5867 | 748.1047 | 683.5037 | 1251.9368 | --- | --- | 0.29109 | 0.30056 | 0.41147 | 0.28312 | --- | --- | 0.32156 | 0.060363 | 0.31773 | 1.1901 | -1.2341 | -1.2021 | -0.88802 | -1.2619 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.1065 | 0.1077 | 0.1046 | 0.1079 |  |  | 912.985 | 892.521 | 884.921 | 871.496 |  |  | 0.027 | 0.0282 | 0.0251 | 0.0284 | --- | --- | 815.8388 | 795.3747 | 787.7748 | 774.3497 | --- | --- | 3.3906 | 3.1649 | 3.5218 | 3.0596 | --- | --- | 3.2842 | 0.21015 | 3.2792 | 1.0661 | 1.221 | 1.1521 | 1.259 | 1.1183 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.0907 | 0.1118 | 0.1156 | 0.1108 |  |  | 835.971 | 1043.579 | 1055.727 | 975.054 |  |  | 0.0112 | 0.0323 | 0.0361 | 0.0313 | --- | --- | 738.8247 | 946.4327 | 958.5808 | 877.9077 | --- | --- | 7.4023 | 3.288 | 2.9796 | 3.1474 | --- | --- | 4.2043 | 2.1357 | 3.8869 | 1.5393 | 2.0018 | 1.1903 | 1.0918 | 1.1466 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.4457 | 0.3685 | 0.3238 | 0.3787 |  |  | 1024.626 | 933.065 | 899.594 | 905.967 |  |  | 0.3662 | 0.289 | 0.2443 | 0.2992 | --- | --- | 927.4797 | 835.9188 | 802.4478 | 808.8207 | --- | --- | 0.2842 | 0.32457 | 0.36858 | 0.30334 | --- | --- | 0.32017 | 0.03624 | 0.31868 | 1.1175 | -1.2581 | -1.1253 | -0.99809 | -1.1929 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.4073 | 0.3662 | 0.3532 | 0.3847 |  |  | 767.584 | 738.315 | 731.541 | 780.782 |  |  | 0.3278 | 0.2867 | 0.2737 | 0.3052 | --- | --- | 670.4377 | 641.1688 | 634.3948 | 683.6358 | --- | --- | 0.2295 | 0.25095 | 0.26009 | 0.25135 | --- | --- | 0.24797 | 0.013016 | 0.24771 | 1.055 | -1.4718 | -1.3825 | -1.3467 | -1.3809 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.3277 | 0.3724 | 0.3483 | 0.3318 |  |  | 85.624 | 111.53 | 107.945 | 99.526 |  |  | 0.2482 | 0.2929 | 0.2688 | 0.2523 | --- | --- | -11.5223 | 14.3837 | 10.7987 | 2.3797 | --- | --- | -0.0052093 | 0.0055105 | 0.004508 | 0.0010584 | --- | --- | 0.0014669 | 0.0048421 | #NUM! | #NUM! | #NUM! | -5.2011 | -5.4019 | -6.851 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.3871 | 0.2984 | 0.3811 | 0.2239 |  |  | 108.634 | 79.196 | 109.303 | 54.964 |  |  | 0.3076 | 0.2189 | 0.3016 | 0.1444 | --- | --- | 11.4877 | -17.9503 | 12.1567 | -42.1823 | --- | --- | 0.0041907 | -0.0092017 | 0.004523 | -0.03278 | --- | --- | -0.0083169 | 0.017517 | #NUM! | #NUM! | -5.4749 | #NUM! | -5.3986 | #NUM! | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.4142 | 0.2867 | 0.2457 | 0.2435 |  |  | 755.698 | 512.023 | 456.333 | 398.643 |  |  | 0.3347 | 0.2072 | 0.1662 | 0.164 | --- | --- | 658.5517 | 414.8768 | 359.1868 | 301.4967 | --- | --- | 0.22079 | 0.22468 | 0.24251 | 0.20629 | --- | --- | 0.22357 | 0.014903 | 0.2232 | 1.0687 | -1.5106 | -1.4931 | -1.4167 | -1.5785 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.3798 | 0.3947 | 0.3335 | 0.3583 |  |  | 997.452 | 1006.751 | 938.077 | 964.828 |  |  | 0.3003 | 0.3152 | 0.254 | 0.2788 | --- | --- | 900.3057 | 909.6047 | 840.9307 | 867.6817 | --- | --- | 0.33642 | 0.32382 | 0.37151 | 0.34923 | --- | --- | 0.34524 | 0.020351 | 0.3448 | 1.0603 | -1.0894 | -1.1276 | -0.99019 | -1.052 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.4178 | 0.3027 | 0.2954 | 0.2548 |  |  | 241.136 | 174.127 | 153.178 | 147.245 |  |  | 0.3383 | 0.2232 | 0.2159 | 0.1753 | --- | --- | 143.9897 | 76.9808 | 56.0317 | 50.0987 | --- | --- | 0.047761 | 0.038702 | 0.029122 | 0.032069 | --- | --- | 0.036913 | 0.0082671 | 0.036247 | 1.2443 | -3.0416 | -3.2519 | -3.5363 | -3.4399 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.4725 | 0.2845 | 0.426 | 0.4146 |  |  | 224.154 | 137.037 | 205.618 | 206.126 |  |  | 0.393 | 0.205 | 0.3465 | 0.3351 | --- | --- | 127.0077 | 39.8907 | 108.4717 | 108.9797 | --- | --- | 0.036264 | 0.021835 | 0.035128 | 0.036493 | --- | --- | 0.03243 | 0.0070885 | 0.031741 | 1.284 | -3.3169 | -3.8242 | -3.3488 | -3.3106 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.422 | 0.4251 | 0.4049 | 0.3902 |  |  | 109.115 | 106.484 | 108.555 | 107.127 |  |  | 0.3425 | 0.3456 | 0.3254 | 0.3107 | --- | --- | 11.9687 | 9.3377 | 11.4087 | 9.9807 | --- | --- | 0.0039213 | 0.0030319 | 0.0039342 | 0.0036046 | --- | --- | 0.003623 | 0.00042254 | 0.0036034 | 1.1298 | -5.5413 | -5.7986 | -5.538 | -5.6255 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.3901 | 0.3776 | 0.2355 | 0.178 |  |  | 105.393 | 104.164 | 73.785 | 54.643 |  |  | 0.3106 | 0.2981 | 0.156 | 0.0985 | --- | --- | 8.2467 | 7.0177 | -23.3613 | -42.5033 | --- | --- | 0.0029794 | 0.0026417 | -0.016804 | -0.04842 | --- | --- | -0.014901 | 0.024184 | #NUM! | #NUM! | -5.816 | -5.9363 | #NUM! | #NUM! | --- | ---
Hour 6:
Negative Control (Colony 1) | 0.5553 | 0.516 | 0.5394 | 0.5232 |  |  | 107.305 | 109.808 | 106.951 | 107.093 |  |  | 0.4758 | 0.4365 | 0.4599 | 0.4437 | --- | --- | 10.1587 | 12.6617 | 9.8047 | 9.9467 | --- | --- | 0.0023958 | 0.003255 | 0.0023923 | 0.0025155 | --- | --- | 0.0026397 | 0.0004142 | 0.0026174 | 1.1586 | -6.034 | -5.7276 | -6.0355 | -5.9853 | --- | ---
Negative Control (Colony 2) | 0.5413 | 0.5313 | 0.55 | 0.5178 |  |  | 107.334 | 106.361 | 108.381 | 109.576 |  |  | 0.4618 | 0.4518 | 0.4705 | 0.4383 | --- | --- | 10.1877 | 9.2147 | 11.2347 | 12.4297 | --- | --- | 0.0024755 | 0.0022886 | 0.0026794 | 0.0031822 | --- | --- | 0.0026565 | 0.00038514 | 0.0026364 | 1.1514 | -6.0013 | -6.0798 | -5.9221 | -5.7502 | --- | ---
Positive Control (Colony 1) | 0.5501 | 0.5342 | 0.5283 | 0.508 |  |  | 1166.835 | 1124.131 | 1133.894 | 1092.906 |  |  | 0.4706 | 0.4547 | 0.4488 | 0.4285 | --- | --- | 1069.6888 | 1026.9848 | 1036.7477 | 995.7597 | --- | --- | 0.25506 | 0.25344 | 0.25922 | 0.26076 | --- | --- | 0.25712 | 0.0034357 | 0.2571 | 1.0135 | -1.3662 | -1.3726 | -1.3501 | -1.3441 | --- | ---
Positive Control (Colony 2) | 0.7137 | 0.7283 | 0.6891 | 0.6755 |  |  | 1968.751 | 2041.233 | 2030.728 | 1996.948 |  |  | 0.6342 | 0.6488 | 0.6096 | 0.596 | --- | --- | 1871.6047 | 1944.0867 | 1933.5818 | 1899.8018 | --- | --- | 0.33115 | 0.33624 | 0.35593 | 0.35769 | --- | --- | 0.34525 | 0.013523 | 0.34505 | 1.04 | -1.1052 | -1.0899 | -1.033 | -1.0281 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 1) | 0.1462 | 0.1519 | 0.1505 | 0.1378 |  |  | 1285.468 | 1413.598 | 1344.831 | 1251.402 |  |  | 0.0667 | 0.0724 | 0.071 | 0.0583 | --- | --- | 1188.3218 | 1316.4517 | 1247.6847 | 1154.2558 | --- | --- | 1.9992 | 2.0404 | 1.9719 | 2.2216 | --- | --- | 2.0583 | 0.11249 | 2.056 | 1.055 | 0.69273 | 0.71313 | 0.679 | 0.79825 | --- | ---
Test Device 1: J23101.BCD2.E0040.B0015 (Colony 2) | 0.1422 | 0.1519 | 0.1478 | 0.1497 |  |  | 1438.53 | 1445.753 | 1492.092 | 1444.455 |  |  | 0.0627 | 0.0724 | 0.0683 | 0.0702 | --- | --- | 1341.3837 | 1348.6067 | 1394.9458 | 1347.3087 | --- | --- | 2.4006 | 2.0902 | 2.2918 | 2.1536 | --- | --- | 2.2341 | 0.13934 | 2.2308 | 1.0641 | 0.87573 | 0.73726 | 0.82934 | 0.76715 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 1) | 0.5367 | 0.5095 | 0.5039 | 0.3991 |  |  | 1510.713 | 1488.466 | 1466.453 | 1153.259 |  |  | 0.4572 | 0.43 | 0.4244 | 0.3196 | --- | --- | 1413.5667 | 1391.3197 | 1369.3067 | 1056.1128 | --- | --- | 0.34694 | 0.36308 | 0.36205 | 0.3708 | --- | --- | 0.36072 | 0.0099828 | 0.36061 | 1.0283 | -1.0586 | -1.0131 | -1.016 | -0.99208 | --- | ---
Test Device 2: J23106.BCD2.E0040.B0015 (Colony 2) | 0.5511 | 0.4831 | 0.4634 | 0.3546 |  |  | 1414.995 | 1315.668 | 1259.578 | 970.07 |  |  | 0.4716 | 0.4036 | 0.3839 | 0.2751 | --- | --- | 1317.8487 | 1218.5217 | 1162.4317 | 872.9238 | --- | --- | 0.31357 | 0.33878 | 0.33977 | 0.35606 | --- | --- | 0.33705 | 0.017543 | 0.3367 | 1.0541 | -1.1597 | -1.0824 | -1.0795 | -1.0326 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 1) | 0.5416 | 0.5357 | 0.5126 | 0.4941 |  |  | 131.368 | 127.791 | 126.611 | 125.941 |  |  | 0.4621 | 0.4562 | 0.4331 | 0.4146 | --- | --- | 34.2217 | 30.6447 | 29.4647 | 28.7947 | --- | --- | 0.0083101 | 0.0075378 | 0.0076341 | 0.0077934 | --- | --- | 0.0078188 | 0.00034407 | 0.0078133 | 1.0443 | -4.7903 | -4.8878 | -4.8751 | -4.8545 | --- | ---
Test Device 3: J23117.BCD2.E0040.B0015 (Colony 2) | 0.5477 | 0.5343 | 0.5179 | 0.4652 |  |  | 125.674 | 125.434 | 126.184 | 118.084 |  |  | 0.4682 | 0.4548 | 0.4384 | 0.3857 | --- | --- | 28.5277 | 28.2877 | 29.0377 | 20.9377 | --- | --- | 0.0068372 | 0.0069794 | 0.0074325 | 0.0060915 | --- | --- | 0.0068351 | 0.00055698 | 0.0068177 | 1.0866 | -4.9854 | -4.9648 | -4.9019 | -5.1009 | --- | ---
Test Device 4: J23101+I13504 (Colony 1) | 0.4666 | 0.4247 | 0.416 | 0.3437 |  |  | 863.125 | 842.322 | 780.333 | 606.273 |  |  | 0.3871 | 0.3452 | 0.3365 | 0.2642 | --- | --- | 765.9787 | 745.1757 | 683.1867 | 509.1268 | --- | --- | 0.22204 | 0.24223 | 0.22782 | 0.21624 | --- | --- | 0.22708 | 0.01115 | 0.22688 | 1.0498 | -1.5049 | -1.4179 | -1.4792 | -1.5314 | --- | ---
Test Device 4: J23101+I13504 (Colony 2) | 0.508 | 0.4689 | 0.4613 | 0.4309 |  |  | 1473.687 | 1373.917 | 1302.974 | 1288.881 |  |  | 0.4285 | 0.3894 | 0.3818 | 0.3514 | --- | --- | 1376.5407 | 1276.7707 | 1205.8277 | 1191.7348 | --- | --- | 0.36048 | 0.36792 | 0.3544 | 0.38056 | --- | --- | 0.36584 | 0.011263 | 0.36571 | 1.0311 | -1.0203 | -0.99988 | -1.0373 | -0.96612 | --- | ---
Test Device 5: J23106+I13504 (Colony 1) | 0.5255 | 0.4844 | 0.4705 | 0.3952 |  |  | 287.34 | 264.22 | 265.67 | 225.989 |  |  | 0.446 | 0.4049 | 0.391 | 0.3157 | --- | --- | 190.1937 | 167.0738 | 168.5238 | 128.8427 | --- | --- | 0.047852 | 0.046302 | 0.048364 | 0.045796 | --- | --- | 0.047079 | 0.0012247 | 0.047067 | 1.0264 | -3.0396 | -3.0726 | -3.029 | -3.0836 | --- | ---
Test Device 5: J23106+I13504 (Colony 2) | 0.596 | 0.5601 | 0.5485 | 0.5182 |  |  | 274.853 | 258.638 | 247.103 | 245.891 |  |  | 0.5165 | 0.4806 | 0.469 | 0.4387 | --- | --- | 177.7067 | 161.4917 | 149.9567 | 148.7447 | --- | --- | 0.038608 | 0.037706 | 0.035878 | 0.038047 | --- | --- | 0.03756 | 0.0011808 | 0.037545 | 1.0323 | -3.2543 | -3.2779 | -3.3276 | -3.2689 | --- | ---
Test Device 6: J23117+I13504 (Colony 1) | 0.599 | 0.545 | 0.5093 | 0.5095 |  |  | 117.104 | 115.356 | 114.604 | 113.84 |  |  | 0.5195 | 0.4655 | 0.4298 | 0.43 | --- | --- | 19.9577 | 18.2097 | 17.4577 | 16.6937 | --- | --- | 0.0043109 | 0.0043896 | 0.0045579 | 0.0043564 | --- | --- | 0.0044037 | 0.00010774 | 0.0044027 | 1.0245 | -5.4466 | -5.4285 | -5.3909 | -5.4361 | --- | ---
Test Device 6: J23117+I13504 (Colony 2) | 0.5248 | 0.5337 | 0.5016 | 0.4674 |  |  | 110.356 | 115.617 | 115.756 | 111.729 |  |  | 0.4453 | 0.4542 | 0.4221 | 0.3879 | --- | --- | 13.2097 | 18.4707 | 18.6097 | 14.5827 | --- | --- | 0.0033288 | 0.0045633 | 0.0049473 | 0.0042185 | --- | --- | 0.0042645 | 0.00069118 | 0.0042196 | 1.1864 | -5.7052 | -5.3897 | -5.3089 | -5.4683 | --- | ---