## Summary
Plate set up:
|  |  | OD595 | [13 empty] | RFP
Time | Dilution | Repeated measurement? | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
0h | / | N | A | 0.0696 | 0.0682 | 0.0655 | 0.0644 | 0.0648 | 0.0653 | 0.0641 | 0.0652 | 0.0674 | 0.0384 | 0.0381 | 0.039 | / | A | 26712 | 28779 | 28748 | 31560 | 32722 | 33585 | 30125 | 32304 | 35345 | 2854 | 3236 | 3344 | /
0h | / | N | B | 0.0575 | 0.059 | 0.06 | 0.0633 | 0.054 | 0.054 | 0.0677 | 0.0679 | 0.0681 | 0.0473 | 0.0451 | 0.0451 | / | B | 4078 | 4223 | 4387 | 4787 | 4993 | 4834 | 4703 | 4741 | 4628 | 2563 | 2543 | 2575 | /
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
1h | / | N | C | 0.0629 | 0.0673 | 0.0668 | 0.0707 | 0.0744 | 0.0775 | 0.0767 | 0.0703 | 0.0734 | 0.0457 | 0.0422 | 0.041 | / | C | 46803 | 54459 | 57422 | OVER | OVER | OVER | OVER | OVER | OVER | 3617 | 3725 | 3773 | /
1h | / | N | D | 0.0622 | 0.0614 | 0.0621 | 0.0539 | 0.0566 | 0.0566 | 0.0831 | 0.09 | 0.0924 | 0.0467 | 0.0457 | 0.0477 | / | D | 5932 | 6170 | 6251 | 5722 | 6406 | 6648 | 7258 | 8181 | 8573 | 2499 | 2528 | 2519 | /
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 |  | 1:5 dilution |  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9
1h | 1:5 dilution | Y | C | 0.0447 | 0.0459 | 0.0454 | 0.0472 | 0.0482 | 0.048 | 0.0455 | 0.0453 | 0.0462 |  |  |  | 1:5 dilution | C | 13922 | 15906 | 15651 | 18625 | 18788 | 19452 | 17620 | 17916 | 20841 |  | 1:5 dilution |  | 1:5 dilution
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
2h | 1:5 dilution | N | E | 0.0522 | 0.0502 | 0.0512 | 0.0561 | 0.0617 | 0.0594 | 0.0502 | 0.0529 | 0.0507 | 0.0413 | 0.5822 | 0.0415 | 1:5 dilution | E | 20185 | 20153 | 21029 | 29251 | 34085 | 33994 | 22008 | 23284 | 23017 | 3913 | 2808 | 3904 | 1:5 dilution
2h | 1:5 dilution | N | F | 0.0501 | 0.0504 | 0.0488 | 0.0452 | 0.047 | 0.0434 | 0.0802 | 0.0764 | 0.0725 | 0.0464 | 0.0466 | 0.0473 | 1:5 dilution | F | 5019 | 5201 | 4753 | 4853 | 4858 | 4809 | 5847 | 6180 | 6203 | 2600 | 2626 | 2677 | 1:5 dilution
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
4h | 1:5 dilution | N | G | 0.0639 | 0.0657 | 0.0624 | 0.1013 | 0.0936 | 0.0874 | 0.0744 | 0.0753 | 0.0792 | 0.0442 | 0.2448 | 0.0391 | 1:5 dilution | G | 34787 | 35212 | 36180 | OVER | OVER | OVER | 39378 | 39779 | 39931 | 3510 | 3447 | 3488 | 1:5 dilution
4h | 1:5 dilution | N | H | 0.0652 | 0.068 | 0.0679 | 0.0505 | 0.0489 | 0.0461 | 0.1131 | 0.1134 | 0.1161 | 0.0512 | 0.0461 | 0.0421 | 1:5 dilution | H | 6321 | 6536 | 6484 | 4981 | 4889 | 5207 | 9838 | 9755 | 10569 | 2652 | 2803 | 2702 | 1:5 dilution
|  |  | <> | 4: 4; 5: 5; 6: 6 |  | <> |  |  |  | 4 | 5 | 6
4h | 1:10 dilution | Y | G | 4: 0.0634; 5: 0.1341; 6: 0.083 | 1:10 dilution | G |  |  |  | 38981 | OVER | 56591 | [6 empty] | 1:10 dilution
|  |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 |  | <> | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12
6h | 1:10 dilution | N | A | 0.0873 | 0.0625 | 0.068 | 0.119 | 0.1201 | 0.1092 | 0.1071 | 0.1213 | 0.1002 | 0.0418 | 0.0424 | 0.0423 | 1:10 dilution | A | 37243 | 37201 | 37307 | OVER | OVER | OVER | 45532 | 50010 | 42881 | 3905 | 3929 | 3910 | 1:10 dilution
6h | 1:10 dilution | N | B | 0.0797 | 0.0789 | 0.0814 | 0.0433 | 0.0471 | 0.0473 | 0.1493 | 0.1225 | 0.165 | 0.0456 | 0.0461 | 0.0464 | 1:10 dilution | B | 6020 | 6231 | 6105 | 4506 | 4203 | 4228 | 9382 | 9743 | 9787 | 2561 | 2551 | 2600 | 1:10 dilution
6h | 1:20 dilution | Y | E | 0.0668 | 0.0852 | 0.0707 | 0.0723 | 0.1273 | 0.0841 | 0.0843 | 0.0811 | 0.0759 | 0.042 | 0.0414 | 0.0422 | 1:20 dilution | E | 20858 | 26836 | 23704 | 40342 | OVER | 56850 | 26859 | 25225 | 26534 | 3944 | 4034 | 4034 | 1:20 dilution
6h | 1:20 dilution | Y | F | 0.0566 | 0.0581 | 0.0513 | 0.0425 | 0.0424 | 0.0464 | 0.0908 | 0.0855 | 0.0701 | 0.0442 | 0.045 | 0.0444 | 1:20 dilution | F | 5185 | 5239 | 5373 | 4374 | 4469 | 4420 | 7182 | 6642 | 6756 | 2568 | 2622 | 2624 | 1:20 dilution
Parameters
|  |  |  | 2: Application: Tecan i-control; 0.083 6: Tecan i-control , 1.10.4.0 |  |  |  | Label: RFP
|  |  |  | 2: Device: infinite 200Pro; 0.083 6: Serial number: 1007006126 |  |  |  | Mode |  |  |  | Fluorescence Top Reading
|  |  |  | 2: Firmware: V_3.14_03/10_InfiniTe (Apr 26 2010/11.18.37); 0.083 6: MAI, V_3.14_03/10_InfiniTe (Apr 26 2010/11.18.37) |  |  |  | Excitation Wavelength |  |  |  | 590 | nm
|  |  |  | 2: Plate; 0.083 6: Corning 96 Flat Bottom white, clear bottom Polystyrol [COR96fw clear bottom.pdfx] |  |  |  | Emission Wavelength |  |  |  | 612 | nm
|  |  |  | 2: Plate-ID (Stacker) |  |  |  | Excitation Bandwidth |  |  |  | 20 | nm
|  |  |  | 2: Label: OD measurements |  |  |  | Emission Bandwidth |  |  |  | 10 | nm
|  |  |  | 2: Mode; 0.083 6: Absorbance |  |  |  | Gain |  |  |  | 100 | Manual
|  |  |  | 2: Wavelength; 0.083 6: 595; 0.083 7: nm |  |  |  | Number of Flashes |  |  |  | 25
|  |  |  | 2: Bandwidth; 0.083 6: 10; 0.083 7: nm |  |  |  | Integration Time |  |  |  | 20 | µs
|  |  |  | 2: Number of Flashes; 0.083 6: 25 |  |  |  | Lag Time |  |  |  | 0 | µs
|  |  |  | 2: Settle Time; 0.083 6: 0; 0.083 7: ms |  |  |  | Settle Time |  |  |  | 0 | ms
[19 empty] | Mirror (Automatic) |  |  |  | 50% Mirror
Note on J41: Tecan.At.Common, 3.4.2.0 Tecan.At.Common.DocumentManagement, 3.4.2.0 Tecan.At.Common.DocumentManagement.Reader, 3.2.3.0 Tecan.At.Common.MCS, 3.4.2.0 Tecan.At.Common.Results, 3.4.2.0 Tecan.At.Common.UI, 3.4.2.0 Tecan.At.Communication.Common, 3.4.2.0 Tecan.At.Communication.Port.IP, 3.4.2.0 Tecan.At.Communication.Port.RS232, 3.4.2.0 Tecan.At.Communication.Port.SIM.Common, 3.4.2.0 Tecan.At.Communication.Port.USB, 3.4.2.0 Tecan.At.Communication.Server, 3.4.2.0 Tecan.At.Communication.SIM.AMR, 3.2.3.0 Tecan.At.Communication.SIM.AMRPlus, 3.2.3.0 Tecan.At.Communication.SIM.Connect, 3.4.2.0 Tecan.At.Communication.SIM.GeniosUltra, 3.2.3.0 Tecan.At.Communication.SIM.Safire3, 3.2.3.0 Tecan.At.Communication.SIM.Safire3Pro, 3.2.3.0 Tecan.At.Communication.SIM.SunriseMini, 3.2.3.0 Tecan.At.Instrument.Common, 3.4.2.0 Tecan.At.Instrument.Common.GCM, 3.4.2.0 Tecan.At.Instrument.Common.Reader, 3.2.3.0 Tecan.At.Instrument.Common.Stacker, 3.4.2.0 Tecan.At.Instrument.Gas.GCM, 3.4.2.0 Tecan.At.Instrument.GCM.Server, 3.4.2.0 Tecan.At.Instrument.Reader.AMR, 3.2.3.0 Tecan.At.Instrument.Reader.AMRPlus, 3.2.3.0 Tecan.At.Instrument.Reader.GeniosUltra, 3.2.3.0 Tecan.At.Instrument.Reader.Safire3, 3.2.3.0 Tecan.At.Instrument.Reader.Safire3Pro, 3.2.3.0 Tecan.At.Instrument.Reader.SunriseMini, 3.2.3.0 Tecan.At.Instrument.Server, 3.4.2.0 Tecan.At.Instrument.Stacker.Connect, 3.4.2.0 Tecan.At.Instrument.Stacker.Server, 3.4.2.0 Tecan.At.Measurement.BuiltInTest.Common, 3.2.3.0 Tecan.At.Measurement.Common, 3.2.3.0 Tecan.At.Measurement.Server, 3.2.3.0 Tecan.At.XFluor, 1.10.4.0 Tecan.At.XFluor.Connect.Reader, 1.10.4.0 Tecan.At.XFluor.Core, 1.10.4.0 Tecan.At.XFluor.Device, 1.10.4.0 Tecan.At.XFluor.Device.AMR, 1.10.4.0 Tecan.At.XFluor.Device.AMRPlus, 1.10.4.0 Tecan.At.XFluor.Device.GeniosUltra, 1.10.4.0 Tecan.At.XFluor.Device.Reader, 1.10.4.0 Tecan.At.XFluor.Device.Safire3, 1.10.4.0 Tecan.At.XFluor.Device.Safire3Pro, 1.10.4.0 Tecan.At.XFluor.Device.SunriseMini, 1.10.4.0 Tecan.At.XFluor.ExcelOutput, 1.10.4.0 Tecan.At.XFluor.NanoQuant, 1.10.4.0 Tecan.At.XFluor.ReaderEditor, 1.10.4.0
Note on J43: EHC, V_3.14_03/10_InfiniTe (Apr 26 2010/11.18.37) MTP, V_3.14_03/10_InfiniTe (Apr 26 2010/11.18.37) HCP, V_2.02_05/06_HCP (May 23 2006/14.05.27) LUM, V_2.00_04/06_LUMINESCENCE (Apr 5 2006/08.57.29) FIL, V_2.06_10/09_FILTER (Nov 10 2009/14.42.10)